## Slide 1: Tube Floc Experiments
Karen Swetland
Craig Bullington
Rami Bechara
Tami Chung
Teach-In Summer 2010

## Slide 2: Agenda
Theory on Flocculation
Experimental Set Up
Summer Research

## Slide 3: Theory on Flocculation

## Slide 4
Notes: The result we desire from flocculation: particles stuck together formed into ‘flocs’

## Slide 5: Theory on Flocculation
Electrostatic
What causes the turbidity of the water ?
  Colloidal particles

## Slide 6: Theory on Flocculation
Decreases magnitude of energy barrier
  Changes the charge of the particles
  Introduces positively charged particles
Coagulant agent : Alum [Al2(SO4)3*14.3H2O]
Charge neutralization or sweep flocculation
Notes: Purpose of flocculation and what we do to make this work;
Alum to fix prob with energy barrier; sweep flocculation

## Slide 7
Important parameter
  Terminal velocity
Theory on Flocculation
Notes: We want to maximize the terminal velocity. To do so, there is only one variable that can be adjusted through flocculation, which is the diameter. Therefore, our goal is to maximize this value (d) which will in effect maximize the terminal velocity.

## Slide 8: Theory on Flocculation
Collision potential
Notes: We want to maximize the collision potential. The adjustable variable here is the residence time (theta). Maximizing theta will maximize the collision potential. This can be adjusted through the elongation of the flocculator.

## Slide 9: Experimental Apparatus

## Slide 10
FReTA Experimental Setup: The Equiptments We Use to Analyze Flocculation
Notes: A general view of FReTA and the tube flocculator

## Slide 11
Raw Water Bucket
Clay Stock Bucket
Clay Stock Control Valve
Influent Turbidimeter
Pump to Turbidimeter

## Slide 12
Alum Stock Bucket
Alum Pump
Raw Water Pump
Influent Turbidimeter

## Slide 13
Tube Flocculator
  Can be run at three different lengths depending on the number of tubes used (2796 cm, 5592 cm, and 8388 cm)

## Slide 14
Ball Valve
Effluent Turbidimeter
Settling Column
Notes: Final portion of the apparatus: FReTA! 

## Slide 15: Summer Research

## Slide 16: Goals and Challenges
Goal: To Study the effects of controllable properties such as water pH, flocculator length, and alum dosage on flocculation.
Studies:
  Verified accuracy of data recorded using FReTA
  Set up apparatus for pH experiment and improved data analysis method

## Slide 17: Verification Test
Plan: To input known mixture of distilled water and particle beads and compare theoretical sedimentation velocity values to those of the empirical.
Experimental Set-up:
  Closed Circuit with FReTA
  Settling Column and Turbidimeter

## Slide 18: Results & Discussion on Verification Test
Results: Empirical values for Sedimentation velocity were all within/close to the range of those of the theoretical.
Notes: Theo: 0.141~0.21 mm/s
Exp: 0.173~0.26 mm/s

## Slide 19: Data Analysis
Process Controller
  A Mathcad program that gives graphical overviews of processed data.
What We Changed:
  Smoothing Method

## Slide 20: Why We Smooth
Fluctuation in data
  Prevents proper fitting for analysis

## Slide 21: Weighted Smoothing
D1
D2
D3
D4
((D2+D3)/Dtotal) * log(SedVelocity2) = Weighted Value
Notes: Mention the issue: explanation behind smoothing-developed new way of weighing data points according to sectional separation of data.

## Slide 22: Results to Smoothing
Closer to raw data plot than previous smoothing method
IS IT REALLY NEEDED????

## Slide 23: Future Plans
Complete testing other alum dosages and flocculator lengths.
Further look into smoothing methods and improve analysis process
...Next Experiment planned?
  Study the effect of PH on flocculation

## Slide 24: QUESTIONS?