## Sheet1
Tube Floc Check List
Date and Time | All lights green on Process Controller except HMI Failure | Cables connected tight on stamp box | Cables conected tight on pump (back) | Datalog saved on server | tube floc looks clean | Back ground < 1 NTU (Eff) | Enough clay solution in clay bucket | Synthetic raw water looks < target NTU ( "manu-locked") | Pinch valve NOT clogged (manu-locked) | Coag stock enough | Turn to "auto mode" on PC before expe-riment | No leaking | All manual valves in raw water metering system are open | The manual valve control drainge is OFF | Water flowing in the tubes | Check the vial of the influent turbidimeter | All pump are running at the right speed (raw water
2013-04-13 13:40 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-14 14:27 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-15 15:30 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-17 15:26 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-18 11:00 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-20 14:30 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-22 15:00 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-24 15:30 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-28 14:30 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-29 15:13 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
2013-04-30 17:00 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | x | X
2013-05-01 14:00 | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X
`
Note on F2: If not clean, clean the tube using a tiny sponge running backwards from the top of FReTA (turn to backwash state).