## Slide 1: Laminar Tube Flocculator
Luyan Sun, Tanvi Naidu, and Kevin Shao

## Slide 2
Apparatus
Flocculation Model
Process Controller
Produced reliable and repeatable results
Determined P and I values
Validated the model for SWaT System
Key Deliverables
Importance & Impact
Flocculation Mechanism
Provided additional proof to the theory of flocculation AguaClara teams developed
Design of Hydraulic Flocculator
The model can be applied as a basis for designing flocculators in AguaClara plants
Made possible for future AguaClara teams to explore alternate flocculator designs
Laminar Tube Flocculator Spring 2015
How does our work fit into the big picture of AguaClara research?
Notes: How does our work fit into the big picture of AguaClara research?

## Slide 3: Ex1: FReTA VS SWaT
FReTA (Flocculator Residual Turbidity Analyzer)
SWaT (Settled Water Turbidity Analyzer)
Continuous flow system with a tube settler
More closely models plate settlers in actual AguaClara plants
Measures both settling velocity and residual turbidity under different flocculator operating conditions
Background slide-- tanvi
Notes: Swat is the new residual turbidity monitoring system
But there were fluctuations in the data due to flocs being recirculated within the glass column
Continuous flow system with a tube settler
More closely models plate settlers in actual AguaClara plants

## Slide 4: Improvements to apparatus
PACl solution minimum concentration
Use of finer, less compacted clay
Addition of barbs and replacement of flexible tubing

## Slide 5: Improvements to apparatus
Increase in loading time

## Slide 6: Improvements to apparatus
Replacing Peristaltic pump-head due to periodic pressure drops.

## Slide 7: Determining P and I
Zeigler - Nichols Method
 P =500m

## Slide 8: Determining P and I
Observed constant level with small variation (less than 10% of the target NTU 150) March 8.

## Slide 9: Trials – Consistent Influent Turbidity
Chart: Time in SWaT (s)
Chart: Time in SWaT (s)
Chart: Time in SWaT (s)
Chart: Time in SWaT (s)

## Slide 10: Results
Baseline
0 mg/L Aluminum Dosage
General Case
0.04, 0.05, 0.06, 0.08 mg/L
0.1 to 0.7 mg/L increments of 0.1 mg/L

## Slide 11: Results from SWaT
Effluent turbidity decreased significantly at low PACl dose and reached a lower limit of 2.6 NTU as PACl dose increased beyond 0.5 mg/L in Al.

## Slide 12: FReTA vs SWaT
SWaT system with the finer PACl reduced more turbidity than the FReTA system using the granular PACl.

## Slide 13: Performance Comparison
y _FReTA= 0.498ln(x) + 0.532 R² = 0.974
y _SWaT= 0.496ln(x) + 1.233 R² = 0.853
Confirmed

## Slide 14: Future works
If offset is consistent, there might be modifications to make the the model (different intercept).
Liquid PACl instead of granular
How the model would be adapted for other influent turbidity?
Other coagulants
Taper
Ideal floc size
DOM

## Slide 15: Lessons learned
Better understanding of process controller and apparatus
How to trouble-shoot the apparatus efficiently
Using our resources effectively (such as pressure sensor!)
Teamwork and effective communication
-- tanvi

## Slide 16: Thank you!

## Slide 17: Appendix

## Slide 18: Flocculation
An essential process that transforms small colloidal particles into larger particles so that they can settle out in a sedimentation tank.
Requires sticky particles and successful collisions between particles
Source: http://water.me.vccs.edu/courses/env110/lesson4.htm

## Slide 20: Laminar Flow Floc Model
Velocity gradient
Flocculation time
Fractional surface coverage of colloid by coagulant
Floc volume fraction
Sedimentation tank capture velocity
Sedimentation velocity of ???
Lambert W Function
Collisions to make first big flocs = 0.4
Empirical
Notes: Monroe’s cee 4540 slide