## Plant Components
Part Needed | Plant 1 | Plant 2 | Plant 3 | Plant 4
Complete Frame |  |  |  | 
Raw Water Stock Tank | 
Raw Water Constant Head Tank | 
Coagulant Stock Tank | 
Coagulant Constant Head Tank | 
Raw Water Connection and Feed Tube |  |  |  | 
Coagulant Connection and Feed Tube | 
Entrance Tank | 
Coagulant Dose Meter & Weight |  |  |  | 
Coagulant Dose Tube | 
Flocculator Feed Tube | 
Flocculator | 
Tubing: Entrance tank to flocculator |  |  |  | þ
Tubing: Flocculator to Sed. Tank |  |  |  | þ
Tank Floats |  | þ | 1 | 2
Sedimentation Tank |  | þ | þ | þ | Need to Connect
Tube - sed tank to filter |  |  |  | þ
Stacked Rapid Sand Filter |  | þ | þ
Tubing: SRSF to Clean Water |  |  |  | þ
Tubing: Backwash SRSF |  |  |  | þ
Clean Water Tank |  | þ | þ | þ
SRSF Fittings | 
Chemical Containers |  |  | 
Labels | 
Relabeled? |  | 
Good Spoons |  |  |  | 
Screws to Connect tanks to frame |  |  |  | 

## Flow Rates
Trial | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
mL/minute
Clean Water
Exit Tube | 40 | 38 | 30 | 34 | 25.5 | 41.5 | 41.5 | 77 | 73 | 65 | 62 | 52
Clean Water Tank | 56 | 46 | 53
Out of SRSF | 73 | 73 | 67 | 54 | 37 | 34
Raw Water
To Entrance Tank | 25 | 25 | 27
Coagulant | [6 empty] | 0 | 1 | 2 | 3 | 4 | Doser Postion
To Doser | 1 | 1.4286 |  |  |  |  | 0.1 | 0.2
Elevated flocculator
Sed. Tank Lower
|  | Trial |  | Volume (mL) |  |  |  | Time (min)
Original Length |  | 1 |  |  | 54 |  |  | 1
Cut off 4 inches |  | 2 |  |  | 82 |  |  | 1
|  | 3 |  |  | 83 |  |  | 1
|  | 4 |  |  | 80 |  |  | 1
Cut off 1 + inch, cleaned out sed. Tank tubing |  | 5 |  |  | 80 |  |  | 1
|  | 6 |  |  | 83 |  |  | 1
|  | 7 |  |  | 87 |  |  | 1
Cut off 1 + inch |  | 8 |  |  | 80 |  |  | 1
|  | 9 |  |  | 80 |  |  | 1
|  | 10 |  |  | 85 |  |  | 1
Flushed out sed. Tank, tube, backwashed SRSF |  | 11 |  |  | 88 |  |  | 1
|  | 12 |  |  | 90 |  |  | 1
|  | 13 |  |  | 90 |  |  | 1
|  | 14 |  |  | 90 |  |  | 1
Cut off 1 + inch |  | 15 |  |  | 92 |  |  | 1
|  | 16 |  |  | 92 |  |  | 1
|  | 17 |  |  | 96 |  |  | 1

## Concentrations
| Mass per Scoop | 6 Scoops | Concentration
Coagulant (PACl) | 0.11 g | 0.66 g | 660 mg/L
Clay | 0.129 g | 0.93 g | 200 NTU
New Spoons |  |  |  | (Method)
Coagulant (PACl) | 0.65 g |  | 650 mg/L | level spoonful
Clay | 0.9 g |  | 200 NTU | full scoop, scrape against bottle when scooping out