## Slide 1: Demonstration Plant Spring, 2012
Muhammed Abdul-Shakoor, Thalia Aoki, Sahana Balaji, Miree Eun, Tim Hui, Diana Kelterborn, Meena Selvanathan

## Slide 2: Introduction
Simple hands on demonstration
Educational tool
Vital role in contributing to the growth of the AguaClara technologies

## Slide 3: Dose Controller: Previous Designs
Specification
  Linear relationship between the water height and the dose rate
Fabrication
  Surface Tension, hole sizes, applicability at DP scale
Notes: Update the information on this slide based on the DemoPlant description paper.

## Slide 4: LFOM
  Mimic the Sutro weir using a pattern of holes that are easily machined
  Achieve a linear relationship between water depth and flow rate
MathCad Design
  Inputs (Flow rate, Height, Number of Rows)
  Outputs(Number of holes per row, orifice diameters, pipe diameters.

## Slide 5: LFOM vs Lam Flow Pipes
Educational use
Measures flow rate
More approximate for lower flow ranges
Actual calculated flow rate: 48 mL/min
Ultimately failed at DP scale

## Slide 6: Dose Control Calculations
Setting the Plant Flow Rate
Setting the Plant Dose Rate

## Slide 7: Flow Rate/Dose Control System
Constant Head Tank
(Raw Water)
Constant Head Tank
(Alum)
Δh2
Δh1
No Flow

## Slide 8: Flow Rate/Dose Control System
Constant Head Tank
(Raw Water)
Constant Head Tank
(Alum)
Δh2
Δh1
Full Flow

## Slide 9: Sedimentation Tank
Create a new sedimentation tank
  Floc blanket
  Tube settler

## Slide 10: Design
Based on 1131, simple design approach

## Slide 11: Final Sedimentation Tank

## Slide 12: Sedimentation Tank Features
Column builds floc blanket

## Slide 13: Sedimentation Tank Features
Column builds floc blanket
Funnel-shaped fitting collects settled flocs

## Slide 14: Sedimentation Tank Features
Column builds floc blanket
Funnel-shaped fitting collects settled flocs
Floc drain siphons off large flocs

## Slide 15: Sedimentation Tank Features
Column builds floc blanket
Funnel-shaped fitting collects settled flocs
Floc drain siphons off large flocs

## Slide 16: Sedimentation Tank Features
Column builds floc blanket
Funnel-shaped fitting collects settled flocs
Floc drain siphons off large flocs
Tube settler captures small particles

## Slide 17: Sedimentation Tank Features
Column builds floc blanket
Funnel-shaped fitting collects settled flocs
Floc drain siphons off large flocs
Tube settler captures small particles
Emergency floc drain sends excess flocs to waste

## Slide 18: Sedimentation Tank Features
Column builds floc blanket
Funnel-shaped fitting collects settled flocs
Floc drain siphons off large flocs
Tube settler captures small particles
Emergency floc drain sends excess flocs to waste
Drop tube creates new free surface

## Slide 19: SRSF Fabrication Challenges
Acrylic vs. PVC pipes
  Higher transparency and more accurate ID size of acrylic pipes are advantageous for DP
  Acrylic pipes are more brittle  more difficult to drill holes for distribution pipes
Fabrication of “Slotted” pipes
  1/2” long portion of 3/16” ID pipes
  Minimum width of 0.2 mm (0.0079”)
  Watertight connections required
  Proposed Solutions?
    WireEDM machine in Clarks Hall
    Wire mesh wrapped pipes
    Pipes with compressed springs in them!!

## Slide 20: Adjustments Made
Replaced backwash siphon with manual valves and eliminated the inlet box

## Slide 21: Adjustments Made
Sand layer thickness changed from 2 cm to 10 cm
10 cm

## Slide 22: Adjustments Made
Replaced rubber stopper with manual threaded valve

## Slide 23: Adjustments Made
Added drop tube before the filter and clear well after it

## Slide 24: SRSF Results (1)
3/4” OD
1/2” ID clear acrylic pipe
3/16” Brass pipes
with compressed
springs
Backwash valve
Sealant
(Teflon tapes)
1/4” Flexible
3 Inlet tubing
1/4” Flexible
2 Outlet tubing
1/4” to 1/4”
3-way connectors
Effluent water
Valve for air bubbles

## Slide 25: SRSF Demonstration
Filtration mode to Backwash - Fluidization

## Slide 26: SRSF Demonstration
Filtration mode to Backwash - Watergap

## Slide 27: 80/20 Aluminum Frame
Water flow rates and heights
Visibility of processes
Clarity to lay-person
Compactness
Ease of construction and operation
Ease of modification

## Slide 28: Documentation
Consolidated MathCAD file
  Design calculations
  Headloss calculations
User’s Manual
  Catalogue of different parts
  Construction and operation instructions

## Slide 29: Future Work
80/20 Frame
  Improved buckets, labels
  More compact frame
  Smaller pieces, hinges, wheels
  Duplication
Flocculator
  Floc drainage pipe for flocculator OR Redesigning flocculator with U-shape bottom

## Slide 30: Future Work
Sedimentation Tank
  Modify sedimentation tank geometry to eliminate emergency floc drain (influent jet)
  Adjust floc weir for better drainage and simpler operation
SRSF
  Improvement on fluidization of SRSF bottom sand layer
  Replacement of SRSF acrylic column with PVC pipe or fabrication of SRSF protective case for easy mobilization
  Fabrication of an extra “slotted” pipe
  Repositioning of SRSF column

## Slide 31: Thank you!