## Comparison of ultrasonic Doppler flow monitor, oscillometric, and direct arterial blood pressure measurements in ill dogs.   Bosiack et al, Journal of Veterinary Emergency and Critical Care 20 (2) 2010, pp 207 – 215

## ABSTRACT

Objective – To compare blood pressure measurements obtained via ultrasonic Doppler flow monitor (DOP) and 2 oscillometric noninvasive blood pressure monitors (CAR and PAS) to invasive blood pressure (IBP) in hospitalized, conscious dogs with a range of blood pressures.

Design – Prospective clinical study.

Setting – University teaching hospital.

Animals – Eleven client-owned dogs aged between 4 months and 11.5 years (median 6 y), and weighing between 5.8 and 37.5 kg (median 30.2 kg).

Interventions – Blood pressure measurement.

Measurements and Main Results – Three consecutive measurements of systolic, diastolic, and mean arterial pressure (MAP) were recorded for each of the 3 indirect devices (only systolic for DOP), along with concurrent IBP measurements. The data were categorized into 3 groups: hypotensive (direct MAP<80 mm Hg), normotensive (80 mm Hg≤direct MAP≥100 mm Hg), and hypertensive (direct MAP>100 mm Hg). Each indirect method was compared with the corresponding direct arterial pressure using the Bland-Altman method. Within the hypotensive group, each indirect method overestimated the corresponding IBP. Within the normotensive group all indirect systolic measurements and the PAS diastolic measurements underestimated the corresponding IBP. The remaining indirect measurements overestimated the corresponding IBP. Within the hypertensive group, DOP and CAR systolic measurements underestimated the corresponding IBP, and the remaining indirect measurements overestimated the corresponding IBP. In hypertensive dogs oscillometric systolic measurements were more accurate than MAP. In hypotensive dogs MAP measurements were more accurate than systolic measurements. All indirect measurements were most accurate in hypertensive dogs.

Conclusions – The noninvasive blood pressure monitors in our study did not meet the validation standards set in human medicine. However, CAR diastolic and MAP measurements within the normotensive group, CAR MAP measurements within the hypertensive group, and PAS diastolic measurements in all groups were close to these standards. All indirect measurements showed greater bias during hypotension. Precision was poorer for all indirect systolic measurements than for MAP.

MAIN POINTS:

- Invasive arterial pressure is the accepted gold standard in vet med for blood pressure measurement.

- In human medicine the recommended acceptable error for NIBP devices is 5mmHg. No veterinary monitor has met this standard in dogs, and only 1 has in cats.

- Previous studies have shown and overestimation by oscillometric devices during hypotension and an underestimation during hypertension.

- CARDELL: overestimated all arterial pressures with the exception of normotensive and hypertensive SYS pressures.  Lowest bias= normotensive DIAS and MAP, hypertensive SYS and MAP

- PASSPORT: overestimated all arterial pressures except normotensive SYS and DIAS. Lowest bias= normotensive DIAS and MAP, hypertensive SYS and MAP

- DOPPLER: overestimated the SYS pressure in the hypotensive group and underestimated the SYS in the normotensive and hypertensive group.  Lowest bias=  hypertensive SYS

- The CAR MAP measurements in this study were the most accurate of all NIBP measurements taken

- In all 3 pressure groups DOP SYS was a more accurate predictor of direct SYS than direct MAP

- TAKE HOME: with NIBP measurements, if hypertensive look at SYS, if normotensive of hypotensive look at the MAP.

QUESTIONS:

1)  In human medicine the recommended acceptable error for NIBP devices is:

a) 1 mmHg

b) 5 mmHg

c) 10 mmHg

d) 15 mmHg

-B

2) In this study which of the NIBP monitors and which of the NIBP measurements (SYS, DIA, MAP) was found to be the most accurate?

a) Passport SYS

b) Cardell SYS

c) Dopler SYS

d) Passport MAP

e) Cardell MAP

-E

3) According to this study, if you have a patient that HYPOTENSIVE and you are monitoring blood pressure with a non-invasive monitor, which measure (SYS, DIA, or MAP) will likely be the most accurate?

-MAP

Safety and efficacy of high-dose fomepizole compared with ethanol as therapy for ethylene glycol intoxication in cats.  Connally et al. Journal of Veterinary Emergency and Critical Care 20(2) 2010, pp 191–206

Abstract

Objective – To determine the safety and efficacy of high-dose fomepizole compared with ethanol (EtOH) in

cats with ethylene glycol (EG) toxicosis.

Design – Prospective study.

Setting – University veterinary research laboratory.

Animals – Thirteen cats.

Interventions – Two cats received injections of high-dose fomepizole (Study 1). Three cats received lethal doses of EG and fomepizole treatment was initiated 1, 2, or 3 hours later (Study 2). Eight cats received a lethal dose of EG and were treated with fomepizole or EtOH (Study 3). Cats treated with fomepizole received 125 mg/kg IV initially, then 31.25 mg/kg at 12, 24, and 36 hours. Cats treated with EtOH received 5mL of 20% EtOH/kg IV initially, then every 6 hours for 5 treatments, then every 8 hours for 4 treatments. Cats also received fluids and supportive therapy as needed.

Measurements and Main Results – Clinical signs were monitored and serial blood analyses performed. Cats receiving fomepizole experienced mild sedation but no biochemical evidence of toxicity. Cats receiving fomepizole for EG intoxication survived if therapy was initiated within 3 hours of EG ingestion. One of the 6 developed acute renal failure (ARF) but survived. Only 1 of the 3 cats treated with EtOH 3 hours following EG ingestion survived; 2 developed ARF and were euthanized. Cats treated 4 hours following EG ingestion developed ARF, whether treated with EtOH or fomepizole.

Conclusions – Fomepizole is safe when administered to cats in high doses, prevents EG-induced fatal ARF when therapy is instituted within 3 hours of EG ingestion, and is more effective than treatment with EtOH

*THREE SEPARATE STUDIES PERFORMED

Study 1 (Affect of high dose fomepizole): Cat 1- received 1 dose of 100mg/kg IV.  Cat 2- received 100mg/kg IV, then 2 months later 150mg/kg, then 1yr later 125mg/kg at time 0 followed by 31.3mg/kg at 24, 48 and 72 hrs.  Chem, UA, bloodgas, serum and urine osmolalities measured at 0, 5, 24, and 48hrs and 1 and 2 weeks after dose.  Side effects= mild sedation, ataxia excessively affectionate initially, (decreased appetite and possibly vomiting),  subsequent doses had minimal effect, distinctive fomepizole odor in breath and urine up to 1 wk.  No significant biochemical changes noted.

Study 2 (High dose fomepizole at different treatment times): 3 cats given 125mg/kg of fomepizole at 1, 2, and 3 hrs after 1.6mL/kg of EG.  Cat 2 given 2 doses of EG. All cats survived.  One cat treated (possibly part of study 3) at 3 hrs post EG developed ARF but survived. Chem, UA, bloodgas, serum and urine osmolalities measured at 0, 1, 3, 6, 9, 12, 24, 48 and 72hrs and 1 and 2 weeks after dose.  No significant biochemical abnormalities noted.

Study 3 (Compare high dose fomepizole to EtOH): 3 cats received high dose fomepizole at 3hrs, 3 cats received EtOH at 3 hrs, 1 cat received high dose fomepizole at 4 hrs and 1 cat received EtOH at 4 hrs.  All fomepizole cats treated at 3 hrs survived (1 cat possibly part of study 2 developed ARF).  Of the cats treated with EtOH at 3 hrs, 2 developed ARF and were euthanized, one survived with no signs of RF.  All cats treated at 4 hrs died.  Chem, UA, bloodgas, serum and urine osmolalities measured at 0, 1, 3, 6, 9, 12, 24, 48 and 72hrs and 1 and 2 weeks after dose.

Significant changes with time and/or treatment were seen in K, Phos, AG, bicarb, glycolate levels, venous pH, Ca, ALB, ALT and CK.

MAIN POINTS:

- Cats have a graver prognosis with ethylene glycol than dogs: higher mortality (96-100% v. 59-70%) and lower lethal dose (1.4 mL/kg v. 4.4-6.6mL/kg).

- FOMEPIZOLE inhibits alcohol dehydrogenase (ADH) enzyme by forming a ternary complex with ADH and its coenzyme nicotinamide adenine dinucleotide (NAD), thereby inhibiting oxidation of EG by blocking the binding site.

- Kinetics studies (in vitro) showed that inhibition of feline ADH required 6x the fomepizole concentration than that of the dog.

- Based on marked variability of serum EtOH measurements with bolus dosing, it was recommended that if treating EG-cats with EtOH, a CRI should be considered.

- Survival seemed to depend upon the type of treatment administered and the time the treatment was instituted, rather than the dose of EG.

QUESTIONS:

1) According to this study, cats that had injested EG were more likely to survive if:

a) They received treatment within 3hrs of having ingested EG

b) Received treatment with EtOH

c) Received treatment with Fomepizole

d) A and B

e) A and C

-E.

2) Why did the researchers investigate high dose administration of Fomepizole in feline EG intoxication?

-Kinetics studies demonstrated that inhibition of feline ADH required 6x greater fomepizole concentration when compared to dogs.

3) Side effects of high dose fomepizole in cats included:

a) increased affectionate behavior

b) sedation

c) inappetence

d) all of the above

e) none of the above

-D.

In vitro Elution of Amikacin and Vancomycin from Impregnated Plaster of Paris Beads

Aylin Atilla, VMD, MS et al.  Veterinary Surgery 2010

ABSTRACT:

Objective: To describe in vitro elution characteristics of amikacin and vancomycin from calcium sulfate hemihydrate 98% (plaster of Paris, POP) beads and characterize eluent inhibition of Staphylococcus spp.

Study Design: Experimental study.

Methods: POP beads were impregnated with amikacin or vancomycin alone or in combination and then incubated alone or in combination for 84 days at 37̊C in plastic tubes containing sterile phosphate-buffered saline (PBS). Beads containing no antimicrobial served as negative control. Beads were intermittently moved to a new tube containing drug-free PBS. Antimicrobial was measured in the eluent using a polarized fluorescent immunoassay. Eluent inhibition of Staphylococcus spp. was determined at each time point.

Results: Antimicrobial release from beads was characterized by an initial rapid phase then a slower phase. Although antimicrobial release from beads occurred throughout the 84 days, most was in the first 24 hours, except for vancomycin alone. Duration of eluent inhibition of Staphylococcus spp. growth ranged from 0.5 (amikacin alone) to 56 days (vancomycin alone). Control eluent did not inhibit bacterial growth.

Conclusions: Amikacin elution from POP beads was rapid, inhibiting growth for <24 hours with or without vancomycin. Vancomycin elution was slower and inhibited growth for 56 days alone or for 5 days with amikacin.

Clinical Relevance: Vancomycin-impregnated beads appear to be reasonable as a therapeutic option whereas amikacin-impregnated POP beads and amikacin and vancomycin combinations may require further study before considering as a therapeutic option.

MAIN POINTS:

- There is an increased incidence of antimicrobial (AB) resistance of G+ pathogens.  Systemic antimicrobial therapy may be ineffective at delivering adequate doses.

- Plaster of Paris (POP) can carry antimicrobials, is absorbable, osteoconductive, and would not need to be removed.

- Concentrations of AB delivered to wound dependent upon amount of AB released, amount of fluid in the wound and rate of removal

- Elution rate was greater for beads containing both AB compared with beads containing a single AB, regardless whether beads were incubated alone or with other beads.  Elution rate for Amikacin was greater compared with vancomycin regardless of bead combination.

- Amikacin (A) concentrations remained above CLSI susceptible MIC 24-36hrs, eluent concentration only 12-18hrs.  When combined with Vancomycin in same bead (AV): 12-18hrs and 6-12hrs respectively.  When both AB beads were present in the same incubation (A+V): 18-24hrs and 6-12hrs respectively.

- Vancomycin (V) alone: concentrations remained above the CLSI susceptible MIC for 84 days.  When combined with Amakacin in same bead (AV): 2-3days.  When both AB beads were present in the same incubation (A+V): 28-56 days.

- A beads inhibited growth of all isolates 12-18hrs, V beads 56 days, AV 18-24 hrs, A+V 5days

- Study suggests that vancomycin might be a reasonable AB with which to impregnate POP beads.

QUESTIONS:

1) This study suggested that POP beads impregnated with which antibiotic, might be an effective treatment for Staph resistant infections?

a) vancomycin

b) amakacin

c) vancomycin and amakacin combined beads

d) vancomycin beads and amakacin beads incubated together

-A

2) True or False: When POP impregnated beads are incubated together the concentration above MIC tended to be longer.

-FALSE.  When incubated together or especially when combined together in a single bead the concentrations fell below the MIC sooner.