## Slide 1: Sedimentation Tank Hydraulics
The Team
  Hongyi Guo
  Ethan Yen
  Frances Ciolino

## Slide 2: Team Goals
Optimize floc hopper geometry
Continuous wasting
Floc Blanket Stability

## Slide 3: Continuous wasting
Concentrated waste
Less wasted water
No valves

## Slide 4: Hindered Sedimentation Velocity
Repeat of Spring ‘12 Team
Upflow Velocity
Sed Velocity @ 0 Upflow

## Slide 5: Hindered Sedimentation Velocity
Results
0.6 mm/s 1.2 mm/s 1.6 mm/s
Why so erratic?

## Slide 6: Hindered Sedimentation Velocity
Results
0.6 mm/s 1.2 mm/s 1.6 mm/s
Upflow
SedVel 0.086mm 0.15mm/s 0.47mm/s

## Slide 7: Hindered Sedimentation Velocity
Upflow Velocity | 0.6 mm/s | 1.2 mm/s | 1.6 mm/s
Sed Vel | 0.086 mm/s | 0.15 mm/s | 0.47 mm/s
Spring ‘12 | 0.522 mm/s | 1.02 mm/s | 1.10 mm/s
Velocity Ratios | 0.6 mm/s / 1.2mm/s | 1.2 mm/s / 1.6mm/s
Sed Vel | 0.57333 | 0.319149
Spring ‘12 | 0.51176 | 0.927273

## Slide 8: Floc blanket formation
10% Plan View Area, Alum Dose 15 mg/L
Video recording floc blanket formation
30fps
Made from pictures captured by Labview, 5s/shot
Video: http://www.youtube.com/watch?v=Ho5HMh39fLc&list=UUXq9V81yyUOTQYokfp5wXfw&index=1

## Slide 9: Conc.of Flocs in 15%PVA Floc Hopper
Wasting Rate
15ml/min 25ml/min 30ml/min

## Slide 10: 15%PVA Conclusions
What may affect the concentration
  Eddies
  Brightness of camera

## Slide 11: 20% Plan View Area
Dense Concentration on bottom
Floc Blanket consistently lower than hopper
Why?
Wasting Tube Sucking Flocs through gaps in Hopper?

## Slide 12: 20% Plan View Area
15 mL/min 25 mL/min 30 mL/min

## Slide 13: 20% Plan View Area
Conclusions
  Lower Alum Dosage (From 45 mg/L to 15 mg/L)
    Less large flocs (more dense and less susceptible to flows)

## Slide 14: 10% Plan View Area
15 mL/min 25 mL/min 30 mL/min
Video of Turbulence: http://www.youtube.com/watch?v=p8mweFDICtQ&list=UUXq9V81yyUOTQYokfp5wXfw&index=2

## Slide 15: 10% Plan View Area
Conclusions
  Floc blanket height
  Eddies affect results for 25%
  Lower doses

## Slide 16: Last Continuous Wasting
Slowly turned up wasting rate
2ml/min too fast
Turbidimeter maximum
Long time to reach turbidimeter

## Slide 17: Summary
Block Added
Coagulant Dose
Lower Wasting Rate
Smallest Plan View Area

## Slide 18: Future Work
Plan View Area
Wasting Rate
Particle size
  Effect on concentration
  Coagulant dose
Floc Blanket Failure

## Slide 19: Questions?