## Slide 1: Foam Filtration
Skylar Erickson Melissa Shinbein
Kadambari Suri
Jeffrey Suen

## Slide 2: Summer 2010

## Slide 3: Fall 2011
Foam too inefficient
without coagulent
30 ppi foam is
efficient to reduce
highly turbid water
(100+ NTU)

## Slide 4: Spring 2012
Develop the plunging method
Foam expo proved the full scale system was effective

## Slide 5: Fall 2012
Move towards electricity free
Implemented a coagulant and a chlorine doser
Used a secchi disk to identify cleaning time

## Slide 6: Summer 2012

## Slide 7: Spring 2013
Created a larger stock tank to provide enough space for linear dosing
Built unit out of pvc to withstand water and sunlight as an emergency unit

## Slide 8: Goals for this Semester
New Design
Economic Feasibility
Chemical Doser
De-compressibility of Foam
Improved Cleaning Techniques

## Slide 9: New Design (Circular in 3D)
63”
15”
90 PPI
15”
30 PPI
15”
Uncompressed
Not yet determined
90 PPI
30 PPI
Compressed
Exit Valve
30 PPI

## Slide 10: Economic Feasibility
The monthly cost per household has to be affordable / economically sustainable.
Target monthly cost ≤ 20 Lempiras/month (provided by APP)
The monthly cost would cover
  replacement foam
  chemicals
  general maintenance
  operator/plumber salary

## Slide 11: Foam Decompression
The current method of decompressing foam after compression results in tear on the foam.
Allowing the foam to decompress naturally would
  simply the cleaning process
  Eliminate the need to install a handle in the foam.

## Slide 12: Questions?