## Slide 1: Foam Filtration
Kristin Chu
Marlana Hinkley
Ethan Keller
Valerie Pietsch
Notes: Val

## Slide 2: Why Foam?
Less water wasted
Less space needed
Less expensive
This would be most
beneficial for:
Medium sized villages
Emergency situations
Temporary situations
Notes: Val

## Slide 3: Goals
Communicate
Construct
Research
Design
Easy to test
Easy to build
Easy to operate
Construct cohesive system
Notes: Val

## Slide 4: Last Semester/Summer
Used compression system to clean the foam
  Found backwash to be more efficient
Funding sources still skeptical – need more data!
Notes: Val

## Slide 5: Compression/Backwash Data
4” Pipe Filter Compression Test
4” Pipe Filter Backwash Test
(NTUliters.backwashed)/(NTUliters.filtered)=Cleaning efficiency
Notes: Marlana

## Slide 6: This Semester
Testing apparatus
  New plunger
  New backwash drain
  Keep electronics dry
  Design & integrate LFOM/CDC
  Lighter lever arm
  Re-design 4” Filter
Notes: Marlana

## Slide 7: Small Filter
Re-design: clear pipe, recycle system, lever arm
Backwash system efficiency
  Empirical relationship between force used to plunge, pore velocity and cleaning efficiency
Notes: Marlana

## Slide 8: The Current System
Notes: Ethan

## Slide 9: Proposed CDC System
Notes: Ethan

## Slide 10: Is Foam Safe?
Ether- and ester-based reticulated polyurethane foam
Conducted an initial leaching test using mass spectrometer
THE FOAM LEACHES!!
Notes: Kristin

## Slide 11: Honduras
Video calls with Jon & Walker to share research/designs
Provide data for support of system in Honduras
Current priority: integrate LFOM/CDC into a cohesive system
Trip in January
Notes: Kristin

## Slide 12: What’s Next
Continue researching what could be leaching from foam
Construct new 4” Pipe Filter & begin conducting tests
Fabricate & implement LFOM & CDC designs on large filter
EPA Phase 2 Project Proposal
Notes: Kristin

## Slide 13: Questions???