## Slide 1: Foam Filtration
Katie Edwards, Walker Grimshaw,
Bradshaw Irish, Kelly McBride, Nadia Shebaro

## Slide 2: Foam Filtration
Serves smaller scale communities
Easily scalable
Readily available materials
Simple to operate and maintain
Ideal for water kiosks, emergency situations

## Slide 3: Foam as Filtration Media
Advantages:
High solids loading capacity
High porosity
Lightweight
Depth filtration vs. surface filtration
Easy cleaning mechanism

## Slide 4: Pores Per Inch
1/10 inch
(a)
(b)
Pores per inch (ppi): the number of pores within a linear inch of foam
Higher ppi foam has more, smaller pores
(a) 30 ppi foam
(b) 90 ppi foam

## Slide 5: pC*
Notes: pC* is the log removal of the system. When varying the influent turbidity, it is often more straightforward to compare effluent turbidities than compare pc* values. Theoretically, when two filters are put in series, the pC*s of the two filters should be additive for the entire system. We are hoping to achieve a pC* of approximately 1.5 - 1.6 so that we can reduce turbidity from 100 to EPA approved 3
5

## Slide 6: Final Design Schematic
Finishing Filter
15 inches
90 ppi foam
Entrance
Tank
Dirty Water
Source
Clean Water Reservoir
Hand pump
Roughing Filter
30 inches
30 ppi foam
Coagulant
Chlorine
Disinfectant

## Slide 7: Features of the Prototype
Flexible tubing for adjustability
Scalable design based on PVC diameter
LFOM for linear flow
Chemical dosing with constant head tanks
Addition of handles for foam decompression

## Slide 8: Cleaning the Filter

## Slide 9: Features of the Prototype
Rubber ducks
FOAM

## Slide 10: P3 Competition
Preparation
  Grant Proposal

## Slide 11: Poster

## Slide 12: Talked…

## Slide 13: Talked…

## Slide 14: And talked

## Slide 15: “Data”
Influent: 180-250 NTU
Effluent: 0.2-0.5 NTU
pC* = 2.55-2.70
Being Green: Recycling PACl
Poorly Calibrated Turbidimeter
Children in Water

## Slide 16: Judging

## Slide 17: More judging

## Slide 18: Outcome
No money
But…what did we learn?

## Slide 19: Equanimity
… meh
… meh

## Slide 20: So?
Foam?
Gravity?
AguaClara
EPA
Crazy
Cool
WOW!

## Slide 21: Takeaways
Contacts
  Already one order for a filter!
What do we still have to learn?
  Lots

## Slide 22: Future Work
Prototype Improvements
  Determine actual filter performance
  Examine cleaning method further
  Test for leaching
?

## Slide 23: Future Work
Calculations
  Determine head loss between columns
  Life expectancy of prototype and foam

## Slide 24: Future Work
Documentation
  Develop an “Owner’s Manual”
  Detailed parts list and construction guide
  Research alternate sources of foam

## Slide 25: Questions?
Thank You!