## Slide 1: Turbidimeter
Final Presentation

## Slide 2: A novel approach to measure turbidity...

## Slide 3: Basic Design Components
PVC pipe
LED light
depth testing pattern on LED
Lowering rod with LED attached

## Slide 4: Prototype 1
+
+
LED light
source
Ping pong ball
Secchi disk
design

## Slide 5: Prototype Designs Tested
Agua
Clara
Secchi disk pattern
Thick, black stripe
# 1
# 2
# 3
# 4
“Agua Clara” words
Fine, grid of lines

## Slide 6: Final prototype
“Agua Clara” design
Light cylindrical diffuser
Stuctured rod with LED attached

## Slide 7: Experimental Methods
Testing using portable turbidimeter
  Clay added directly to tube
  Mixed by inverting tube

## Slide 8: Experimental Methods
Problems with this method
  Portable turbidimeter unreliable
  Settling
Solution
  Constant Mix Experimental Setup

## Slide 9: Experimental Methods
Constant Mix Schematic
1
Pump
LED
Lowering Rod
Tube
Turbidimeter connected to Process Controller
Outlet
Inlet

## Slide 10: Experimental Methods
Measurement Procedure
  Turn pump on
  Add clay stock solution
  Once a steady NTU measurement is achieved, turn pump off
  Measure depth that “AguaClara” is not legible

## Slide 11: Results with Online Turbidimeter

## Slide 12: Results with Online Turbidimeter
Chart: Depth (cm)
| 102.5 | 91 | 69 | 59 | 55 | 49 | 44 | 40 | 40 | 36 | 36 | 25 | 22 | 18 | 15 | 15 | 12 | 10 | 9 | 8 | 7 | 7
Test 1 - "AguaClara" Letters | 3.077 | 4.167 | 4.615 | 5.132 | 6.481 | 7.012 | 8.661 | 9.31 | 10.003 | 11.609 | 15.167 | 20.301 | 30.126 | 39.676 | 51.461 | 61.634 | 77.946 | 104.81 | 136.34 | 182.93 | 251.61 | 311.92
Test 1 - Black Line | 15.167 | 20.301 | 30.126 | 39.676 | 51.461 | 61.634 | 77.946 | 104.81 | 136.34 | 182.93 | 251.61 | 311.92

## Slide 13: Results with Online Turbidimeter

## Slide 14: Results with Online Turbidimeter
Chart: Depth (cm)
| 69 | 59 | 55 | 49 | 44 | 40 | 40 | 36 | 36 | 25 | 22 | 18 | 15 | 15 | 12 | 10 | 9 | 8 | 7 | 7
Agua Clara Prototype Scale Values | 4.615 | 5.132 | 6.481 | 7.012 | 8.661 | 9.31 | 10.003 | 11.609 | 15.167 | 20.301 | 39.676 | 39.676 | 51.461 | 61.634 | 77.946 | 104.81 | 136.34 | 182.93 | 251.61 | 311.92

## Slide 15: Results with Online Turbidimeter
Chart: LED Depth vs. Turbidity
| 5.1319999999999997 | 6.4810000000000016 | 7.0119999999999996 | 8.6610000000000014 | 9.31 | 10.003 | 11.609 | 15.167 | 20.301000000000013 | 39.676000000000002 | 51.461000000000006 | 61.634 | 77.946000000000026 | 104.81 | 136.34 | 182.93 | 251.60999999999999
AguaClara Scale Values | 59 | 55 | 49 | 44 | 40 | 40 | 36 | 36 | 25 | 18 | 15 | 15 | 12 | 10 | 9 | 8 | 7

## Slide 16: Final Turbidimeter Scale

## Slide 17: Future Work
Test accuracy of our scale
Consider possible sources of operator error
Standardize materials for production