## Slide 1: OStaRS Assembly
Mengqi Jiang and Subhani Katugampala

## Slide 2: Overview of OStaRS Assembly
Open Stacked Rapid Sand Filters
  Constructed in plants > 8 L/s
  Three filters to be constructed in Las Vegas
Challenges
  Simplify assembly process
    Spacer
    Platform
    Holder
Figure 1: Flow of water through an inlet manifold in an OStaRS filter
Notes: MENGQI

## Slide 3: Problem Areas: Spacer
Stability of Modules
  Potential Solution: Spacers
Figure 2: Top view of a filter module including spacers in corners.
Notes: MENGQI

## Slide 4: Problem Areas: Spacer
Figure 3: New spacer between filter modules consisting of a 2” pipe stub with cables to secure it in place.
Notes: MENGQI

## Slide 5: Problem Areas: Platform
Haphazard Assembly
  Potential Solution: Movable Platform
Figure 4: Top view of a filter module assembly without platform.
Notes: MENGQI

## Slide 6: Problem Areas: Platform
Figure 5: Top view of a filter module assembly with a stagnant platform.
Notes: MENGQI

## Slide 7: Problem Areas: Holder
Security of Trunk Line
  Potential Solution: Holders
Figure 6: Top view of a filter module with cable holder and truck line support
Notes: MENGQI

## Slide 8: Modified Spacer: Design
Goal
  Minimize tools and components during assembly
Components
  PVC Spacer
  Straight latches instead of L-brackets
  PVC Rod
Figure 7: AutoCAD schematic of modified spacer design
Notes: SUBHANI

## Slide 9: Initial Platform: Design
Goals
  Easier assembly
  Prevent bending pipes
Components
  Two wooden boards
  Two metal hinges
  Two angle brackets
  Metal Screws
Filter Modifications
  Slots into filter wall
Figure 8: AutoCAD schematic of platform
Notes: SUBHANI

## Slide 10: Moving Forward
Fabrication of platform and three spacers
  Design for top spacer to attach to the filter
Stress testing
Design alternative to current holder system (to support truck line)
Notes: SUBHANI

## Slide 11: Constant Head Tank
Anna Doyle, Valerie Shao, and Serena Takada

## Slide 12: Constant Head Tank Overview
Constant Head Tank is part of Chemical Dose Controller
Regulates flow of chemicals from chemical stock tank to dosing tubes

## Slide 13: Current CHT Design using Plastic Tupperware
4 Problems:
Not chlorine resistant
Float valve requires modification
Stratification
No in-place cleaning

## Slide 14: New CHT Design
Custom Clear PVC Tank
Sloped bottom to collect settled calcium
Influent from Stock Tank
Exit to Dosing Tubes
Settling Calcium
Constant Free Surface
Closed Valve

## Slide 15: Cleaning In-Place
CLOSE Influent from Stock Tank
Drain settled Calcium
CLOSE Exit to Dosing Tubes

## Slide 16: Clean CHT
Influent from Stock Tank
Exit to Dosing Tubes
Constant Free Surface
CLOSE Valve

## Slide 17: PVC Welding for Tank Construction

## Slide 18: Future Work
Fabrication of first iteration of new CHT design
Testing of constructed CHT
Present design to Monroe/engineers in Honduras
Fabrication and testing of second iteration of design, if necessary

## Slide 19: Flochopper Probe
Miguel Castellanos

## Slide 20: Challenge
Build a device to measure depth of sludge in floc hopper
Prevent floc hopper from becoming clogged with sludge, lowering plant performance
Reduce the amount of water that is wasted due to purging floc hopper

## Slide 21: Fall 15 Methods
1” PVC
1” Hex brass glass sight
LED to indicate sludge blanket depth
Hose clamp to hold floc ‘condenser’ & LED light
Not to scale

## Slide 22: Honduras 2016 Results
Probe occasionally failed to enter 2” PVC pipe port in the sed tank channel
Delicate end components
Difficulty turning LED on/off
Floc hopper design varies with each plant

## Slide 23: Spring 16 Goals
Entire apparatus made of 1” PVC pipe
Less external parts
From LED to red dot laser
Switch/button to turn laser dot on
Periscope to avoid eye damage
Functional prototype for Honduras 2017

## Slide 24: Questions or Suggestions?