## Slide 1: Stock Tank Mixing
Alexandra Cheng
Apoorv Gupta

## Slide 2: Outline
Goals
Hydrometer
  Research and purchase
  Density vs. Concentration relationship for Honduran PACl
Centrifugal Pump
  Improved design
  Effectiveness testing

## Slide 3: Goals
Purchase and test a hydrometer suitable for usage with Honduran PACl in San Nicolas
Improve previous stock tank pump design and test on small-scale; potentially finalize design for construction for usage at San Nicolas

## Slide 4: Hydrometer
1.000-1.220 density readings
Krackeler Scientific - $74.00
PACl Density vs. Concentration Testing
  ρ= 0.5667C + 986 (kg/m3)

## Slide 5: PACl Density vs. Concentration

## Slide 6: Centrifugal Pump Construction
Rescale pump
PVC plate and wood stabilizer

## Slide 7: RPM vs. Lift Theory

## Slide 8: RPM vs. Lift Testing
860 g/L sugar solution
Measure height for 0-70 rpm
Mix entire solution and measure density at different time intervals to check uniformity

## Slide 9: RPM vs. Lift Results
Chart: Pump Speed (RPM)
| 0 | 15 | 20 | 25 | 30 | 40 | 50 | 60 | 70
Experimental | 0 | 0.5 | 1 | 2 | 2.5 | 3.75 | 7.5 | 11.5 | 17
Theoretical | 0 | 0.021 | 0.085 | 0.192 | 0.341 | 0.533 | 0.768 | 1.045 | 1.365 | 1.727 | 2.132 | 2.58 | 3.071 | 3.604 | 4.179 | 4.798 | 5.459

## Slide 10: Mixing Trial Video

## Slide 11: Future Work
Obtaining Honduran PACl and test to solidify density and concentration relationship
Continue testing with pump for RPM vs. lift relationship and adjusted design based on findings

## Slide 12: Questions?