## Slide 1: Stock Tank Mixing Summer 2011
Aliya Adili, Christine Curtis, Justin Kim, Xuying Wang

## Slide 2: Introduction
  The team’s purpose: To improve stock tank mixing at AguaClara plants in Honduras.

## Slide 3: Introduction
Current mixing system (“stick mixing”) is inefficient
No way to tell when the solution is homogenized

## Slide 4: Why focus on PACl?
AguaClara plants are gradually switching to PACl.
More cost efficient than alum.
Notes: Therefore, the team is experimenting with PACl.

## Slide 5: Why focus on PACl?
Mixes more readily than alum.
Less dense than water!

## Slide 6: Two Phases to Mixing
1: The dissolution of the solid.
2: The elimination of the concentration gradient.
PACl dissolves readily, but the concentration gradient is a problem!
Notes: PACl solution more dense than water.

## Slide 7: What is a Concentration Gradient?
Most of the dissolved PACl will settle down to the bottom of the tank and create a gradient.
Result: High concentration at bottom low concentration at the top.

## Slide 8: How do we get rid of the Concentration Gradient?
Too big of a job for Molecular Diffusion
We need more energy!
We need a mixing device!
Notes: When dumping PACl granules, only molecular diffusion, no concentration gradient yet.

## Slide 9: Mixing Systems
Injecting solution to the bottom of water
Centrifugal pump
Notes: Pictures of each system

## Slide 10: The Centrifugal Pump
Why a pump?
How does it work

## Slide 11: Experiment setup

## Slide 12: Previous Design
Badly sealed
Can’t measure the height of solution coming up during the experiment

## Slide 13: New Pump
Clear PVC
Sealed better than the old one

## Slide 14: Detail of the seal parts

## Slide 15: Tell the way when done mixing
Hydrometer
Density increases, measure the density of water to tell when done mixing

## Slide 16: Results
The centrifugal pump is a good idea for mixing concentration gradient.
A satisfying flow rate could be obtained with relatively slow rotating speed.
Better sealed new pump can increase efficiency.

## Slide 17: Future Work
Centrifugal Pump
Bicycle powered pump – May be efficient for larger tanks

## Slide 18: Thank you! Questions?