pGEM Ladder Recipe

for size determination of PCR fragments

Mix in 1.5 mL tube:

| Reagent | Volume (µL) |
| --- | --- |
| ddH2O, sterile | 318.4 |
| 6x Loading Dye | 66.6 |
| pGEM Ladder | 15.0 |
| Total | 400.0 |

Multiple tubes can be prepared simultaneously.

sjr267 2017-01-17