##### pGEM Ladder for Size Determination of PCR Products

# FILE NAME: 8.1.1.1.17-pGEM.docx

TABLE OF CONTENTS

- INTRODUCTION	3

  - Purpose

  - Scope

  - Definitions

  - Safety

- MATERIALS	4

- PROCEDURE	5

- TROUBLESHOOTING	6

- REFERENCES	7

- METHOD REVIEWS & CHANGES	8

SECTION 1	INTRODUCTION

  - Purpose

The purpose of this document is to set forth standard guidelines for preparing pGEM DNA Molecular Marker.

  - Scope

This SOP applies to the Food Safety Lab and MQIP Lab.

  - Definitions

A DNA Molecular Marker (or Ladder) contain DNA fragments of varying sizes. These ladders are sometimes made from restriction enzyme digestion of plasmid DNA with a known sequence. Molecular weight markers, or ladders, are a set of standards that are used for determining the approximate size of a protein or a nucleic acid fragment run on an electrophoresis gel. These standards contain pre-determined fragment (or protein) sizes and concentrations. When the markers are loaded in adjacent lanes to samples, sample fragment or protein size and concentration estimations are easily determined.

  - Safety

SECTION 2	MATERIALS

- pGem Molecular Marker

- 6X loading dye

- Sterile ddH2O

- Pipette

- Sterile pipette tips

- Sterile microfuge tubes

- Ice bucket & ice

SECTION 3	PROCEDURES

3.1. 	Preparation of pGEM working stock

(1) Remove pGEM kit components from -20C freezer, and place on ice to thaw.

(2) Vortex the ladder and the loading dye to mix.

(3) Aliquot reagents into a sterile microfuge tube as follows:

| Reagent | Volume (µL) |
| --- | --- |
| ddH2O, sterile | 318.4 |
| 6x Loading Dye | 66.6 |
| pGEM Ladder | 15.0 |
| Total | 400.0 |

(4) Vortex to mix

(5) pGEM should be stored at 4C when not in use.

SECTION 4		TROUBLESHOOTING

Smearing of the DNA bands of the marker can occur under the following conditions:

- The DNA was degraded.

  - Avoid nuclease contamination of DNA standards.

- Too much DNA was loaded on the gel.

  - Decrease the amount of DNA in the gel.

- Improper electrophoresis conditions were used.

  - Do not allow voltage to exceed ~20 V/cm.

  - Maintain a temperature <30°C during electrophoresis.

  - Check that the electrophoresis buffer used has sufficient buffering capacity.

# SECTION 5		REFERENCES

Promega.com

# SECTION 6		METHOD VERSION & CHANGES

.

| VERSION | DATE | EDITOR | COMMENTS |
| --- | --- | --- | --- |
| Version 1 | 04/21/2020 | Ser15 | Original SOP adapted from package insert, and formatted on template. |