## Weekly Lab Audit Template
Weekly Lab Audit
TEAM: |  |  | DATE:
COMMON AREAS FOR AUDIT | Meets Requirement | Non Compliance | ACTION TAKEN/COMMENTS/FOLLOW UP NEEDED?
Q-count area: Is the bench free of clutter? Q-count covers on? Computers off?
Tissue Culture Lab (350D): Are the biosafety cabinets free of clutter? Are the lights and blowers off if not in use?
Electrophoresis area: Does the bench paper need changed? Is the bench free of clutter?
Sequencing prep bench: Are there outdated reagents? Is the counter free of clutter?
PCR Tube Racks: Are there racks to decontaminate?
Gel imaging room (350B): Does the trash need emptied? Is the counter free of clutter?
RNA room (358B): Is the bench free of clutter?
Autoclave Room (352D): Is there trash to dispose of? Are spent cultures ready to autoclave?
DNA isolation bench: Are there outdated reagents? Is the counter free of clutter?
Bioanalyzer room (352C): Is the bench free of clutter?
Computer area (354): Does the paper need to be recycled? Are the workstations tidy?
Cold rooms (354C & 354D): Is the room tidy?
Nanodrop area (354B): Are there outdated reagents? Is the counter free of clutter?
Spiral Plating Bench: Are there outdated reagents? Is the counter free of clutter?
Incubators (356C): Are there forgotten cultures present? Are cultures properly labeled?
PCR/Ribotyping/Real Time Room (356D): Are there outdated reagents? Is the bench free of clutter?
Spec room (352C): Is the bench free of clutter?
PCR prep room (358B): Is the bench free of clutter?
Package Receiving Area: Are boxes broken down? Is there stock to put away?
Freezer Room (355): Is the room tidy?
Benches: Are reagents, cultures, etc. properly labeled? Are there outdated reagents? |  |  | left notes for expired reagents/ improperly labeled items
BSL Waste: Do the bins need emptied? Does autoclaved waste need to be taken to the dumpster? Can waste be autoclaved?
Recyclables: Are boxes broken down? Does the tip box recycling need to be emptied?
Water Baths & Centrifuges: Are they clean?
Fume Hoods (350C, 352C, 354B, & 356B): Are the hoods free of clutter? Are the hood sashes closed?
REQUIRES FOLLOW UP: