Chapter 1: Ventilator Graphics and Clinical Applications

1. What are the three interdependent variables that may be manipulated by the ventilator?

Pressure

Volume

Flow

2. Label the axis for the following scalars:

3. Based on the above scalars, are you using volume-controlled or pressure-controlled ventilation?

4. What are the six stages of a normal breath cycle?  Indicate where these occur on each of the above scalars.

A. Beginning of inspiration

B. Inspiration

C. End of inspiration

D. Beginning of expiration

E. Expiration

F. End of expiration

4. You initiate volume-controlled mechanical ventilation on a 25kg dog. Your initial ventilator settings are as follows:

Tidal volume: 250ml

Respiratory frequency: 12 breaths/min

Inspiratory flow rate: 15 L/min

A. Calculate your inspiratory time:

TI= tidal volume/flow rate

= 250 ml/ 250 ml/sec = 1 second

B. Calculate you expiratory time:

TC = 60 sec/min/frequency

= 60 sec/min/12 cycles/min = 5 seconds

TE = 4 seconds

5. If you want to decrease your patient’s expiratory time, would you increase or decrease your inspiratory flow rate? Decrease

6. For the following pressure-time scalar, what mode of ventilation are you using? SIMV

7. What does the circled region indicate?

8. Your patient has adequate ventilation but an arterial blood gas indicates poor oxygenation. What ventilator strategy have you initiated? CPAP