Leptospirosis Diagnosis

Microscopic agglutination test (MAT)

- Mix serial dilutions of canine sera w/ cultured leptospira organisms of different serovars

  - Highest serum dilution resulting in 50% agglutination of leptospires in reaction

- A 4-fold change in titer supports recent infection

  - Increase in titer may be blunted by antimicrobial therapy

- Sensitivity for single MAT titer >800 for diagnosis was 22-67% and specificity was 69-100%

- Recommend acute and convalescent testing

- Negative aspects:

- Hazardous b/c need to maintain live cultures of pathogenic serovars

- Subjective interpretation, requires expertise

- Cross-contamination of serovars is likely over time

- Lack of consensus of what titer should be used as a cut-off for negative result

- Frequently negative in the first week of illness

- Falsely negative if the infecting serovar is not included in panel used to perform test

- Persistence of antibodies in subclinical infections results in positive test w/out current infections

- Does not differentiate between vaccination and infection

- serovars w/in the same serogroup will cross-react extensively

Culture

- Useful early in course of disease

- In the first 10 days of infection, blood samples are preferred as the organisms are highest there, after that organisms are highest in urine

  - If time of infection is unknown, recommendation is to test both urine and blood

- Negative aspects

  - Requires special media

  - Growth is slow (3-6 months)

  - Risks exposure to the lab technicians

  - Falsely negative if antibiotics are already instituted

Polymerase Chain Reaction (PCR)

- Useful early in the course of disease

- Considered most sensitive

- Recommended to perform on urine and blood early in course of disease to increase sensitivity

- Negative aspects:

  - No differentiation between serovars/groups

  - Falsely negative:

  - low organismal burden

  - antibiotic therapy

  - Presence of PCR inhibitors

Direct visualiation

- Darkfield microscopy

  - Lacks sensitivity and specificity

  - Not recommended anymore

- Histopathology

  - Giemsa/modified Steiner stain

  - Immunofluorescence

  - Immunohistochemistry

Leptospirosis Treatment

Supportive care

Antibiotic therapy

- Penicillins

  - If vomiting ensues

  - Ampicillin 20 mg/kg IV q 6 hr

  - PenG 25k-40k u/kg IV q12 hr

  - Dose reduced for azotemia

- Doxycycline

  - Consensus panel recommends treatment with doxy 5 mg/kg PO or IV q 12hr for 2 weeks

- Azithromycin

- Recommend for other dogs in the household to be treated with antibiotics as well

Dialysis

- Indications:

  - Inadequate urine output and volume overload

  - Hyperkalemia

  - BUN > 80 mg/dL

  - Uremia non-responsive to medical care

- More than 80% of patients that would otherwise die from uremia survive with RRT

Leptospirosis Pulmonary Hemorrhage

- Cyclophosphamide

- Plasma exchange

- No improvement with dexamethasone and desmopressin therapy

  - Kohn paper suggested attempting steroids due to possibility of immune mediated disease and humans do better with them

Diltiazem

- Suggested MOA:

  - Reversal of renal vasoconstriction with pre-glomerular dilation

  - Improved naturesis independent of

  - Reduction of creatinine 1.76 times faster with diltiazem

- No clinically relevant effect on systemic blood pressure