## Slide 1: Ventilator waveforms pp 34-48

## Slide 2: Flow-volume loops
Which direction is flow in this machine generated, normal breath?

## Slide 3: Flow-volume loops
Which direction is flow in this machine generated, normal breath?

## Slide 4: Flow-volume loops
Where is start of inspiration and start of expiration?

## Slide 5: Flow-volume loops
Where is start of inspiration and start of expiration?

## Slide 6: Flow-volume loops
Where is the peak expiratory flow rate?

## Slide 7: Flow-volume loops
Where is the peak expiratory flow rate?

## Slide 8: Flow-volume loops
What phase of respiration is altered in this flow-volume loop?

## Slide 9: Flow-volume loops
What phase of respiration is altered in this flow-volume loop?
Expiration

## Slide 10: Flow-volume loops
What is the cause of this change in expiratory flow?

## Slide 11: Flow-volume loops
What is the cause of this change in expiratory flow?
Airway obstruction
Notes: Results in a scooping of the peak expiratory flow rates

## Slide 12: Flow-Volume loops
What is the process depicted here?

## Slide 13: Flow-Volume loops
What is the process depicted here?
Air trapping

## Slide 14: Flow-volume loops: Compliance
Which represents the highest and lowest compliance?

## Slide 15: Flow-volume loops: Compliance
Light blue: highest compliance
Red: lowest compliance

## Slide 16: Flow-volume loops: Compliance
Provide an explanation of variations in expiratory flow loops in various compliances

## Slide 17: Flow-volume loops: Compliance
Increased work done whilst stretching elastic tissues in a lower compliant system is then conferred to increased elastic recoil

## Slide 18: Flow-volume loops: resistance
Which phase of respiration is affected in this diagram?

## Slide 19: Flow-volume loops: resistance
Which phase of respiration is affected in this diagram?

## Slide 20: Flow-volume loops: resistance
What is the primary process occurring here?

## Slide 21: Flow-volume loops: resistance
What is the primary process occurring here?
Increased resistance

## Slide 22: Flow-volume loops: resistance
What treatment may you try for this condition?

## Slide 23: Flow-volume loops: resistance
What treatment may you try for this condition?
Bronchodilators

## Slide 24: Flow-volume loops: resistance
What is depicted at the arrow?

## Slide 25: Flow-volume loops: resistance
What is depicted at the arrow?
Leak