## Slide 1: Ram Pump
Christine Vernon, Alex Balog, and Madeline Haas

## Slide 2: Introduction
  Ram pumps are powered by the water hammer effect
  Only require two moving parts
  Large percentage of waste
  Relatively low drive head to high delivery head
  Video!
Notes: http://www.youtube.com/watch?v=qWqDurunnK8

## Slide 3: Purpose for AguaClara
To provide plant with clean water for bathrooms and coagulant mixing

## Slide 4: Goals
Fix leaks
Improve connection to needle valve
Stabilize inlet flow
Improve waste valve
Create a mathematical model

## Slide 5: Our Ram Original Pump Set Up

## Slide 6: Our Modified Pump Set Up (for a larger flow rate)

## Slide 7: Improvements
Smaller air chamber
New needle valve
New waste valve
Stabilization system

## Slide 8: Methods
Flow rate
Weight on waste valve
Stabilize drive pipe
Priming
Monitor pressure in air chamber
Measurements on EasyData

## Slide 9: Findings So Far

## Slide 10: Findings So Far

## Slide 11: Our Ram Pump (The Movie!)
Movie!
Notes: https://www.dropbox.com/s/90blc9ztjndrixy/2013-07-03%2012.30.42.mp4

## Slide 12: Challenges
Maximum flow is low (0.151 L/s with tubes, 0.469 L/s without)
Faulty pressure sensors
Air chamber size
Leaks

## Slide 13: Future Works
More experiments
  New Set Up
Mathematical Model
Find alternative drive sources
Experiment with air chamber size
Non-visual way to determine pressure differences

## Slide 14: Questions?