## Slide 1: Ram Pump
Abby Brown, Annie Ding,
Pablo Nistal, Bari Suri

## Slide 2: What is a ram pump?
= ?????
Notes: Abby
Where used in AguaClara plants? -San Nicolas has one to supply stock tanks with clean water for making chemical solutions
Potential future usefulness of the pump- expansion to India

## Slide 3: Why do we want to use a ram pump?
Notes: This is what we want to prevent - Abby

## Slide 4: Set-up: In the Plant
Storage Tanks
AguaClara Plant
Distribution
Ram Pump
Waste water
Pumped water
Effluent
Notes: Abby

## Slide 5: Set-up: In the Plant
Honduras Video
Notes: 12:40 into the video https://www.youtube.com/watch?v=KjRkhhcRi4U - Bari

## Slide 6: Set-up: In the Lab
Notes: Bari

## Slide 7: See it in action!
Notes: Bari

## Slide 8: Overhead Drive Tank
Notes: Pablo

## Slide 9: Drive Pipe
Shorter distance between components
Longer distance between components
Notes: Pablo

## Slide 10: Waste Valve
1” vs ¾” Brass
Notes: Pablo

## Slide 11: Air Chamber
4 sizes of PVC:
9”, 12”, 15”, 25”
Notes: Pablo

## Slide 12: Head Loss System
50’ of coiled clear, flexible ½” tubing
Notes: Pablo

## Slide 13: Future Work
Head Loss System
  Only measures 2m of head loss instead of 7m!
  Potential ideas:
    Use more tubing to increase head loss
    Use the tubing we have more effectively
Experimentation
Data Analysis
Notes: Annie

## Slide 14: Questions/Comments/ Suggestions?
Notes: Annie