## Slide 1: Residuals Management
Patrick Farnham

## Slide 2: Background
What is happening now?

## Slide 3: Background
Why should we change?
  Environmental responsibility
  Expansion

## Slide 4: Point Sources
Sed/floc/entrance tank sludges
  Gelatinous Al(OH)3
SRSF backwash
Chemical waste from Cl sol’n preparation
Chemical waste from alum/PACl stock tanks

## Slide 5: Constraints
Legal restrictions
Money
Feasibility – space and materials

## Slide 6: Disposal Standards
10 States, EPA, WHO, etc.
  Very vague
  Clear on toxics
  Not clear on innocuous sludge

## Slide 7: Affordability
Sludge disposal methods
  Thickening, conditioning, incineration = $$
  Need to focus on dewatering
    Uses gravity, not electricity

## Slide 8: Affordability - Dewatering
Lagoons and drying beds (x2)
  Excavation (initial and solids removal)
  Concrete, underdrains, decanters, liners, gravel

## Slide 9: Feasibility
How much space is required?
Topography?
Soil composition?
  Perc test

## Slide 10: Alum Sludge Problems
Dewaters very poorly – 1% to maybe 10%
Lack of freeze/thaw
Incident rainfall
We wish.

## Slide 11: Alternative Methods
Irrigation
  Previous studies
    IL and CT
  Limits available P
Dispersal
  Should limit erosion
  Attempt to encourage percolation

## Slide 12: Additional Waste Streams
CaCO3 precipitate
  Any other components?
Large flows from plant bypass/failure
  400 NTU (bypass), 20 NTU (failure)
Chemical waste from Alum/PACl stock tanks

## Slide 13: What’s Next
Estimate flow rates of sludge
  Info from Sarah Long (frequency, composition)
Learn more about PACl (before switch)
  More sludge?
  Chris Bordlemay and
  Po-Hsun Lin

## Slide 14: Q&A