## Slide 1: Tube Flocculator
Huifei Wu
Danhong Luo

## Slide 2: Outline
Overview
  Apparatus
Research Topic
  Hypothesis
  Method
  Result & Discussion
Future Work

## Slide 3: Overview
Why Flocculation?
  transforms tiny particles in raw water into big particles
  Make particles easy to separate from water
What coagulant? PACl
  High efficiency & Lower cost
Our Goal?
  Develop a fundamental understanding of flocculation
  Optimize flocculator design in AguaClara facilities

## Slide 4: Overview
Why Flocculation?
  transforms tiny particles in raw water into big particles.
  Make particles easy to separate from water.
What coagulant? PACl
  High efficiency & Lower cost
Our Goal?
  Develop a fundamental understanding of flocculation.
  Optimize flocculator design in AguaClara facilities.

## Slide 5: Research Topic
Study the effect of ionic strength on the coagulation performance
  Ionic strength: measurement of ion concentration in a solution

## Slide 6: Apparatus
Raw Water
NaNO3
Na2CO3
PACl
Clay
Rapid Mix
All chemicals mixed here
pH Measurement
Tube Flocculation
Turbidity
Measurement

## Slide 7: Hypothesis
PACl Working Mechanism
  Electro-static Patch
  Charge Neutralization
  Bridge Aggregation
Ionic Strength
  Debye Length Theory

## Slide 8: Electro-static Patch
Clay
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
PACl
+
+
+
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+

## Slide 9: Electro-static Patch
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
+
+
+
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
Electro-static Patch
When particle is big enough, gravity makes sedimentation

## Slide 10: Charge Neutralization
PACl
Clay
+
+
+
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
Lower Charge Clay
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
Lower Charge Clay
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
Lower Charge Clay
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+

## Slide 11: Bridge Aggregation
Similar to electro-static patch
  Electro-static Patch: Charge matters
  Bridge Aggregation: Particle size matters
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-

## Slide 12: Ionic Strength
Measurement of ion concentration in a solution
Calculation:

## Slide 13: Debye Length Theory
Debye length: the distance over which significant charge separation can occur.
  Calculation:
  :charge separation occurs
  : charges are screened

## Slide 14: Debye Length Theory

## Slide 15: What we are doing now?

## Slide 16: Jar test
To find the dosage proportion of Na2CO3 and PACl to maintain the pH at 7.5.
To find the relationship between the experimental ionic strength and theoretical ionic strength.
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 7.5 | 8 | 9 | 10 | 11 | 12 | 13 | 14
PACl Solubility | 0.9 | 0.75 | 0.64 | 0.58 | 0.52 | 0.41 | 0.38 | 0.31 | 0.54 | 0.61 | 0.66 | 0.71 | 0.81 | 0.87 | 0.95

## Slide 17: Method
Running Condition |  |  |  | 
Ionic Strength | 0.5 | 1 | 5 | 10
Influent Turbidity | 15 | 50 | 100 | 150
Coagulant Dose | 1 | 2 | 3 | 4
Chemical & Function | 
Na2CO3 | Keep pH=7.5
Clay | Get target turbidity
NaNO3 | Get target ionic strength
Record
Na2CO3
Final Conductivity

## Slide 18: Result & Discussion
Theoretically, it should have a linear relationship.
R square shows that the linear equations do not fit very well.
More work need to be done.
Chart: Na2CO3 and PACl dosage to Keep pH=7.5
| 1.0048499999999998 | 2.0096999999999987 | 2.9798999999999984 | 4.0193999999999992
NTU=15 | 24.9 | 22.2 | 23.1 | 37.2
NTU=50 | 21 | 21.9 | 24.6 | 39
NTU=100 | 24.6 | 23.7 | 27 | 38.7
NTU=150 | 24 | 24.3 | 28.5 | 37.5

## Slide 19: Result & Discussion
Chart: PACl Dosage=1mg/L Al
| 72.7 | 153 | 678 | 1210
NTU=15 | 0.358 | 1.005 | 5.723 | 10.606
NTU=50 | 0.302 | 0.972 | 4.62 | 9.797
NTU=100 | 0.353 | 1.036 | 4.801 | 9.66
NTU=150 | 0.332 | 0.98 | 4.979 | 9.862
Chart: PACl Dosage=3mg/L Al
| 83 | 162 | 655 | 1210
NTU=15 | 0.332 | 0.991 | 5.097 | 9.98
NTU=50 | 0.353 | 0.942 | 5.001 | 9.825
NTU=100 | 0.388 | 1.035 | 5.129 | 9.953
NTU=150 | 0.405 | 1.021 | 5.076 | 9.923
Chart: PACl Dosage=2mg/L Al
| 81.8 | 157 | 607 | 1150
NTU=150 | 0.34 | 1.031 | 5.082 | 9.93
NTU=15 | 0.319 | 0.978 | 4.967 | 9.791
NTU=50 | 0.315 | 0.985 | 5.162 | 9.857
NTU=100 | 0.332 | 1.023 | 5.074 | 9.874
Chart: PACl Dosage=4mg/L Al
| 132 | 206 | 588 | 1130
NTU=15 | 0.525 | 1.192 | 5.169 | 10.028
NTU=50 | 0.55 | 1.265 | 5.254 | 10.137
NTU=100 | 0.546 | 1.237 | 5.355 | 10.238
NTU=150 | 0.529 | 1.22 | 5.315 | 10.197
The Clay dosage has little influence to the conductivity.
Relationship:

## Slide 20: Result & Discussion
The PACl dosage has little influence to the conductivity.
Relationship:
Chart: Influence Turbidity= 15 NTU
| 72.7 | 153 | 678 | 1210
PACl Dosage=1gm/L | 0.358 | 1.005 | 5.723 | 10.606
PACl Dosage=2gm/L | 0.319 | 0.978 | 4.967 | 9.791
PACl Dosage=3gm/L | 0.332 | 0.991 | 5.097 | 9.98
PACl Dosage=4gm/L | 0.525 | 1.192 | 5.169 | 10.028
Chart: Influence Turbidity= 50 NTU
| 78.2 | 159 | 739 | 1210
PACl Dosage=1gm/L | 0.302 | 0.972 | 4.62 | 9.797
PACl Dosage=2gm/L | 0.315 | 0.985 | 5.162 | 9.857
PACl Dosage=3gm/L | 0.353 | 0.942 | 5.001 | 9.825
PACl Dosage=4gm/L | 0.55 | 1.265 | 5.254 | 10.137
Chart: Influence Turbidity=100NTU
| 81 | 178 | 606 | 1150
PACl Dosage=1gm/L | 0.353 | 1.036 | 4.801 | 9.66
PACl Dosage=2gm/L | 0.332 | 1.023 | 5.074 | 9.874
PACl Dosage=3gm/L | 0.388 | 1.035 | 5.129 | 9.953
PACl Dosage=4gm/L | 0.546 | 1.237 | 5.355 | 10.238
Chart: Influence Turbidity= 150 NTU
| 75.7 | 152 | 570 | 1150
PACl Dosage=1gm/L | 0.332 | 0.98 | 4.979 | 9.862
PACl Dosage=2gm/L | 0.34 | 1.031 | 5.082 | 9.93
PACl Dosage=3gm/L | 0.405 | 1.021 | 5.076 | 9.923
PACl Dosage=4gm/L | 0.529 | 1.22 | 5.315 | 10.197

## Slide 21: Future Work
Run in the Tube Floc model

## Slide 22: Questions