## Slide 1: Stacked Rapid Sand Filtration Bench Scale
Huifei Wu
Danhong Luo
Weiling Xu

## Slide 2: Outline
Introduction
Self-healing study
Depth filter study
Energy dissipation rate study
Future work
Notes:   Setup of the experiment
  Tests that we have run: results/discussion
  Combined all the results: energy dissipation rate vs. performance

## Slide 3: Introduction
Goal
Improve the performance of stacked rapid sand filtration
Understand the filtration process
especially the hydraulics characteristics
Notes: possibility to scale it according to the needs in the field, having a clearer understanding behind the filtration process, especially what are the hydraulics characteristics if different sand grains are implemented, is an important step.

## Slide 4: Introduction
Self – healing study
Assume even flow distribution
Depth filter study
surface removal effect
Energy dissipation rate study
  Study how flocculation performance affects filters

## Slide 5: Self – healing Study
Setup
Filtration Mode

## Slide 6: Self – healing Study
Backwash Mode
Setup

## Slide 7: Self – healing Study
Even flow distribution CAN’T be controlled by sand bed, flow rate distribute unevenly

## Slide 8: Self – healing Study
Even flow distribution CAN’T be controlled by sand bed, flow rate distribute unevenly
Head loss increase crazy

## Slide 9: Self – healing Study
Even flow distribution CAN’T be controlled by sand bed, flow rate distribute unevenly
Head loss increase crazy
Clay particles accumulated at sand bed surface

## Slide 10: Depth Filter Study
Setup

## Slide 11: Depth Filter Study
Surface removal dominated at previous study

## Slide 12: Energy Dissipation Rate Study
Goal
  To test how does different energy dissipation rate will affect the filter performance
Methods
  Needle valve:
    control orifice diameter
    control the energy dissipation rate
  Different levels of opening of the valve

## Slide 13: Energy Dissipation Rate Study
Setup

## Slide 14
Equations
Energy Dissipation Rate Study

## Slide 15
Valve open to maximum:
Energy Dissipation Rate Study
Chart: Turbidity
Chart: Needle valve head loss (cm)

## Slide 16
Valve open to 3/4:
Energy Dissipation Rate Study
Chart: Turbidity
Chart: 

## Slide 17
Valve open to 1/2:
Energy Dissipation Rate Study
Chart: Turbidity
Chart: 

## Slide 18
Valve open to Minimum
Energy Dissipation Rate Study
Chart: Turbidity
Chart: Needle valve head loss (cm)

## Slide 19
Chart: Energy Dissipation Rate vs. Performance
| 9.7146970000000011E-4 | 9.8405480000000032E-4 | 1.0395427999999999E-3 | 1.0700774000000001E-3 | 9.5566650000000026E-4 | 9.4948960000000029E-4 | 9.4917210000000001E-4 | 9.4701580000000022E-4 | 9.468892000000002E-4 | 9.4755050000000062E-4 | 9.4654080000000044E-4 | 9.3867970000000034E-4 | 9.3867970000000034E-4
 | 0.58756 | 0.53445 | 0.403 | 0.35856 | 0.67851 | 0.74525 | 0.74443 | 0.40664 | 0.40888 | 0.34536 | 0.40467 | 0.43483 | 0.44349
Energy Dissipation Rate Study

## Slide 20: Conclusion
Filter performance is not as good compared to previous one.
Energy dissipation rate does influence the pC*.

## Slide 21: Future Work
Continue on energy dissipation rates study
  Setup improvement
  Flow rate control
  Find the optimal point
  More trials
Chart: Energy Dissipation Rate vs. Performance
| 9.7146970000000011E-4 | 9.8405480000000032E-4 | 1.0395427999999999E-3 | 1.0700774000000001E-3 | 9.5566650000000026E-4 | 9.4948960000000029E-4 | 9.4917210000000001E-4 | 9.4701580000000022E-4 | 9.468892000000002E-4 | 9.4755050000000062E-4 | 9.4654080000000044E-4 | 9.3867970000000034E-4 | 9.3867970000000034E-4
 | 0.58756 | 0.53445 | 0.403 | 0.35856 | 0.67851 | 0.74525 | 0.74443 | 0.40664 | 0.40888 | 0.34536 | 0.40467 | 0.43483 | 0.44349

## Slide 22: Thanks
Questions???