## Slide 1: Turbulent Tube Flocculator
Felice Chan, Mingze Niu, William Pennock

## Slide 2: Turbulent Tube Flocculator
Project Goals
Current Flocculator
Developments
Testing
Future Work
Notes: Felice

## Slide 3: Project Goals
Determine how turbulent flow affects flocculation
Semester goals: Prepare flocculator for experimentation
Notes:   Felice
  Improve structure of apparatus
  Add flow control
  Add air drains
  Update process controller method file

## Slide 4: Turbulent Tube Flocculator
Project Goals
Current Flocculator
Developments
Testing
Future Work

## Slide 5
Notes: Felice

## Slide 6: How it Works
Notes: Felice

## Slide 7: Turbulent Tube Flocculator
Project Goals
Current Flocculator
Developments
Experiments
Future Work

## Slide 8: SWaT Improvements
Need to keep SWaT at constant 60 degrees
Before:
After:
Before:
After:
Notes: Mingze

## Slide 9: Air Drain
Notes: Mingze

## Slide 10: Flow Control System
Δh
Notes: William

## Slide 11: Diffuser System
Notes: William

## Slide 12: Process Controller
Notes: William

## Slide 13: Turbulent Tube Flocculator
Project Goals
Current Flocculator
Developments
Testing
Future Work
Notes: Mingze

## Slide 14: Pulse Input Tracer Test
Red Dye Test: 10 mL of 10 g/L red dye solution into entrance orifice.
Clay Test: 30 mL of 10 g/L clay suspension
  Experimentally: θ = 8 minutes, 30 seconds
Notes: Mingze

## Slide 15: Exit Age Distribution
Notes: Felice

## Slide 16: Residence Time Distribution
Pulse input tracer test
  Pe ≈ 4.13
Notes: Felice

## Slide 17: Turbulent Tube Flocculator
Project Goals
Current Flocculator
Developments
Testing
Future Work
Notes: Mingze

## Slide 18: Future Work
Vary:
  Influent turbidity: 5, 15, 50, 150, 500 NTU
  Coagulant dose: Varies by turbidity
  Capture velocity: 0.06, 0.12, 0.25, 0.5, 1.0 mm/s
Develop turbulent flocculation model
Notes: William

## Slide 19: Questions?
Notes: <3