## Slide 1: Turbulent Tube Flocculator
Felice Chan, Mingze Niu, William Pennock

## Slide 2
Background
Previous Work and Semester Goals
Apparatus Updates
Future Goals
Notes: William

## Slide 3: Background
Notes: William

## Slide 4: Background
Turbulence
Notes: William

## Slide 5
Background
Previous Work and Semester Goals
Apparatus Updates
Future Goals
Notes: Felice

## Slide 6: Previous Teams
Summer 2013: Designed Flocculator
Fall 2013: Construction of Flocculator
Spring/Summer 2014: Modifications to apparatus
Notes: Felice

## Slide 7: Semester Goals
Modify apparatus
Improve method file
Experiments!
Figure : Flocculator from Spring 2014
Notes: Felice
  Test system performance
  Test with range of influent turbidities and coagulant doses.
  Vary capture velocity in tube settler

## Slide 8
Background
Previous Work and Semester Goals
Apparatus Updates
Future Goals
Notes: Felice

## Slide 9: Process Controller Updates
Incorporated “Water Temperature-Depth Control” function into method file.
  Monitors temperature and depth of water in head tank in one state.
  Matches water temperature to air temperature
Notes: Felice
matches the water temperature to the air temperature in the room to prevent density currents in the tube settler

## Slide 10
Notes: Felice

## Slide 11: Apparatus Changes
Notes: Mingze
introduction: make changes to apparatus

## Slide 12: SWaT Updates
Need to keep SWaT at constant 60 degrees
Before:
After:
Notes: Mingze
add slider adjustable and also more stable ziptie, 60 degree mathcad check correct

## Slide 13: Air Release
Minimum height of air release = height of water in constant head tank
Notes: Mingze
add air release, before swat get air out of it, keep particle stays settle and keep air bubble from coming into turbidity meter, constant head tank

## Slide 14: Effluent Drain
Notes: Mingze
90 degree pipe into pic, adjustable height meet flow rate we want, tube is flexible, free fall right means difference between tee and tank, determine flow rate

## Slide 15: Effluent Drain
Notes: Mingze
picture, detail

## Slide 16
Background
Previous Work and Semester Goals
Apparatus Updates
Future Goals
Notes: William

## Slide 17: PID Control System
Improve the PID control for influent turbidity
http://www.ni.com/white-paper/3782/en/
Notes: William

## Slide 18: Experiments
Vary:
  Influent turbidity: 5, 15, 50, 150, 500 NTU
  Coagulant dose: Varies by turbidity
  Capture velocity: 0.06, 0.12, 0.25, 0.5, 1.0 mm/s
Notes: William

## Slide 19: Questions?
Notes: William