## Slide 1: Turbulent Tube Flocculator
Felice Chan, Ana Oliveira,
Stephen Jacobs, Jon Christensen

## Slide 2: Project Goals
Design, build, and test a lab scale turbulent tube flocculator
Parameters:
  Raw water turbidity
  Coagulant
  Flow rate
  Effluent turbidity

## Slide 3: Turbulent vs. Laminar Flow

## Slide 4: Design from Summer 2013
Parameter | Dimension
Inner Diameter of Tube | 1.25 in
Diameter | 0.614 m
Number of Coils | 30
Constricted Height | 1.464m
Residence Time | 7.546 min
Energy Dissipation Rate | 30 mW/kg
Collision Potential | 100m^2/3

## Slide 5: Flocculator Design

## Slide 6: 3D Model

## Slide 7: Base and Structure
Notes: Problem: Supporting Flocculator (tipping)
Solution: 2x4s
Bottom: 30’’x30’’x1’’
Top: Circular, 0.50’’ thick

## Slide 8: Drilling PVC/Metal

## Slide 9: Flexible Tubing
Wrapped around the inner ring of PVC
Thin copper tubing used for connections and secured with hose clamps

## Slide 10: Assembling the Flocculator
Bolt outer ring of PVC
Adjust constriction
Space out and correct bends in flexible tubing

## Slide 11: Current Flocculator
Apparatus built
Initial tests performed
  Air bubbles
  Leaking

## Slide 12: Additional Assembly
Head tank
Coagulant stock
Rapid mix unit
Tube settler
Downstream data collection

## Slide 13: Current Problems
Kinks/bends in tubing
Emptying flocculator
  Potential Solution: tank at end with centrifugal pump to sink
Air bubbles
  Potential Solution: do not constrict tubes until flocculator is full with water

## Slide 14: Future Work
Process Controller
  Flow Rate
  Coagulant Dose
  Turbidimeter data
  Calibrate turbidimeters
Run experiments!

## Slide 15: Future Experiments
Control temperature, pressure and influent turbidity
Measure effluent turbidity, floc size distribution, and pC*
Varying coagulant dose and constrictions
Notes: Floc Breakup Theory
Laminar vs Turbulent differences

## Slide 16: Potential Conclusions
Test current flocculation models
Floc breakup theory
  Grow flocs big?
  or break them up periodically?
Notes: Optimize floc size for pC* (what conditions remove the most colloids from solution?). A high energy dissipation rate is expected to increase collision frequency, creating larger flocs more quickly, but can also break up large flocs in the process. Ideally, the flocs would be less than the maximum (terminal) size reached in the flocculator so that they can grow by capturing other colloidal particles in the water, but not too small as to increase the residual turbidity of the water.

## Slide 17: Questions?