## Slide 1: Turbulent Tube Flocculator
Felice Chan, Ana Oliveira,
Stephen Jacobs, Jon Christensen
Notes: Stephen

## Slide 2
Project Goals
Current Flocculator
Developments
Problems
Future Work

## Slide 3: Project Goals
Design, build, and test a lab scale turbulent tube flocculator
Utilize SWaT to settle flocs and measure effluent turbidity
Better understand flocculation processes
Notes: Felice

## Slide 4: Anticipated Experiments
Floc break up theory
Notes: Jon

## Slide 5
Project Goals
Current Flocculator
Developments
Problems
Future Work

## Slide 6: Current Set up
Notes: Ana

## Slide 7: Current Flocculator
Notes: Ana

## Slide 8
Project Goals
Current Flocculator
Developments
Problems
Future Work
Notes: Stephen

## Slide 9: Hot/Cold Water Lines
Notes: Stephen

## Slide 10: Head Tank Tower
Clay mix tank/pinch valve
Head tank
Hot/cold solenoid valves
Influent turbidity loop
Sensors:
  Temperature
  Pressure
Notes: Stephen

## Slide 11: Rapid Mix Module
Notes: Felice

## Slide 12: Settled Water Turbidity (SWaT)
Notes: Felice

## Slide 13: SWaT Dimensions
Parameter | Value
Length | 86 cm
Inner Diameter | 1.049 in
Angle | 60°
Capture Velocity | 0.12 mm/s
Flow rate | 1.002 mL/s
Notes: Felice

## Slide 14: Process Controller
Preliminary program finished
Measures:
  Pressure of head tank
  Temperature
  Turbidity
Controls pinch valve, solenoid valves, pumps
Notes: Jon

## Slide 15
Project Goals
Current Flocculator
Developments
Problems
Future Work

## Slide 16: Current Problems
Problem:
Air bubbles/gaps
Causes:
Local high/low points
Shallow grade
Notes: Stephen

## Slide 17: Our Solution
Empty flocculator
Loosen the outer compressors
Fill up flocculator
Tighten the outer compressors
Problem: time consuming, not completely effective, does not remove small bubbles
Notes: Stephen

## Slide 18: Any Suggestions? Discuss.

## Slide 19
Project Goals
Current Flocculator
Developments
Problems
Future Work

## Slide 20: Future Work: Fabrication
Design structure to keep angle of SWaT constant
Finish making the rapid mix unit with coagulant needle insertion
Notes: Ana

## Slide 21: Future Work (cont.)
Problem:
Emptying the flocculator
Solution:
Fabricate outlet from rapid mix unit to a pump to the sink
Notes: Ana

## Slide 22: Future Work (cont.)
Finish process controller programming
Bug test process controller
Run experiments
Design the fluidized bed flocculator
Notes: Jon

## Slide 23: Questions