## Slide 1: Low Flow Stacked Rapid Sand Filter
Kris, Nadia, Mihir, Rachel

## Slide 2
Slotted Manifolds
Increase surface area of the connections
1” to ½” center branch diameter
Notes: Still need to put caps on. Rachel

## Slide 3: Sand Drain
Height constraints
Excel model for computations
Notes: Rachel

## Slide 4: Sand Drain
Trigonometric Equations
Notes: Rachel

## Slide 5: EPA – Small Scale LFSRSF
Design Considerations
  Depth and no. of layers are same as full scale
  Transparency
  Volume of water  minimize diameter
  Fluidization velocity
  Major (and minor) head losses – filtration & backwash
  Scale down of manifolds
Notes: Mihir

## Slide 6: EPA – Small Scale LFSRSF
Filter Construction
  Slotted manifolds
  Inlet/Outlet connections – push-to-connects
  Bottom and top caps
Frame Construction
  80/20 inverted T
  Constant Head Tank – Hydraulic Testing
    LFOM or no LFOM
    Overflow
Notes: Kris

## Slide 7: EPA – Small Scale LFSRSF
The EPA P3 Competition
  2 judging sessions
  2nd place for ASCE Sustainability Development Award
  2 interviews - ASCE and AAAS
  Other projects dealing with drinking water treatment
Notes:   (American Association for the Advancement of Science)
Nadia

## Slide 8: Future Work
Test manifolds
Construct and test sand drain
Rebuild lab filter
Ease of operation
Ease of construction
Operator manual with Spanish translation
Notes: Nadia

## Slide 9: Acknowledgements
Sir Paul Charles

## Slide 10: Demo