##### Assignment of rpoB allelic types for Bacillales isolates

# FILE NAME: rpoB_Database_Management.doc

# Authored by: A. Andrus

## Last Modified on: 10/19/2015

## by David Kent

Approved by: Martin Wiedmann

EFFECTIVE DATE:  Date of Approval

APPROVED BY:

_______________________________________		_______________________

Dr. Martin Wiedmann							       (date)

AUTHORED BY:

_______________________________________		_______________________

Alexis Andrus						                               (date)

Figure 1: Flow Chart of steps needed to provide isolate with a new rpoB sequence type number (AT number) and Genus/species identification.

TABLE OF CONTENTS

- INTRODUCTION	4

  - Purpose

  - Scope

  - Definitions

- MATERIALS	5

- PROCEDURE	6-15

- Confirming New rpoB Allelic Types Using Food Microbe Tracker, BioEdit, or USEARCH

- Using Mesquite, RAxMLGUI, and Fig Tree to Further Confirm Novelty of and Determine Clade Clustering of New rpoB Allelic Types

- Assigning Genus/species identifications to New rpoB Allelic Types

- Updating Database Files/Records

- Periodic database clean-up

- TROUBLESHOOTING						        16

- REFERENCES	17

APPENDICES

- Alternative Search Tools

- Species Complexes

SECTION 1	INTRODUCTION

  - Purpose

- To identify novel rpoB sequence allelic types (AT) of bacteria isolated in the Milk Quality Improvement Program (MQIP) and Food Safety Laboratory (FSL).

b.  To provide detailed instructions for assigning new allelic types, managing, and updating the rpoB database.

  - Scope

This SOP applies to the MQIP and the FSL.

  - Definitions

AT: allelic type; defined as one specific DNA sequence within a gene, in this case a 632 nucleotide region of the rpoB gene in Bacilleaceae

bp: base pair

BLAST: Basic Local Alignment Sequence Tool

Consensus: a single sequence derived from a set of overlapping DNA segments originating from one genetic source

FMT: Food Microbe Tracker; WWW-based tool for information exchange on bacterial subtypes and strains, containing a large amount of bacterial gene information

PCR: Polymerase Chain Reaction, used to amplify a specific region within a DNA sequence.

Percentage sequence identity: proportion of identical nucleotides between two sequences multiplied by 100.

Phylogeny – The evolutionary history of taxonomic groups.

16S rRNA: 16S ribosomal ribonucleic acid, a RNA component of the 30S small subunit of prokaryotic ribosomes

rpoB: RNA polymerase beta subunit

SECTION 2	MATERIALS

- Computer with multicore processor

- Partial rpoB gene sequences: From PCR products of isolates; sequences are obtained after PCR products are sent to the BRC facility (Biotechnology Research Center). Raw data files are in .ab1 format and edited consensus sequences are saved as .fas files

- Internet Access:  For accessing Food Microbe Tracker and Ribosomal Database Project

- Mesquite:  Evolutionary biology software that can be used to make alignments.  Can be downloaded at: http://mesquiteproject.org/mesquite/download/download.html. Mesquite is used in Section 3.2 for use in database management and multiple sequence alignments.

- Muscle:  Multiple-alignment algorithm and program. It can be downloaded at: http://www.drive5.com/muscle/downloads.htm. It must be inputted into Mesquite during your first use of the program. Muscle is used with Mesquite in Section 3.2 for database management.

- RaxML:  Algorithm and program used to create phylogenetic trees based on maximum likelihood and bootstrapping.  RaxML GUI is the graphical user interface version of RaxML:  https://sites.google.com/site/raxmlgui/.

- rpoB FASTA file:  File that is kept up to date with rpoB allelic typing entries, which is subsequently used to create phylogenetic trees, only to be updated by database managers

- rpoB Access database:  Comprehensive database containing representative ATs, FSL number, genus/species, date added, initials of person who added them, and any relevant notes.  This will be managed and updated by Dave Kent as of 11/7/2014.

- FigTree:  Program (http://tree.bio.ed.ac.uk/software/figtree/) used to view phylogenetic tree files, used in conjunction with RaxML

- BioEdit:  Biological sequence alignment editor that can be used for blasting

- USEARCH:  Program used for sequence analysis including blasting

SECTION 3	PROCEDURES

  - Confirming New rpoB Allelic Types Using Food Microbe Tracker, BioEdit, or USEARCH

Monthly or bi-weekly, collect rpoB sequences that have been sent by individuals in the lab working on rpoB gene sequencing. [They will have sent an email to the rpoB database manager and should have added raw and consensus (final) sequence data to \\cornell.edu\ag\FOOD\FOOD-MQIP\rpoB database\Possible new ATs.].

Confirm the new rpoB ATs by BLASTing the sequence against the current rpoB AT database as described in 3.1.1.  Users who submitted the potentially new rpoB allelic type should have checked to make sure the single nucleotide polymorphism(s) are legitimate in Sequencher, but the database manager must also confirm the SNPs in the raw files.

3.1.1	Introduction

In order to confirm new allelic types, search each new sequence against the rpoB database in Food Microbe Tracker. The “Search By DNA Sequence” feature uses the BLAST algorithm to search a given sequence (query) against a database (the rpoB AT database), and returns the existing ATs with the best possible alignments to the provided query sequence. By doing this search, you will confirm that the existing AT with the best possible alignment is not a 100% match, and hence that the query sequence is a new allelic type. In extreme circumstances with many new ATs, the Food Microbe Tracker search tool may be difficult to use, and USEARCH (see Appendix B) may be used instead.

3.1.2	Using Food Microbe Tracker:

- Obtain edited(final) rpoB sequence data (CreatingConsensusDNA.doc). These sequences should be minimally 632bp in length, but are often longer.

- Open website for Food Microbe Tracker: http://www.foodmicrobetracker.com

  - Log-in, or request account for Log-in.

- In Food Microbe Tracker (FMT), on the left-hand side of the main page, under “Search By”, click on “DNA Sequence”.

  - Once on this page use the pull-down menus to adjust your search parameters:

    - “Number of Results”, default=10, you may wish to increase/decrease this.

    - “Genus”, default=Unspecified, leave this.

    - “Species”, default=Unspecified, leave this.

    - “Sequence Type”, default=Unspecified, this must be changed to “rpoB allelic typing” in the pull-down menu.

- Open the rpoB consensus (final) sequence file (.fas) you wish to find an allelic type for. This can be done in either Notepad or Sequencher.

- Cut and paste your rpoB sequence into the space labeled “Enter DNA sequence”.

- Click Submit.

  - Once your results page (“Search Results from DNA Sequence Search”) has loaded choose on the first Alignment file by clicking on “See Report” in red.

- When new page/tab has appeared click to view it and review some key details:

  - “Identities”, this should read 632/632 (100%) for a 100% allelic type match, and less than 100% for unique AT sequences.

  - “Sbjct”, which is the rpoB allelic typing sequence your entered “Query” is being compared to, should start at 1 and end at 632. (See Troubleshooting section for sequences showing all nucleotides 1 through 635bp, or 635 bp total).

  - Less than a 100% match (out of 632bp) for “Identities” indicates a potential new rpoB allelic type.

3.2	Using Mesquite, RAxMLGUI, and Fig Tree to Determine Clade Clustering of New rpoB Allelic Types

After new rpoB allelic types have been confirmed using Food Microbe Tracker, further analysis is needed to determine clade clustering.

3.2.1 – Assembling Alignments Using Mesquite

Mesquite is free software for PCs, Macs, and Linux systems.  Use Mesquite to make an alignment of old and new rpoB sequences.  If downloading Mesquite 3.0, use the 2 GB version.  On some computers, an error prevents the user from running Mesquite 2GB.  If this occurs, run the 1GB version.  After downloading Mesquite, download the algorithm Muscle.  Remember where the muscle file lives.   Muscle contains the set of commands that dictates how the alignment is assembled.

- After downloading Mesquite, open the program and then open the existing rpoB database file from within the program.  The default file format for Mesquite is nexus.  However, you can just as easily import other file types, including fasta, and the program will prompt you to save in nexus format upon import.

- Select Show Matrix.  Taxa will be at the left of the Character Matrix and accompanying sequence to the right.  Additional rpoB files can be added to the Character Matrix by drag and drop or by selecting File Incorporation → Merge Taxa & Matrices → select file type → Fuse with Selected Taxa Block → Fuse with Selected Matrix.  If using drag and drop, drop new rpoB file(s) at the bottom of the Character Matrix.  This keeps any new Allelic Types (ATs) in sequential order even though taxa can be moved around.

- To create alignment select Edit → Select all → Matrix → Align Multiple Sequences → Muscle Align → do not run on separate thread → locate muscle file → ok . The process isn’t instantaneous so there will be some waiting for the alignment to finish.

- Scroll through the alignment and check new sequences for deletions or insertions.  If any of these are present, they will need to be confirmed in the chromatogram (can be viewed in Sequencher) before moving forward.  Trim off excess sequence from each end of the alignment by holding down shift and clicking the outer blocks of the area to be deleted (Numbers at the top of the alignment can be selected to trim multiple sequences at one time).  Once selected, select Edit → Cut to selected entries.

- Now save the alignment as an aligned FASTA file by going to File → Menu, selecting “FASTA (DNA/RNA)”, and then select the “include gaps” checkbox, ensuring that no other checkboxes are selected. Click “Export,” and name the file “rpoBdatabaseYYYYmmdd.afa”. Place this file in \\cornell.edu\ag\FOOD\FOOD-MQIP\rpoB database\Current database file, and move the old FASTA file to \\cornell.edu\ag\FOOD\FOOD-MQIP\rpoB database\Archived database files.  It is the new master database file.

3.2.2	Constructing Phylogenetic Trees Using RAxMLGUI

- Download raxmlGUI to construct a phylogenetic tree.  For users more familiar with the command prompt, RAxML can be installed and used instead.  raxmlGUI also requires that Python 2.5-2.7 be installed.  raxmlGUI is not compatible with Python 3.0 (as of September 2014).  Open raxmlGUI and load alignment that was exported from Mesquite in Phylip format.  RaxMLGUI will display a message ‘RAxML found at least 1 sequence that is exactly identical to other sequences and/or gap-only characters in the alignment. Do you want to exclude it/them from the analysis?’, select ‘No’.  Make sure ML + rapid bootstrap is selected and set reps. to a minimum of 100.  All other parameters can be left at the default.  Select Run RAxML.  The run can take a while so it is best to work on something else during this time.

- RaxmlGUI will generate multiple output files in the folder/directory the alignment was loaded from: (1) the best-scoring ML tree ‘RAxML_bestTree.YOUR_FILE_NAME.tre, (2) Best-scoring ML tree with bootstrap support values ‘RAxML_bipartitions.YOUR_FILE_NAME.tre, (3) Best-scoring ML tree with bootstrap support values as branch labels ‘RAxML_bipartitionsBranchLabels. YOUR_FILE_NAME.tre’, (4) Program execution info ‘RAxML_info. YOUR_FILE_NAME.tre’, (5) All 100 bootstrapped trees ‘RAxML_bootstrap. YOUR_FILE_NAME.tre, (6) a phylip formatted file with all unique sequences ‘YOUR_FILE_NAME.reduced’, and (7) a file listing which sequences are identical to other sequences in the original file ‘RAxML_info”. The last two files are important for further analyses. The “.reduced” file will contain only unique rpoB sequences.  Therefore, this file will only contain existing representative ATs and any representative new ATs.  The “reduced” and “info” files can be used to identify a representative new allelic type and determine identical sequences.

- To view the tree created by RAxML, open the file named RAxML_bipartitions.filename in Fig Tree or another tree viewing program.  Type bootstrap in the text field when prompted to select a name for the node/branches.

- Zoom in to find new isolates in the tree and observe what species they cluster with.  It can be determined whether any of your isolates are duplicates as in the “RAxML_info” file.  These isolates will be next to one another on the same branch.  The two isolates in the left picture below are right next to each other but are different ATs because each isolate has its own branch.  The picture on the right shows an example of multiple identical isolates.  Be careful when viewing the tree.  If a group of isolates share the same vertical branch as depicted in the right picture, but are separated by nodes, they are still identical to each other.

3.3	Assigning Genus/species identifications to new rpoB allelic types

Background: Identification of the genus/species associated with a new rpoB allelic type will first be attempted by rpoB sequence analysis (section 3.3.1 below); if these data do not allow for unambiguous assignment, 16S rDNA sequence data will be generated for the isolate with a given “new” rpoB AT and these 16S data will be used to assign the genus/species of the new rpoB AT, using the RDP database (see section 3.3.1 below).

3.3.1 rpoB sequence analysis of a new rpoB AT.

If a new rpoB allelic type clusters in the rpoB ML tree (see section 3.2 on how to produce a rpoB ML tree with RAxML) with a previously named/identified cluster of isolates with a bootstrap support ≥ 70.0%, and shows ≥97.0% nt BLAST identity to an existing sequence (over the whole 632 nt) in the database, the genus/species name of existing isolate is given to the new AT. Numbers will not be rounded to determine whether they meet cut-off (e.g., if bootstrap support is 69.999%, it will have not passed the threshold even though it could be rounded to 70.0%). If phylogenetic relationship to existing rpoB allelic types is unclear (< 97% rpoB sequence BLAST identity to an existing sequence in the database and/or it does not cluster with a group of previously identified isolates with a bootstrap value of ≥ 70%), a partial 16s rDNA sequence will be needed for species assignment. 16S rDNA sequencing will be performed using primers 16s-PEU7 and 16s-DG74 for the PCR and 16s-PEU7 and 16s-P3SH for the sequencing as outlined in the FSL 16s protocol.

3.3.2. Overview of 16S rDNA analysis

Once 16s rDNA data is received (from person doing original rpoB sequencing), the 16S rDNA data will be used for similarity based analyses in RDP (http://rdp.cme.msu.edu/ ), and phylogenetic analysis of a master 16s rDNA matrix of isolates with rpoB allelic types (\\cornell.edu\ag\FOOD\FOOD-MQIP\rpoB database\16S sequences for representative ATs).

3.3.2.1. RDP analysis:

Go to the RDP website (http://rdp.cme.msu.edu/) and select ‘Sequence Match (http://rdp.cme.msu.edu/seqmatch/seqmatch_intro.jsp)’. Paste your 16S sequence in the window and select the following option in the radio button menu: Strain; Type, Source; Both, Size; Both, Quality; Good, Taxonomy; Nomenclatural. These settings will allow for a search against a database of type strains only. Press ‘submit’. Within seconds you should get a list showing the taxonomic ranking of your organism. Click on ’view selectable matches’ to see the match to type strains in RDP. The ‘S_ab score’ will give you a similarity score of your sequence to the matching sequence in the database.

3.3.2.1.1	Based on 16S sequence similarity/’ S_ab score’ in RDP we apply the following naming conventions (if a situation does not fall under any of these scenarios below or if a situation does not pass the common sense test, consult with the resident taxonomy (currently Martin)):

(i) ≥99% similarity to one type strain: adopt name of the type strain

(ii) ≥99% similarity to ≥ 2 type strains: Usually an indication that the isolate belongs to a species complex (e.g., Bacillus cereus complex). In this case the “sensu lato” notation is used to indicate a high level of similarity with multiple closely related species (for instance, B. cereus sensu lato); Currently this is only used for the (i) B. cereus complex (this complex includes B. cereus, B. anthracis, B. mycoides, B. pseudomycoides, B. thuringiensis and B. weihenstephanensis), and (ii) the B. subtilis complex (see Rooney PMID 20048064 for species in this complex). If the 16S rDNA sequence shows ≥99% similarity to ≥ 2 type strains, but does not represent one of these species complexes, a 16S rDNA tree is needed (see section 3.3.2.2) to determine an appropriate species for an isolate. If the 16S tree along with a literature search indicates a possible species complex that has not been previously described, designate as species complex, add to Appendix A, and name after species that was first described (see Bergey’s) in the complex (e.g., B. licheniformis complex, which also includes B. aerius and B. sonorensis). In some cases it may also be appropriate to designate an AT to a single species (for example, when there is no evidence of a species complex); these instances should be indicated and explained in Appendix A. In these cases where rDNA based trees are needed for identification, you should also contact the resident taxonomy expert (indicated below)

(iii) <99% similarity to a type strain, create a 16S tree (see section 3.3.2.2 on building the tree):

(iii-1) If the isolate clusters with one type strain in the 16S rRNA tree (meaning shows a common ancestor), use the name of that type strain, but insert cf. (confer) notation to denote taxonomic uncertainty (for instance, Paenibacillus cf. peoriae)

(iii-2) if the isolate clearly clusters with 2 or more type strain in the 16S rRNA tree (meaning shows a common ancestor (ancestral node) with more than one type strain); use the genus name as confirmed by phylogenetic analysis of 16S, and call the isolate as Genus sp. clade # (e.g., Brevibacillus sp. clade 1) and in FMT indicate the species it clusters with under “Basis of species ID” (e.g., clusters with Brevibacillus limonophilus and B. reuszeri). For rpoB database enter as Brevibacillus|sp_clade1_limonophilus_reuszeri. Note that this is similar to (ii) and the inclusion of closely related species names is optional (and a judgment call). If the 16S rDNA sequence clusters with 3 or more type strains (different species), do not include all species names and just name as Genus sp. clade # (e.g., Brevibacillus sp. clade 1)

(iii-3) If the isolate does not group with one or more type strains in the 16S rRNA tree; use the genus name as confirmed by phylogenetic analysis of 16S, and a numbered clade (e.g., Paenibacillus sp. clade 1) to indicate taxonomic distinctiveness and taxonomic uncertainty. Give each clade a unique numerical identifier (e.g., clade 1, clade 2). Isolates that fall in this category may represent new species and should also be discussed with a “Bacillales taxonomy expert” (as of 10/2014 this would be Martin Wiedmann or Henk den Bakker). If this 16S sequence does not clearly cluster with a group of type strain representing a given genus, name as Bacillaceae genus nov. (and put isolate in cue for genome sequencing).

3.3.2.2. Phylogenetic analysis based on 16S sequences using RAxML GUI:

a. Read section 3.2 on how to use RAxML and Mesquite

b. Download a file with the ‘current’ 16S sequences of Bacillales type strains from RDP: (1) Go to the RDP website (http://rdp.cme.msu.edu/) and click ‘hierarchy browser’, (2) in the radio button menu choose: Strain; Type, Source; Both, Size; Both, Quality; Good, Taxonomy; Nomenclatural. Click ‘browse’, (3) Click ‘phylum Firmicutes, (4) On the next page click on the ‘+’ symbol next to ‘order Bacillales’ this selects all type strain sequences for download, (5) click ‘download’ in the upper right corner, (6) on the next page click ‘Download XXX sequence(-s) for alignment model RDPX-2 Bacteria’ to download a fasta file with the sequences.

c. Import the RDP fasta file, a fasta file with unique 16S sequences of previous searches (\\cornell.edu\ag\FOOD\FOOD-MQIP\rpoB database\16S sequences for representative ATs), and the fasta file(-s) of the isolates to be analysed into Mesquite and align using the Muscle option. After alignment, trim the matrix in such a way that the start and the end of the matrix do not contain gaps; The minimum length of the matrix should be 650 characters (including gaps).

d. Export the aligned and trimmed file in phylip format and import in RAxML GUI.

e. Run RAxML using at least 100 pseudoreplicates

f. Open the tree in Figtree; display bootstrap values on branches.

g. Check if phylogenetic placement is congruent with RDP based results.

3.4	Updating Database Files/Records

- After new rpoB allelic types have been confirmed in Fig Tree and their genus/species determined (see section 3.3), taxa need to be updated in the master FASTA file using Mesquite.  This will include renaming taxa with AT #, genus/species, and FSL #.  Double click on each “Taxa” name, and add “rpoB|ATxxxx|[FSL ID]|Genus|Species”, adding new AT numbers in consecutive order, FSL ID should remain.  New rpoB ATs numbers will be assigned chronologically (by date of discovery).  New duplicate ATs should also be removed from the alignment by highlighting taxon/character → Edit → Cut.

- The new FASTA  file (e.g. rpoBdatabase20150908.afa) should be saved and put in  \\cornell.edu\ag\FOOD\FOOD-MQIP\rpoB database\Current database file.  The other file in the folder (which should now be older) must then be moved into \\cornell.edu\ag\FOOD\FOOD-MQIP\rpoB database\Archived database files.

- Add new AT sequence(s) to Food Microbe Tracker (FMT) → open FMT → go to the given isolate’s page → Add a DNA Sequence → select rpoB allelic typing from drop down → paste in trimmed sequence or upload fasta file of final trimmed sequence → submit.  Add AT # under Additional Characteristics.

- Add new ATs to rpoB Access Database (maintained by database manager).  Information to add includes the date, manager’s net i.d., AT range added, and specific ATs with associated species.

3.5	Periodic database clean-up

Background: To ensure that Genus/species information remains consistent for all isolates of the same rpoB allelic type, the database will be queried periodically to find all entries with an rpoB allelic type entered and for which the Genus/species doesn’t match the Genus/species of the corresponding representative rpoB allelic type strain.

3.5.1 	Send an email to Qi Sun (qisun@cornell.edu) and request a copy of the rpoB species discrepancy table. If the table contains no records, no clean-up is necessary. Otherwise, save the table to MQIP rpoB databaseSpecies discrepancy tables[current date].xlsx. Open the species discrepancy table.

3.5.2	Update the FMT entry for each isolate listed in the species discrepancy table: (1) Open the FMT page for the isolate. (2) Next to “General isolate info,” click “Edit.” In the “Anecdotal Isolate History” field, add “Previous ID:” followed by the Genus and species that are presently entered for the isolate. (3) Copy the “rep genus” field from the species discrepancy table. Paste it into the “Genus” field on the FMT page. (3) Copy the “rep species” field from the species discrepancy table. Paste it into the “Species” field on the FMT page. (4) Scroll to the bottom of the FMT page and click “Submit.” (5) Review the FMT page to ensure that the Genus and species fields now match the Genus and species of the representative rpoB allelic type strain, and that the previous Genus and species are recorded in “Anecdotal isolate history”.

3.5.3	After completing 3.4.2 for each isolate in the table, send another email to Qi Sun to verify that the species discrepancy query now returns no records.

SECTION 4		TROUBLESHOOTING

4.1	If “Identities” in your results read anything but out of 632 (e.g. 630/630 or 626/631), the BLAST algorithm has somehow trimmed your sequence. First check the second best match, if that one isn’t out of 632 either, then it is best to pull out rpoB sequences from each isolate’s FMT page and align them (ClustalW or Mesquite can do this) and see if the complete length matches for 632bp.

4.1.1 	Matches showing 635/635 usually indicate a match with a Staphylococcus sp. Close attention should be paid to these isolates. Record percentage identities to the best rpoB AT match.  Report to database manager, or Martin Wiedmann. These sequences may be added to the database so that these Genera can be identified, however if you find many of these in your project there may be a breakdown in laboratory methods that may need to be investigated.

# SECTION 5		REFERENCES

Edgar, R.C. (2004) MUSCLE: multiple sequence alignment with high accuracy and high throughput Nucleic Acids Res. 32(5):1792-1797

A. Stamatakis,  F. Blagojevic, C.D. Antonopoulos, D.S. Nikolopoulos: (2007) Exploring new Search Algorithms and Hardware for Phylogenetics: RAxML meets the IBM Cell Journal ofVLSI Signal Processing Systems 48(3):271-286

APPENDIX A 	ALTERNATIVE SEARCH TOOLS

- Using BioEdit

Uploading a local nucleotide database file:  The Food Safety Laboratory and Milk Quality Improvement Program have local rpoB allelic type databases.  Every time one of these databases is updated, it also needs to be updated in Bioedit before blasting any sequences.  To update database in BioEdit, go to Select Accessory Application→BLAST→Create a local nucleotide database file→find the most recent rpoB database file (make sure it is in fasta format) → select the most current rpoBhaplotypes file (e.g. rpoBhaplotypes08062010.fas) →Open.

Blasting rpoB sequences that are in FASTA – concatenated format:  Select File→Open…→find your FASTA – concatenated file containing your final sequences →Open→Edit→Select All Sequences→Accessory Application→BLAST→Local BLAST→select Yes when prompted to do a batch job→select the most current rpoB file from the Nulceotide Database drop-down menu→1 for Max number of hits to report→1 for Max number of alignments to show→Do Search.  The window that appears contains all your sequences in the appropriate order.  The relevant information under each isolate or query is as follows:  the Database that was blasted against (should be the most current rpoB file), the best allelic type match with the corresponding genus/species/lineage (e.g. AT_25_Paenibacillus odorifer), Identities (if your isolate is a perfect match with an existing allelic type, this will read 632/632), an alignment between your isolate and the best allelic type match (e.g. AT_25_Paenibacillus odorifer).  Record the allelic type and genus/species/lineage of your isolate.  Scroll down to view the next isolate.  If Identities are not out of 632 (e.g. 630/630), there was an editing error (e.g. too much was trimmed off one end of the sequence) or the sequencing reaction was not sufficient to produce clean sequence of adequate length.  If the sequence cannot be re-edited to produce a sequence out of 632, it will have to be re-sequenced.

Blasting sequences that are in FASTA form:  This is identical to Blasting sequences that are in FASTA – concatenated format with a few exceptions.  If you try to open multiple FASTA files at once within Bioedit, they will all open in their own window which is one reason to use FASTA – concatenated files for blasting multiple sequences at once.  Additionally, since there is only one isolate in the FASTA file unlike the multiple isolates within the FASTA – concatenated file, the BLAST will only return one search within the BLAST window.  Also, you will not be prompted to do a batch job.

New allelic types:  If your isolate is not a perfect match with the closest rpoB allelic type match, Identities will read 631/632, 626/632, etc.  This may indicate a new rpoB allelic type.  To legitimize a new rpoB allelic type, view the alignment between your isolate (Query) and the best match (Sbjct).  Where there is a single nucleotide polymorphism (SNP), a line will be missing between the Query and Sbjct in the alignment.  Copy the Query sequence around the SNP (copy roughly 25 bases) and remember where the SNP resides within the copied sequence.  Open the contig file and chromatogram for that isolate using Sequencher.  After opening select Select→Find Bases…→paste the copied sequence in the text field→Exact Matches→Find→observe the chromatogram at the location of the SNP to make sure the peaks are clean and that the SNP is not a result of an editing error.  Repeat for every other SNP if there is more than one.  If SNP(s) are legitimate, export the new allelic type from Sequencher as its own .fas file.  Add to alignment in Mesquite (see below).

Do not save any BLAST searches upon closing Bioedit.

- Using USEARCH

USEARCH, as with BioEdit, is a free sequence analysis program. It does not have a graphical user interface. Therefore, you will need to use the command prompt. Sufficient instructions are provided here to use USEARCH with the command prompt.

- Download USEARCH and move the program file to a permanent location.

- Open the command prompt by typing cmd in the start menu search field

- In the command prompt, the current directory will be showing (e.g. C:\Users\skw59>).  To change directories type cd followed by a space and then the directory you want to go to (e.g. C:\Users\skw59>cd Desktop).  Hit enter and you will be taken to that directory (e.g. C:\Users\skw59\Desktop>).  Keep on going until you find the directory USEARCH is in.

- The following is what you might enter next:  "c:\Program Files (x86)\usearch.exe" -search_global LauraNewRpoB09092014forusearch.fas -id 1 -db rpoBhaplotypes02152011.fas -strand both -maxaccepts 1 -blast6out rpoB.out (don’t add period at end of this).  The program you are running and its location is in between the quotation marks.  –search_global is the command which searches a file against a database.

The file you are searching, LauraNewRpoB09092014forusearch.fas, follows the –search_global command.  –id refers to the identity threshold.  It is set to 1 so that only 100% matches are shown in the output file.  -db specifies the database being searched against.  –strand both will check both the forward and its reverse complemented strand.  -maxaccepts is the number of hits each sequence will receive.  This is set to 1 so only the closest match is seen.  -blast6out indicates the type of output file and rpoB.out is the name of the output file.  It is also important to note that the query file (e.g. LauraNewRpoB09092014forusearch.fas) and database file (e.g. rpoBhaplotypes02152011.fas) need to be in the same folder (e.g. Desktop).  The pathway all together is as follows:

C:\Users\skw59\Desktop>"c:\Program Files (x86)\usearch.exe" -search_global LauraNewRpoB09092014forusearch.fas -id 1 -db rpoBhaplotypes02152011.fas -strand both -maxaccepts 1 -blast6out rpoB.out

The information for the search criteria described above can be found on the USEARCH website.

- -blast6out produces a tab-separated text file that can be opened in excel.  All the output fields for -blast6out are below but can also be found on the USEARCH website:

- To determine if there are any new allelic types, run the program with –id .97 (you can use .98 or .96).  Give the output file a different name.  This will report all queries that are a 97% match or better to an allelic type already in the database.  Take the Queries reported from the .97 file and compare them to the original file with only 100% matches.  Use sorting and formatting options to determine which queries are missing from the 100% file that are in the 97%.  These are the new allelic types.

- Use BioEdit or Food Microbe Tracker to confirm the new ATs and determine if the SNPs are legitimate (see 3.1.3 above).

APPENDIX B	SPECIES COMPLEXES

| Complex name | Members | Support |
| --- | --- | --- |
| Bacillus cereus s.l. | B. cereus B. anthracis B. mycoides B. pseudomycoides B. thuringiensis B. weihenstephanensis |  |
| Bacillus subtilis s.l. | B. mojavensis B. atrophaeus B. amyloliquefaciens | http://www.ncbi.nlm.nih.gov/pubmed/20048064 |
| Bacillus licheniformis s.l. | B. licheniformis B. aerius B. sonorensis B. aerophilus B. stratosphericus | See Bacillus aerius entry in Bergey's second edition http://www.ncbi.nlm.nih.gov/pubmed/16825614 |
| Paenibacillus amylolyticus s.l. | P. amylolyticus P. xylanexedens P. tundrae | http://www.ncbi.nlm.nih.gov/pubmed/19542122 |