## Slide 1: Stacked Rapid Sand (StaRS) Filter Theory
Theresa Chu
Guillermo Garcia
Alex Schwab

## Slide 2: Overview
Background
Purpose
Theory
Hypotheses
Previous Data
Experimental Apparatus
Future Modifications
Future Work

## Slide 3: Stacked Rapid Sand Filters
Stacked Rapid Sand (StaRS) Filter/Filtration
Invented by AguaClara and used in newer plants
Water enters the filter through slotted pipes
Sand captures colloids
Allows for entirely gravity-powered water filtration

## Slide 4: Purpose
Filter performance
  When will the filter clog?
    Effluent Turbidity
    Head Loss
  Search for a mathematical model
  Given:
    Flow rate
    PACl dosage
    Average influent turbidity

## Slide 5: Filter Failure
Filter Failure
  Clogging occurs – head loss so high that water cannot flow through the filter
  Effluent turbidity does not meet US standards (0.3 NTU)

## Slide 6: Theory
Flocs build-up in sand pores, causing:
  Increase in
    Head loss
    Shear force
    Water velocity
  Decrease in
    Pore diameter

## Slide 7: Hypotheses
Filter Failure Hypothesis
  Head loss levels off after filter failure
Results
  Head loss continues to increase after filter failure

## Slide 8: Hypotheses
Coagulant Dosage hypotheses:
Increase coagulant dosage  increase head loss
Why?
Increased bond strength between flocs
More water accumulated
More mass accumulated – smaller pores

## Slide 9: Mathematical Model
Performance curves of pC* and head loss for multiple coagulant dosages
  MATLAB, Mathcad
Pore storage volume as function of coagulant dosage
Head loss as function of coagulant dosage and mass of solids accumulated
Filter run times before failure
Goal: Predict when filter will fail

## Slide 10: Head Loss (Replicate Experiments)
Spring 2014 Data

## Slide 11: Head Loss (All PACl Dosages)
Spring 2014 Data

## Slide 12: Head Loss Slopes (All PACl Dosages)
Spring 2014 Data

## Slide 13: pC* (Replicate Experiments)
Spring 2014 Data

## Slide 14: pC* (All PACl Dosages)
Spring 2014 Data

## Slide 15: pC* Slopes (All PACl Dosages)
Spring 2014 Data

## Slide 16: Experimental Apparatus

## Slide 17: Lab Setup

## Slide 18: Future Modifications
Alternatives to mesh
Fix sand stratification
Pressure sensors through the filter

## Slide 19: Future Work
Explain the continual increase in head loss after filter failure
Relation between amount of PACl and head loss
Distribution of head loss

## Slide 20: Questions?