## Slide 1: Stacked Rapid Sand (StaRS) Filter Theory
Theresa Chu
Nick Coyle
Alex Schwab

## Slide 2: Stacked Rapid Sand Filters
Stacked Rapid Sand (StaRS) Filter/Filtration
Invented by AguaClara and used in newer plants
Water enters the filter through slotted pipes
Sand captures colloids
Allows for entirely gravity-powered water filtration

## Slide 3: Purpose
StaRS Filter Theory
  Mathematical model
Fall 2014
  Head loss across copper mesh
  Results are inconsistent
Spring 2015
  Head loss across slotted pipes

## Slide 4: Slotted Pipes
0.2 mm wide
Clogging
  Flocs clog openings
  Sand caught in slots
Expensive to fabricate

## Slide 5: Experimental Conditions
Influent Turbidity: 500 NTU
PACl: 20 mg/L
Runtime: 30 minutes
Apparatus Design:
  Model EStaRS filter
  Filter flow rate: 0.8 L/s
  Flow per length of slotted pipe: 0.36 L/(m*s)
  Flow through slot: 1.1 mL/s
  Flow through apparatus: 6 mL/s

## Slide 6: Hypothesis
Head Loss
Clogging due to flocs
Coagulant-clay ratio

## Slide 7: Experimental Apparatus

## Slide 8: Experimental Apparatus

## Slide 9: Experimental Apparatus
  Tank/Slotted Pipe Portion

## Slide 10: Current Results
Functional apparatus
Pipe has not yet clogged
Equipment complications

## Slide 11: Influent Turbidity

## Slide 12: PID Control

## Slide 13: Head Loss

## Slide 14: Future Work
Test slotted pipe apparatus
  500 NTU
  20 mg/L PACl
If clogging occurs:
  More reasonable conditions
  Replacement?
http://www.analyzemath.com/Geometry/3D_shapes_problems.html

## Slide 15: Future Work
Describe sand column performance
Filter vs. Flocculator?
Mathematical Model

## Slide 16: Questions?