## Slide 1: Surface vs. Subsurface Inlet Systems for Sand Filtration
McKenzie Hubert, Eric Grohn, Hannah Stahl, Michelle Bowen

## Slide 2: Initial Goals
Compare two different types of sand filtration
Surface Subsurface
Water Injection Water Injection

## Slide 3: Experimental Variables
Independent variables
  Influent turbidity
  Influent velocity
  Coagulant dosage
Dependent variables
  Effluent turbidity
  Head loss

## Slide 4: Experimental Apparatus

## Slide 5: Changing Influent Turbidity
Independent variable
  Influent turbidity
    Test #1: 90 NTU
    Test #2: 400 NTU
Control variables
  Influent velocity
    2 mm/s
  Coagulant dosage
    5 mg/L

## Slide 6
LOW INFLUENT TURBIDITY
Notes: Test #1 (turbidity: 90 NTU)

## Slide 7
HIGH INFLUENT TURBIDITY
Notes: Test #2 (turbidity: 400 NTU)

## Slide 8
LOW INFLUENT TURBIDITY
Notes: Test #1 (turbidity: 90 NTU)

## Slide 9
HIGH INFLUENT TURBIDITY
Notes: Test #2 (turbidity: 400 NTU)

## Slide 11: Analysis
Effects on effluent turbidity
    Both increased by a similar amount
Effects on head loss
  Rates in both columns increased by a similar amount
  Control still had faster rate

## Slide 12: Changing Influent Velocity
Independent variable
  Influent velocity
    Test #1: 0.5 mm/s
    Test #2: 5 mm/s
Control variables
  Influent turbidity
    240-400 NTU
  Coagulant dosage
    5 mg/L

## Slide 13
LOW INFLUENT VELOCITY
Notes: Test #1 (velocity: 0.5 mm/s)

## Slide 14
HIGH INFLUENT VELOCITY
Notes: Test #2 (velocity: 5 mm/s)

## Slide 15
LOW INFLUENT VELOCITY
Notes: Test #1 (velocity: 0.5 mm/s)

## Slide 16
HIGH INFLUENT VELOCITY
Notes: Test #2 (velocity: 5 mm/s)

## Slide 17: Analysis
Effects on effluent turbidity
  Both increased by a similar amount
Effects on head loss
  Rates of both increased, but control increased by less
  Rates were equal

## Slide 18: Changing Coagulant Dosage
Independent variable
  Coagulant dosage
    Test #1: 0.5 mg/L
    Test #2: 15 mg/L
Control variables
  Influent turbidity
    165-200 NTU
  Influent velocity
    2 mm/s

## Slide 19
LOW COAGULANT DOSAGE
Notes: Test #1 (coagulant: 0.5 mg/L)

## Slide 20
HIGH COAGULANT DOSAGE
Notes: Test #2 (coagulant: 15 mg/L)

## Slide 21
LOW COAGULANT DOSAGE
Notes: Test #1 (coagulant: 0.5 mg/L)

## Slide 22
HIGH COAGULANT DOSAGE
Notes: Test #2 (coagulant: 15 mg/L)

## Slide 23: Analysis
Effects on effluent turbidity
  Both increased by a similar amount
Effects on head loss
  Rates of both increased by a similar amount
  Control still had faster rate

## Slide 24: Conclusions
Particle-capture efficiency approximately equal for both filtration types
Rate of head loss build-up consistently greater for surface injection
  Exception: high flow rate  equal head loss rates
    Lower rate of head loss build-up in surface injection column when influent velocity was increased
    Likely because flocs break up

## Slide 25: Conclusions
    Consistent accumulation of large flocs at surface of surface injection column, especially at low influent velocity  need more frequent backwashing / surface washing
    Never any floc accumulation around subsurface inlet pipe  need less frequent backwashing and no surface washing
    Can conclude that high velocity  low level of floc build-up
    Subsurface therefore better because it always sends water into sand bed with high velocity no matter the set influent velocity, due to tiny inlet pipe/slot

## Slide 26: Future Goals
Determine subsurface failure point (where inlet pipe clogs)
Further explore effect of high influent velocity on surface head loss
Improve design/experiments to better mimic AguaClara plant