## Slide 1: SRSF Theory
Michelle Bowen
Theresa Chu
Tanya Peifer

## Slide 2: What is SRSF?
Stacked Rapid Sand Filter/Filtration
Invented by AguaClara and used in newer plants
How is it different?
  Water enters the filter through embedded tubes
  Allows for entirely gravity-powered water filtration

## Slide 3: Purpose of SRSF Theory Subteam
Create a theoretical understanding of how Stacked Rapid Sand Filters work
Develop a model
  Conduct experiments with varying inputs and monitoring outputs
Help optimize SRSF performance

## Slide 4: Our Apparatus
Models two layers of an SRSF (which typically has 6 layers)
One inlet, two outlets
Each layer is 20 cm
Total length is 60 cm to allow for backwash
Area ratio of inlet to filter models full scale plants

## Slide 5: Flow through experimental set-up

## Slide 6: Lab Bench Setup

## Slide 7: Experimental Parameters
Constant influent turbidity: 5 ± 0.5 NTU
Constant flow rate: 1.86 mL/s
Coagulant (PAC) dosages:
0.2, 0.65, 1.1, 1.55, and 2 mg/L
Dependent variables:
  Effluent turbidity
  Head loss

## Slide 8: PID Control
Proportional Integral Derivative: adjusts clay pump speed in response to measured influent turbidity values
P: proportional to current error
  P was set to 1
I: proportional to magnitude of error over time
  I set to 0.25
D: proportional to rate of change of error
  D set to 0
Notes: P: we adjust depending on clay stock value, more dilute stocks mean higher P values
I : lower value means fewer previous points from memory used

## Slide 9: Influent Turbidity with PID

## Slide 10: Effluent Turbidity I

## Slide 11: Effluent Turbidity II

## Slide 12: Effluent Turbidity II

## Slide 13: Head Loss

## Slide 14: Analysis
Filter successfully reduced the turbidity < 0.5 NTU
Control experiment at 0.0 mg/L of PAC – 1 NTU
Coagulant joins to particles, which are more easily removed by the filter
0.2 mg/L PAC
Turbidity – 0.08 NTU for over 12 hours
Head loss – smaller rate of increase
0.65 mg/L PAC
Turbidity – 0.05 NTU and then increases
Fails at 6 hours
Head loss – greater rate of increase

## Slide 15: Current Issues
PID control
  Overcorrecting
  Malfunctions
Air in the column after long experiments
  Cause unknown
Head loss values
  Unrealistic
  (over 200 cm)

## Slide 16: Conclusions
Higher coagulant doses – effluent turbidity is consistent and then increases over time
  Turbidity breakthrough possible
Lower flow rate – filter performance increases over time
Effluent turbidity lower at 0.2 than 0.65 mg/L overall
0.65 mg/L – performs better for shorter runtime
Current head loss data does not show when clogging occurs
Need to run more experiments to confirm trends
Notes: Turbidity breakthrough: a crack in the filter bed that allows the passage of flocs through a filter will cause an increase in filter effluent turbidity

## Slide 17: Goals for future semesters
Run experiments over range of coagulant doses
Effluent turbidity and head loss:
  Compile data
  Analyze trends
Create a model for SRSF

## Slide 18: Questions?