## Slide 1: Stacked Rapid Sand Filter Theory (SRSF)
Spring 2014
Tanya Peifer
Valerie Shao

## Slide 2: What is SRSF?
Stacked Rapid Sand Filter/Filtration
Invented by AguaClara and is currently used in the newer plants
Subsurface Water Injection

## Slide 3
Subsurface
  Particles are captured throughout entire sand bed
  Flocs cannot continue to accumulate with high shear
  Water passes easily through sand bed
Surface
  Particles trapped on top of sand bed
  Flocs build up between pores and form a thick layer
  Pores clog

## Slide 4: Why Are We Here?
Flocs build-up in sand pores, causing:
  An increase in
    Head loss
    Shear force
    Water velocity
  A decrease in
    Pore diameter
Notes: We want to develop a model that given a known influent turbidity and PACl dosage can predict when the filter is no longer efficient. A simplified view of what’s going on in the filter: flocs attach to pores between sand grains. As the diameter of the pore becomes smaller and smaller the velocity of the water and the shear force increase until the strength of the stickiness of the coagulant is no longer enough for the flocs to attach and run through the column unfiltered.

## Slide 5: Our Mission
Determining the relationship between mass added into system and its effects on head loss and effluent turbidity
Creating a mathematical model defining this relationship
Determining the minimum Dpore at each concentration of PACl

## Slide 6: Experimental Procedure
Running several experiments at various PACl concentration dosages (0.2, 0.65,1.10,1.55, 2.0 mg/L)
Recording necessary values every 5 seconds:
  Influent turbidity
  Effluent turbidity
  Head loss

## Slide 7: Experimental Set-up
Notes: 1. Clean water is stored at 20 C and aerated. 2. Water is continuously mixed with clay in the stock tank using an electric mixer. 3. The clay/water mixture from the stock tank is mixed into the influent water. The speed at which the clay pump runs is determined using Process Controller and PID to guarantee an influent turbidity of 5 NTU. 4. A turbidimater measures the turbidity of the water before coagulant is added. 5. Water passes through a peristaltic pump and the flow accumulator which decreases irregularities of the flow into the column. 6. PACl is stored in its own stock tank and is pumped into a rapid mix chamber where it combines with the influent water to form flocs. 7. The flocs flow up or down through one of the two sand beds and then exit the filter. 8. A pressure sensor measures the difference in head between influent and effluent water. 9. A turbidimeter measures the effluent turbidity

## Slide 8: Experimental Set-Up

## Slide 9: Performance Curves
Higher values denote higher efficiency
Plots at different PACl dosages all show distinct drop in efficiency followed by slight increase
Correspond to flocs being knocked out of filter due to high shear stress
Notes: When analyzing the data we graphed performance curves for each of the PACl dosages. We run three trials of each PACl dosage.

## Slide 10: Performance Curves II
Chart: pC* for 0.65 mg/L
| 0 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100 | 105 | 110 | 115 | 120 | 125 | 130 | 135 | 140 | 145 | 150 | 155 | 160 | 165 | 170 | 175 | 180 | 185 | 190 | 195 | 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520 | 525 | 530 | 535 | 540 | 545 | 550 | 555 | 560 | 565 | 570 | 575 | 580 | 585 | 590 | 595 | 600 | 605 | 610 | 615 | 620 | 625 | 630 | 635 | 640 | 645 | 650 | 655 | 660 | 665 | 670 | 675 | 680 | 685 | 690 | 695 | 700 | 705 | 710 | 715 | 720 | 725 | 730 | 735 | 740 | 745 | 750 | 755 | 760 | 765 | 770 | 775 | 780 | 785 | 790 | 795 | 800 | 805 | 810 | 815 | 820 | 825 | 830 | 835 | 840 | 845 | 850 | 855 | 860 | 865 | 870 | 875 | 880 | 885 | 890 | 895 | 900 | 905 | 910 | 915 | 920 | 925 | 930 | 935 | 940 | 945 | 950 | 955 | 960 | 965 | 970 | 975 | 980 | 985 | 990 | 995 | 1000 | 1005 | 1010 | 1015 | 1020 | 1025 | 1030 | 1035 | 1040 | 1045 | 1050 | 1055 | 1060 | 1065 | 1070 | 1075 | 1080 | 1085 | 1090 | 1095 | 1100 | 1105 | 1110 | 1115 | 1120 | 1125 | 1130 | 1135 | 1140 | 1145 | 1150 | 1155 | 1160 | 1165 | 1170 | 1175 | 1180 | 1185 | 1190 | 1195 | 1200 | 1205 | 1210 | 1215 | 1220 | 1225 | 1230 | 1235 | 1240 | 1245 | 1250 | 1255 | 1260 | 1265 | 1270 | 1275 | 1280 | 1285 | 1290 | 1295 | 1300 | 1305 | 1310 | 1315 | 1320 | 1325 | 1330 | 1335 | 1340 | 1345 | 1350 | 1355 | 1360 | 1365 | 1370 | 1375 | 1380 | 1385 | 1390 | 1395 | 1400 | 1405 | 1410 | 1415 | 1420 | 1425 | 1430 | 1435 | 1440 | 1445 | 1450 | 1455 | 1460 | 1465 | 1470 | 1475 | 1480 | 1485 | 1490 | 1495 | 1500 | 1505 | 1510 | 1515 | 1520 | 1525 | 1530 | 1535 | 1540 | 1545 | 1550 | 1555 | 1560 | 1565 | 1570 | 1575 | 1580 | 1585 | 1590 | 1595 | 1600 | 1605 | 1610 | 1615 | 1620 | 1625 | 1630 | 1635 | 1640 | 1645 | 1650 | 1655 | 1660 | 1665 | 1670 | 1675 | 1680 | 1685 | 1690 | 1695 | 1700 | 1705 | 1710 | 1715 | 1720 | 1725 | 1730 | 1735 | 1740 | 1745 | 1750 | 1755 | 1760 | 1765 | 1770 | 1775 | 1780 | 1785 | 1790 | 1795 | 1800 | 1805 | 1810 | 1815 | 1820 | 1825 | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1860 | 1865 | 1870 | 1875 | 1880 | 1885 | 1890 | 1895 | 1900 | 1905 | 1910 | 1915 | 1920 | 1925 | 1930 | 1935 | 1940 | 1945 | 1950 | 1955 | 1960 | 1965 | 1970 | 1975 | 1980 | 1985 | 1990 | 1995 | 2000 | 2005 | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | 2065 | 2070 | 2075 | 2080 | 2085 | 2090 | 2095 | 2100 | 2105 | 2110 | 2115 | 2120 | 2125 | 2130 | 2135 | 2140 | 2145 | 2150 | 2155 | 2160 | 2165 | 2170 | 2175 | 2180 | 2185 | 2190 | 2195 | 2200 | 2205 | 2210 | 2215 | 2220 | 2225 | 2230 | 2235 | 2240 | 2245 | 2250 | 2255 | 2260 | 2265 | 2270 | 2275 | 2280 | 2285 | 2290 | 2295 | 2300 | 2305 | 2310 | 2315 | 2320 | 2325 | 2330 | 2335 | 2340 | 2345 | 2350 | 2355 | 2360 | 2365 | 2370 | 2375 | 2380 | 2385 | 2390 | 2395 | 2400 | 2405 | 2410 | 2415 | 2420 | 2425 | 2430 | 2435 | 2440 | 2445 | 2450 | 2455 | 2460 | 2465 | 2470 | 2475 | 2480 | 2485 | 2490 | 2495 | 2500 | 2505 | 2510 | 2515 | 2520 | 2525 | 2530 | 2535 | 2540 | 2545 | 2550 | 2555 | 2560 | 2565 | 2570 | 2575 | 2580 | 2585 | 2590 | 2595 | 2600 | 2605 | 2610 | 2615 | 2620 | 2625 | 2630 | 2635 | 2640 | 2645 | 2650 | 2655 | 2660 | 2665 | 2670 | 2675 | 2680 | 2685 | 2690 | 2695 | 2700 | 2705 | 2710 | 2715 | 2720 | 2725 | 2730 | 2735 | 2740 | 2745 | 2750 | 2755 | 2760 | 2765 | 2770 | 2775 | 2780 | 2785 | 2790 | 2795 | 2800 | 2805 | 2810 | 2815 | 2820 | 2825 | 2830 | 2835 | 2840 | 2845 | 2850 | 2855 | 2860 | 2865 | 2870 | 2875 | 2880 | 2885 | 2890 | 2895 | 2900 | 2905 | 2910 | 2915 | 2920 | 2925 | 2930 | 2935 | 2940 | 2945 | 2950 | 2955 | 2960 | 2965 | 2970 | 2975 | 2980 | 2985 | 2990 | 2995 | 3000 | 3005 | 3010 | 3015 | 3020 | 3025 | 3030 | 3035 | 3040 | 3045 | 3050 | 3055 | 3060 | 3065 | 3070 | 3075 | 3080 | 3085 | 3090 | 3095 | 3100 | 3105 | 3110 | 3115 | 3120 | 3125 | 3130 | 3135 | 3140 | 3145 | 3150 | 3155 | 3160 | 3165 | 3170 | 3175 | 3180 | 3185 | 3190 | 3195 | 3200 | 3205 | 3210 | 3215 | 3220 | 3225 | 3230 | 3235 | 3240 | 3245 | 3250 | 3255 | 3260 | 3265 | 3270 | 3275 | 3280 | 3285 | 3290 | 3295 | 3300 | 3305 | 3310 | 3315 | 3320 | 3325 | 3330 | 3335 | 3340 | 3345 | 3350 | 3355 | 3360 | 3365 | 3370 | 3375 | 3380 | 3385 | 3390 | 3395 | 3400 | 3405 | 3410 | 3415 | 3420 | 3425 | 3430 | 3435 | 3440 | 3445 | 3450 | 3455 | 3460 | 3465 | 3470 | 3475 | 3480 | 3485 | 3490 | 3495 | 3500 | 3505 | 3510 | 3515 | 3520 | 3525 | 3530 | 3535 | 3540 | 3545 | 3550 | 3555 | 3560 | 3565 | 3570 | 3575 | 3580 | 3585 | 3590 | 3595 | 3600 | 3605 | 3610 | 3615 | 3620 | 3625 | 3630 | 3635 | 3640 | 3645 | 3650 | 3655 | 3660 | 3665 | 3670 | 3675 | 3680 | 3685 | 3690 | 3695 | 3700 | 3705 | 3710 | 3715 | 3720 | 3725 | 3730 | 3735 | 3740 | 3745 | 3750 | 3755 | 3760 | 3765 | 3770 | 3775 | 3780 | 3785 | 3790 | 3795 | 3800 | 3805 | 3810 | 3815 | 3820 | 3825 | 3830 | 3835 | 3840 | 3845 | 3850 | 3855 | 3860 | 3865 | 3870 | 3875 | 3880 | 3885 | 3890 | 3895 | 3900 | 3905 | 3910 | 3915 | 3920 | 3925 | 3930 | 3935 | 3940 | 3945 | 3950 | 3955 | 3960 | 3965 | 3970 | 3975 | 3980 | 3985 | 3990 | 3995 | 4000 | 4005 | 4010 | 4015 | 4020 | 4025 | 4030 | 4035 | 4040 | 4045 | 4050 | 4055 | 4060 | 4065 | 4070 | 4075 | 4080 | 4085 | 4090 | 4095 | 4100 | 4105 | 4110 | 4115 | 4120 | 4125 | 4130 | 4135 | 4140 | 4145 | 4150 | 4155 | 4160 | 4165 | 4170 | 4175 | 4180 | 4185 | 4190 | 4195 | 4200 | 4205 | 4210 | 4215 | 4220 | 4225 | 4230 | 4235 | 4240 | 4245 | 4250 | 4255 | 4260 | 4265 | 4270 | 4275 | 4280 | 4285 | 4290 | 4295 | 4300 | 4305 | 4310 | 4315 | 4320 | 4325 | 4330 | 4335 | 4340 | 4345 | 4350 | 4355 | 4360 | 4365 | 4370 | 4375 | 4380 | 4385 | 4390 | 4395 | 4400 | 4405 | 4410 | 4415 | 4420 | 4425 | 4430 | 4435 | 4440 | 4445 | 4450 | 4455 | 4460 | 4465 | 4470 | 4475 | 4480 | 4485 | 4490 | 4495 | 4500 | 4505 | 4510 | 4515 | 4520 | 4525 | 4530 | 4535 | 4540 | 4545 | 4550 | 4555 | 4560 | 4565 | 4570 | 4575 | 4580 | 4585 | 4590 | 4595 | 4600 | 4605 | 4610 | 4615 | 4620 | 4625 | 4630 | 4635 | 4640 | 4645 | 4650 | 4655 | 4660 | 4665 | 4670 | 4675 | 4680 | 4685 | 4690 | 4695 | 4700 | 4705 | 4710 | 4715 | 4720 | 4725 | 4730 | 4735 | 4740 | 4745 | 4750 | 4755 | 4760 | 4765 | 4770 | 4775 | 4780 | 4785 | 4790 | 4795 | 4800 | 4805 | 4810 | 4815 | 4820 | 4825 | 4830 | 4835 | 4840 | 4845 | 4850 | 4855 | 4860 | 4865 | 4870 | 4875 | 4880 | 4885 | 4890 | 4895 | 4900 | 4905 | 4910 | 4915 | 4920 | 4925 | 4930 | 4935 | 4940 | 4945 | 4950 | 4955 | 4960 | 4965 | 4970 | 4975 | 4980 | 4985 | 4990 | 4995 | 5000 | 5005 | 5010 | 5015 | 5020 | 5025 | 5030 | 5035 | 5040 | 5045 | 5050 | 5055 | 5060 | 5065 | 5070 | 5075 | 5080 | 5085 | 5090 | 5095 | 5100 | 5105 | 5110 | 5115 | 5120 | 5125 | 5130 | 5135 | 5140 | 5145 | 5150 | 5155 | 5160 | 5165 | 5170 | 5175 | 5180 | 5185 | 5190 | 5195 | 5200 | 5205 | 5210 | 5215 | 5220 | 5225 | 5230 | 5235 | 5240 | 5245 | 5250 | 5255 | 5260 | 5265 | 5270 | 5275 | 5280 | 5285 | 5290 | 5295 | 5300 | 5305 | 5310 | 5315 | 5320 | 5325 | 5330 | 5335 | 5340 | 5345 | 5350 | 5355 | 5360 | 5365 | 5370 | 5375 | 5380 | 5385 | 5390 | 5395 | 5400 | 5405 | 5410 | 5415 | 5420 | 5425 | 5430 | 5435 | 5440 | 5445 | 5450 | 5455 | 5460 | 5465 | 5470 | 5475 | 5480 | 5485 | 5490 | 5495 | 5500 | 5505 | 5510 | 5515 | 5520 | 5525 | 5530 | 5535 | 5540 | 5545 | 5550 | 5555 | 5560 | 5565 | 5570 | 5575 | 5580 | 5585 | 5590 | 5595 | 5600 | 5605 | 5610 | 5615 | 5620 | 5625 | 5630 | 5635 | 5640 | 5645 | 5650 | 5655 | 5660 | 5665 | 5670 | 5675 | 5680 | 5685 | 5690 | 5695 | 5700 | 5705 | 5710 | 5715 | 5720 | 5725 | 5730 | 5735 | 5740 | 5745 | 5750 | 5755 | 5760 | 5765 | 5770 | 5775 | 5780 | 5785 | 5790 | 5795 | 5800 | 5805 | 5810 | 5815 | 5820 | 5825 | 5830 | 5835 | 5840 | 5845 | 5850 | 5855 | 5860 | 5865 | 5870 | 5875 | 5880 | 5885 | 5890 | 5895 | 5900 | 5905 | 5910 | 5915 | 5920 | 5925 | 5930 | 5935 | 5940 | 5945 | 5950 | 5955 | 5960 | 5965 | 5970 | 5975 | 5980 | 5985 | 5990 | 5995 | 6000 | 6005 | 6010 | 6015 | 6020 | 6025 | 6030 | 6035 | 6040 | 6045 | 6050 | 6055 | 6060 | 6065 | 6070 | 6075 | 6080 | 6085 | 6090 | 6095 | 6100 | 6105 | 6110 | 6115 | 6120 | 6125 | 6130 | 6135 | 6140 | 6145 | 6150 | 6155 | 6160 | 6165 | 6170 | 6175 | 6180 | 6185 | 6190 | 6195 | 6200 | 6205 | 6210 | 6215 | 6220 | 6225 | 6230 | 6235 | 6240 | 6245 | 6250 | 6255 | 6260 | 6265 | 6270 | 6275 | 6280 | 6285 | 6290 | 6295 | 6300 | 6305 | 6310 | 6315 | 6320 | 6325 | 6330 | 6335 | 6340 | 6345 | 6350 | 6355 | 6360 | 6365 | 6370 | 6375 | 6380 | 6385 | 6390 | 6395 | 6400 | 6405 | 6410 | 6415 | 6420 | 6425 | 6430 | 6435 | 6440 | 6445 | 6450 | 6455 | 6460 | 6465 | 6470 | 6475 | 6480 | 6485 | 6490 | 6495 | 6500 | 6505 | 6510 | 6515 | 6520 | 6525 | 6530 | 6535 | 6540 | 6545 | 6550 | 6555 | 6560 | 6565 | 6570 | 6575 | 6580 | 6585 | 6590 | 6595 | 6600 | 6605 | 6610 | 6615 | 6620 | 6625 | 6630 | 6635 | 6640 | 6645 | 6650 | 6655 | 6660 | 6665 | 6670 | 6675 | 6680 | 6685 | 6690 | 6695 | 6700 | 6705 | 6710 | 6715 | 6720 | 6725 | 6730 | 6735 | 6740 | 6745 | 6750 | 6755 | 6760 | 6765 | 6770 | 6775 | 6780 | 6785 | 6790 | 6795 | 6800 | 6805 | 6810 | 6815 | 6820 | 6825 | 6830 | 6835 | 6840 | 6845 | 6850 | 6855 | 6860 | 6865 | 6870 | 6875 | 6880 | 6885 | 6890 | 6895 | 6900 | 6905 | 6910 | 6915 | 6920 | 6925 | 6930 | 6935 | 6940 | 6945 | 6950 | 6955 | 6960 | 6965 | 6970 | 6975 | 6980 | 6985 | 6990 | 6995 | 7000 | 7005 | 7010 | 7015 | 7020 | 7025 | 7030 | 7035 | 7040 | 7045 | 7050 | 7055 | 7060 | 7065 | 7070 | 7075 | 7080 | 7085 | 7090 | 7095 | 7100 | 7105 | 7110 | 7115 | 7120 | 7125 | 7130 | 7135 | 7140 | 7145 | 7150 | 7155 | 7160 | 7165 | 7170 | 7175 | 7180 | 7185 | 7190 | 7195 | 7200 | 7205 | 7210 | 7215 | 7220 | 7225 | 7230 | 7235 | 7240 | 7245 | 7250 | 7255 | 7260 | 7265 | 7270 | 7275 | 7280 | 7285 | 7290 | 7295 | 7300 | 7305 | 7310 | 7315 | 7320 | 7325 | 7330 | 7335 | 7340 | 7345 | 7350 | 7355 | 7360 | 7365 | 7370 | 7375 | 7380 | 7385 | 7390 | 7395 | 7400 | 7405 | 7410 | 7415 | 7420 | 7425 | 7430 | 7435 | 7440 | 7445 | 7450 | 7455 | 7460 | 7465 | 7470 | 7475 | 7480 | 7485 | 7490 | 7495 | 7500 | 7505 | 7510 | 7515 | 7520 | 7525 | 7530 | 7535 | 7540 | 7545 | 7550 | 7555 | 7560 | 7565 | 7570 | 7575 | 7580 | 7585 | 7590 | 7595 | 7600 | 7605 | 7610 | 7615 | 7620 | 7625 | 7630 | 7635 | 7640 | 7645 | 7650 | 7655 | 7660 | 7665 | 7670 | 7675 | 7680 | 7685 | 7690 | 7695 | 7700 | 7705 | 7710 | 7715 | 7720 | 7725 | 7730 | 7735 | 7740 | 7745 | 7750 | 7755 | 7760 | 7765 | 7770 | 7775 | 7780 | 7785 | 7790 | 7795 | 7800 | 7805 | 7810 | 7815 | 7820 | 7825 | 7830 | 7835 | 7840 | 7845 | 7850 | 7855 | 7860 | 7865 | 7870 | 7875 | 7880 | 7885 | 7890 | 7895 | 7900 | 7905 | 7910 | 7915 | 7920 | 7925 | 7930 | 7935 | 7940 | 7945 | 7950 | 7955 | 7960 | 7965 | 7970 | 7975 | 7980 | 7985 | 7990 | 7995 | 8000 | 8005 | 8010 | 8015 | 8020 | 8025 | 8030 | 8035 | 8040 | 8045 | 8050 | 8055 | 8060 | 8065 | 8070 | 8075 | 8080 | 8085 | 8090 | 8095 | 8100 | 8105 | 8110 | 8115 | 8120 | 8125 | 8130 | 8135 | 8140 | 8145 | 8150 | 8155 | 8160 | 8165 | 8170 | 8175 | 8180 | 8185 | 8190 | 8195 | 8200 | 8205 | 8210 | 8215 | 8220 | 8225 | 8230 | 8235 | 8240 | 8245 | 8250 | 8255 | 8260 | 8265 | 8270 | 8275 | 8280 | 8285 | 8290 | 8295 | 8300 | 8305 | 8310 | 8315 | 8320 | 8325 | 8330 | 8335 | 8340 | 8345 | 8350 | 8355 | 8360 | 8365 | 8370 | 8375 | 8380 | 8385 | 8390 | 8395 | 8400 | 8405 | 8410 | 8415 | 8420 | 8425 | 8430 | 8435 | 8440 | 8445 | 8450 | 8455 | 8460 | 8465 | 8470 | 8475 | 8480 | 8485 | 8490 | 8495 | 8500 | 8505 | 8510 | 8515 | 8520 | 8525 | 8530 | 8535 | 8540 | 8545 | 8550 | 8555 | 8560 | 8565 | 8570 | 8575 | 8580 | 8585 | 8590 | 8595 | 8600 | 8605 | 8610 | 8615 | 8620 | 8625 | 8630 | 8635 | 8640 | 8645 | 8650 | 8655 | 8660 | 8665 | 8670 | 8675 | 8680 | 8685 | 8690 | 8695 | 8700 | 8705 | 8710 | 8715 | 8720 | 8725 | 8730 | 8735 | 8740 | 8745 | 8750 | 8755 | 8760 | 8765 | 8770 | 8775 | 8780 | 8785 | 8790 | 8795 | 8800 | 8805 | 8810 | 8815 | 8820 | 8825 | 8830 | 8835 | 8840 | 8845 | 8850 | 8855 | 8860 | 8865 | 8870 | 8875 | 8880 | 8885 | 8890 | 8895 | 8900 | 8905 | 8910 | 8915 | 8920 | 8925 | 8930 | 8935 | 8940 | 8945 | 8950 | 8955 | 8960 | 8965 | 8970 | 8975 | 8980 | 8985 | 8990 | 8995 | 9000 | 9005 | 9010 | 9015 | 9020 | 9025 | 9030 | 9035 | 9040 | 9045 | 9050 | 9055 | 9060 | 9065 | 9070 | 9075 | 9080 | 9085 | 9090 | 9095 | 9100 | 9105 | 9110 | 9115 | 9120 | 9125 | 9130 | 9135 | 9140 | 9145 | 9150 | 9155 | 9160 | 9165 | 9170 | 9175 | 9180 | 9185 | 9190 | 9195 | 9200 | 9205 | 9210 | 9215 | 9220 | 9225 | 9230 | 9235 | 9240 | 9245 | 9250 | 9255 | 9260 | 9265 | 9270 | 9275 | 9280 | 9285 | 9290 | 9295 | 9300 | 9305 | 9310 | 9315 | 9320 | 9325 | 9330 | 9335 | 9340 | 9345 | 9350 | 9355 | 9360 | 9365 | 9370 | 9375 | 9380 | 9385 | 9390 | 9395 | 9400 | 9405 | 9410 | 9415 | 9420 | 9425 | 9430 | 9435 | 9440 | 9445 | 9450 | 9455 | 9460 | 9465 | 9470 | 9475 | 9480 | 9485 | 9490 | 9495 | 9500 | 9505 | 9510 | 9515 | 9520 | 9525 | 9530 | 9535 | 9540 | 9545 | 9550 | 9555 | 9560 | 9565 | 9570 | 9575 | 9580 | 9585 | 9590 | 9595 | 9600 | 9605 | 9610 | 9615 | 9620 | 9625 | 9630 | 9635 | 9640 | 9645 | 9650 | 9655 | 9660 | 9665 | 9670 | 9675 | 9680 | 9685 | 9690 | 9695 | 9700 | 9705 | 9710 | 9715 | 9720 | 9725 | 9730 | 9735 | 9740 | 9745 | 9750 | 9755 | 9760 | 9765 | 9770 | 9775 | 9780 | 9785 | 9790 | 9795 | 9800 | 9805 | 9810 | 9815 | 9820 | 9825 | 9830 | 9835 | 9840 | 9845 | 9850 | 9855 | 9860 | 9865 | 9870 | 9875 | 9880 | 9885 | 9890 | 9895 | 9900 | 9905 | 9910 | 9915 | 9920 | 9925 | 9930 | 9935 | 9940 | 9945 | 9950 | 9955 | 9960 | 9965 | 9970 | 9975 | 9980 | 9985 | 9990 | 9995 | 10000 | 10005 | 10010 | 10015 | 10020 | 10025 | 10030 | 10035 | 10040 | 10045 | 10050 | 10055 | 10060 | 10065 | 10070 | 10075 | 10080 | 10085 | 10090 | 10095 | 10100 | 10105 | 10110 | 10115 | 10120 | 10125 | 10130 | 10135 | 10140 | 10145 | 10150 | 10155 | 10160 | 10165 | 10170 | 10175 | 10180 | 10185 | 10190 | 10195 | 10200 | 10205 | 10210 | 10215 | 10220 | 10225 | 10230 | 10235 | 10240 | 10245 | 10250 | 10255 | 10260 | 10265 | 10270 | 10275 | 10280 | 10285 | 10290 | 10295 | 10300 | 10305 | 10310 | 10315 | 10320 | 10325 | 10330 | 10335 | 10340 | 10345 | 10350 | 10355 | 10360 | 10365 | 10370 | 10375 | 10380 | 10385 | 10390 | 10395 | 10400 | 10405 | 10410 | 10415 | 10420 | 10425 | 10430 | 10435 | 10440 | 10445 | 10450 | 10455 | 10460 | 10465 | 10470 | 10475 | 10480 | 10485 | 10490 | 10495 | 10500 | 10505 | 10510 | 10515 | 10520 | 10525 | 10530 | 10535 | 10540 | 10545 | 10550 | 10555 | 10560 | 10565 | 10570 | 10575 | 10580 | 10585 | 10590 | 10595 | 10600 | 10605 | 10610 | 10615 | 10620 | 10625 | 10630 | 10635 | 10640 | 10645 | 10650 | 10655 | 10660 | 10665 | 10670 | 10675 | 10680 | 10685 | 10690 | 10695 | 10700 | 10705 | 10710 | 10715 | 10720 | 10725 | 10730 | 10735 | 10740 | 10745 | 10750 | 10755 | 10760 | 10765 | 10770 | 10775 | 10780 | 10785 | 10790 | 10795 | 10800 | 10805 | 10810 | 10815 | 10820 | 10825 | 10830 | 10835 | 10840 | 10845 | 10850 | 10855 | 10860 | 10865 | 10870 | 10875 | 10880 | 10885 | 10890 | 10895 | 10900 | 10905 | 10910 | 10915 | 10920 | 10925 | 10930 | 10935 | 10940 | 10945 | 10950 | 10955 | 10960 | 10965 | 10970 | 10975 | 10980 | 10985 | 10990 | 10995 | 11000 | 11005 | 11010 | 11015 | 11020 | 11025 | 11030 | 11035 | 11040 | 11045 | 11050 | 11055 | 11060 | 11065 | 11070 | 11075 | 11080 | 11085 | 11090 | 11095 | 11100 | 11105 | 11110 | 11115 | 11120 | 11125 | 11130 | 11135 | 11140 | 11145 | 11150 | 11155 | 11160 | 11165 | 11170 | 11175 | 11180 | 11185 | 11190 | 11195 | 11200 | 11205 | 11210 | 11215 | 11220 | 11225 | 11230 | 11235 | 11240 | 11245 | 11250 | 11255 | 11260 | 11265 | 11270 | 11275 | 11280 | 11285 | 11290 | 11295 | 11300 | 11305 | 11310 | 11315 | 11320 | 11325 | 11330 | 11335 | 11340 | 11345 | 11350 | 11355 | 11360 | 11365 | 11370 | 11375 | 11380 | 11385 | 11390 | 11395 | 11400 | 11405 | 11410 | 11415 | 11420 | 11425 | 11430 | 11435 | 11440 | 11445 | 11450 | 11455 | 11460 | 11465 | 11470 | 11475 | 11480 | 11485 | 11490 | 11495 | 11500 | 11505 | 11510 | 11515 | 11520 | 11525 | 11530 | 11535 | 11540 | 11545 | 11550 | 11555 | 11560 | 11565 | 11570 | 11575 | 11580 | 11585 | 11590 | 11595 | 11600 | 11605 | 11610 | 11615 | 11620 | 11625 | 11630 | 11635 | 11640 | 11645 | 11650 | 11655 | 11660 | 11665 | 11670 | 11675 | 11680 | 11685 | 11690 | 11695 | 11700 | 11705 | 11710 | 11715 | 11720 | 11725 | 11730 | 11735 | 11740 | 11745 | 11750 | 11755 | 11760 | 11765 | 11770 | 11775 | 11780 | 11785 | 11790 | 11795 | 11800 | 11805 | 11810 | 11815 | 11820 | 11825 | 11830 | 11835 | 11840 | 11845 | 11850 | 11855 | 11860 | 11865 | 11870 | 11875 | 11880 | 11885 | 11890 | 11895 | 11900 | 11905 | 11910 | 11915 | 11920 | 11925 | 11930 | 11935 | 11940 | 11945 | 11950 | 11955 | 11960 | 11965 | 11970 | 11975 | 11980 | 11985 | 11990 | 11995 | 12000 | 12005 | 12010 | 12015 | 12020 | 12025 | 12030 | 12035 | 12040 | 12045 | 12050 | 12055 | 12060 | 12065 | 12070 | 12075 | 12080 | 12085 | 12090 | 12095 | 12100 | 12105 | 12110 | 12115 | 12120 | 12125 | 12130 | 12135 | 12140 | 12145 | 12150 | 12155 | 12160 | 12165 | 12170 | 12175 | 12180 | 12185 | 12190 | 12195 | 12200 | 12205 | 12210 | 12215 | 12220 | 12225 | 12230 | 12235 | 12240 | 12245 | 12250 | 12255 | 12260 | 12265 | 12270 | 12275 | 12280 | 12285 | 12290 | 12295 | 12300 | 12305 | 12310 | 12315 | 12320 | 12325 | 12330 | 12335 | 12340 | 12345 | 12350 | 12355 | 12360 | 12365 | 12370 | 12375 | 12380 | 12385 | 12390 | 12395 | 12400 | 12405 | 12410 | 12415 | 12420 | 12425 | 12430 | 12435 | 12440 | 12445 | 12450 | 12455 | 12460 | 12465 | 12470 | 12475 | 12480 | 12485 | 12490 | 12495 | 12500 | 12505 | 12510 | 12515 | 12520 | 12525 | 12530 | 12535 | 12540 | 12545 | 12550 | 12555 | 12560 | 12565 | 12570 | 12575 | 12580 | 12585 | 12590 | 12595 | 12600 | 12605 | 12610 | 12615 | 12620 | 12625 | 12630 | 12635 | 12640 | 12645 | 12650 | 12655 | 12660 | 12665 | 12670 | 12675 | 12680 | 12685 | 12690 | 12695 | 12700 | 12705 | 12710 | 12715 | 12720 | 12725 | 12730 | 12735 | 12740 | 12745 | 12750 | 12755 | 12760 | 12765 | 12770 | 12775 | 12780 | 12785 | 12790 | 12795 | 12800 | 12805 | 12810 | 12815 | 12820 | 12825 | 12830 | 12835 | 12840 | 12845 | 12850 | 12855 | 12860 | 12865 | 12870 | 12875 | 12880 | 12885 | 12890 | 12895 | 12900 | 12905 | 12910 | 12915 | 12920 | 12925 | 12930 | 12935 | 12940 | 12945 | 12950 | 12955 | 12960 | 12965 | 12970 | 12975 | 12980 | 12985 | 12990 | 12995 | 13000 | 13005 | 13010 | 13015 | 13020 | 13025 | 13030 | 13035 | 13040 | 13045 | 13050 | 13055 | 13060 | 13065 | 13070 | 13075 | 13080 | 13085 | 13090 | 13095 | 13100 | 13105 | 13110 | 13115 | 13120 | 13125 | 13130 | 13135 | 13140 | 13145 | 13150 | 13155 | 13160 | 13165 | 13170 | 13175 | 13180 | 13185 | 13190 | 13195 | 13200 | 13205 | 13210 | 13215 | 13220 | 13225 | 13230 | 13235 | 13240 | 13245 | 13250 | 13255 | 13260 | 13265 | 13270 | 13275 | 13280 | 13285 | 13290 | 13295 | 13300 | 13305 | 13310 | 13315 | 13320 | 13325 | 13330 | 13335 | 13340 | 13345 | 13350 | 13355 | 13360 | 13365 | 13370 | 13375 | 13380 | 13385 | 13390 | 13395 | 13400 | 13405 | 13410 | 13415 | 13420 | 13425 | 13430 | 13435 | 13440 | 13445 | 13450 | 13455 | 13460 | 13465 | 13470 | 13475 | 13480 | 13485 | 13490 | 13495 | 13500 | 13505 | 13510 | 13515 | 13520 | 13525 | 13530 | 13535 | 13540 | 13545 | 13550 | 13555 | 13560 | 13565 | 13570 | 13575 | 13580 | 13585 | 13590 | 13595 | 13600 | 13605 | 13610 | 13615 | 13620 | 13625 | 13630 | 13635 | 13640 | 13645 | 13650 | 13655 | 13660 | 13665 | 13670 | 13675 | 13680 | 13685 | 13690 | 13695 | 13700 | 13705 | 13710 | 13715 | 13720 | 13725 | 13730 | 13735 | 13740 | 13745 | 13750 | 13755 | 13760 | 13765 | 13770 | 13775 | 13780 | 13785 | 13790 | 13795 | 13800 | 13805 | 13810 | 13815 | 13820 | 13825 | 13830 | 13835 | 13840 | 13845 | 13850 | 13855 | 13860 | 13865 | 13870 | 13875 | 13880 | 13885 | 13890 | 13895 | 13900 | 13905 | 13910 | 13915 | 13920 | 13925 | 13930 | 13935 | 13940 | 13945 | 13950 | 13955 | 13960 | 13965 | 13970 | 13975 | 13980 | 13985 | 13990 | 13995 | 14000 | 14005 | 14010 | 14015 | 14020 | 14025 | 14030 | 14035 | 14040 | 14045 | 14050 | 14055 | 14060 | 14065 | 14070 | 14075 | 14080 | 14085 | 14090 | 14095 | 14100 | 14105 | 14110 | 14115 | 14120 | 14125 | 14130 | 14135 | 14140 | 14145 | 14150 | 14155 | 14160 | 14165 | 14170 | 14175 | 14180 | 14185 | 14190 | 14195 | 14200 | 14205 | 14210 | 14215 | 14220 | 14225 | 14230 | 14235 | 14240 | 14245 | 14250 | 14255 | 14260 | 14265 | 14270 | 14275 | 14280 | 14285 | 14290 | 14295 | 14300 | 14305 | 14310 | 14315 | 14320 | 14325 | 14330 | 14335 | 14340 | 14345 | 14350 | 14355 | 14360 | 14365 | 14370 | 14375 | 14380 | 14385 | 14390 | 14395 | 14400 | 14405 | 14410 | 14415 | 14420 | 14425 | 14430 | 14435 | 14440 | 14445 | 14450 | 14455 | 14460 | 14465 | 14470 | 14475 | 14480 | 14485 | 14490 | 14495 | 14500 | 14505 | 14510 | 14515 | 14520 | 14525 | 14530 | 14535 | 14540 | 14545 | 14550 | 14555 | 14560 | 14565 | 14570 | 14575 | 14580 | 14585 | 14590 | 14595 | 14600 | 14605 | 14610 | 14615 | 14620 | 14625 | 14630 | 14635 | 14640 | 14645 | 14650 | 14655 | 14660 | 14665 | 14670 | 14675 | 14680 | 14685 | 14690 | 14695 | 14700 | 14705 | 14710 | 14715 | 14720 | 14725 | 14730 | 14735 | 14740 | 14745 | 14750 | 14755 | 14760 | 14765 | 14770 | 14775 | 14780 | 14785 | 14790 | 14795 | 14800 | 14805 | 14810 | 14815 | 14820 | 14825 | 14830 | 14835 | 14840 | 14845 | 14850 | 14855 | 14860 | 14865 | 14870 | 14875 | 14880 | 14885 | 14890 | 14895 | 14900 | 14905 | 14910 | 14915 | 14920 | 14925 | 14930 | 14935 | 14940 | 14945 | 14950 | 14955 | 14960 | 14965 | 14970 | 14975 | 14980 | 14985 | 14990 | 14995 | 15000 | 15005 | 15010 | 15015 | 15020 | 15025 | 15030 | 15035 | 15040 | 15045 | 15050 | 15055 | 15060 | 15065 | 15070 | 15075 | 15080 | 15085 | 15090 | 15095 | 15100 | 15105 | 15110 | 15115 | 15120 | 15125 | 15130 | 15135 | 15140 | 15145 | 15150 | 15155 | 15160 | 15165 | 15170 | 15175 | 15180 | 15185 | 15190 | 15195 | 15200 | 15205 | 15210 | 15215 | 15220 | 15225 | 15230 | 15235 | 15240 | 15245 | 15250 | 15255 | 15260 | 15265 | 15270 | 15275 | 15280 | 15285 | 15290 | 15295 | 15300 | 15305 | 15310 | 15315 | 15320 | 15325 | 15330 | 15335 | 15340 | 15345 | 15350 | 15355 | 15360 | 15365 | 15370 | 15375 | 15380 | 15385 | 15390 | 15395 | 15400 | 15405 | 15410 | 15415 | 15420 | 15425 | 15430 | 15435 | 15440 | 15445 | 15450 | 15455 | 15460 | 15465 | 15470 | 15475 | 15480 | 15485 | 15490 | 15495 | 15500 | 15505 | 15510 | 15515 | 15520 | 15525 | 15530 | 15535 | 15540 | 15545 | 15550 | 15555 | 15560 | 15565 | 15570 | 15575 | 15580 | 15585 | 15590 | 15595 | 15600 | 15605 | 15610 | 15615 | 15620 | 15625 | 15630 | 15635 | 15640 | 15645 | 15650 | 15655 | 15660 | 15665 | 15670 | 15675 | 15680 | 15685 | 15690 | 15695 | 15700 | 15705 | 15710 | 15715 | 15720 | 15725 | 15730 | 15735 | 15740 | 15745 | 15750 | 15755 | 15760 | 15765 | 15770 | 15775 | 15780 | 15785 | 15790 | 15795 | 15800 | 15805 | 15810 | 15815 | 15820 | 15825 | 15830 | 15835 | 15840 | 15845 | 15850 | 15855 | 15860 | 15865 | 15870 | 15875 | 15880 | 15885 | 15890 | 15895 | 15900 | 15905 | 15910 | 15915 | 15920 | 15925 | 15930 | 15935 | 15940 | 15945 | 15950 | 15955 | 15960 | 15965 | 15970 | 15975 | 15980 | 15985 | 15990 | 15995 | 16000 | 16005 | 16010 | 16015 | 16020 | 16025 | 16030 | 16035 | 16040 | 16045 | 16050 | 16055 | 16060 | 16065 | 16070 | 16075 | 16080 | 16085 | 16090 | 16095 | 16100 | 16105 | 16110 | 16115 | 16120 | 16125 | 16130 | 16135 | 16140 | 16145 | 16150 | 16155 | 16160 | 16165 | 16170 | 16175 | 16180 | 16185 | 16190 | 16195 | 16200 | 16205 | 16210 | 16215 | 16220 | 16225 | 16230 | 16235 | 16240 | 16245 | 16250 | 16255 | 16260 | 16265 | 16270 | 16275 | 16280 | 16285 | 16290 | 16295 | 16300 | 16305 | 16310 | 16315 | 16320 | 16325 | 16330 | 16335 | 16340 | 16345 | 16350 | 16355 | 16360 | 16365 | 16370 | 16375 | 16380 | 16385 | 16390 | 16395 | 16400 | 16405 | 16410 | 16415 | 16420 | 16425 | 16430 | 16435 | 16440 | 16445 | 16450 | 16455 | 16460 | 16465 | 16470 | 16475 | 16480 | 16485 | 16490 | 16495 | 16500 | 16505 | 16510 | 16515 | 16520 | 16525 | 16530 | 16535 | 16540 | 16545 | 16550 | 16555 | 16560 | 16565 | 16570 | 16575 | 16580 | 16585 | 16590 | 16595 | 16600 | 16605 | 16610 | 16615 | 16620 | 16625 | 16630 | 16635 | 16640 | 16645 | 16650 | 16655 | 16660 | 16665 | 16670 | 16675 | 16680 | 16685 | 16690 | 16695 | 16700 | 16705 | 16710 | 16715 | 16720 | 16725 | 16730 | 16735 | 16740 | 16745 | 16750 | 16755 | 16760 | 16765 | 16770 | 16775 | 16780 | 16785 | 16790 | 16795 | 16800 | 16805 | 16810 | 16815 | 16820 | 16825 | 16830 | 16835 | 16840 | 16845 | 16850 | 16855 | 16860 | 16865 | 16870 | 16875 | 16880 | 16885 | 16890 | 16895 | 16900 | 16905 | 16910 | 16915 | 16920 | 16925 | 16930 | 16935 | 16940 | 16945 | 16950 | 16955 | 16960 | 16965 | 16970 | 16975 | 16980 | 16985 | 16990 | 16995 | 17000 | 17005 | 17010 | 17015 | 17020 | 17025 | 17030 | 17035 | 17040 | 17045 | 17050 | 17055 | 17060 | 17065 | 17070 | 17075 | 17080 | 17085 | 17090 | 17095 | 17100 | 17105 | 17110 | 17115 | 17120 | 17125 | 17130 | 17135 | 17140 | 17145 | 17150 | 17155 | 17160 | 17165 | 17170 | 17175 | 17180 | 17185 | 17190 | 17195 | 17200 | 17205 | 17210 | 17215 | 17220 | 17225 | 17230 | 17235 | 17240 | 17245 | 17250 | 17255 | 17260 | 17265 | 17270 | 17275 | 17280 | 17285 | 17290 | 17295 | 17300 | 17305 | 17310 | 17315 | 17320 | 17325 | 17330 | 17335 | 17340 | 17345 | 17350 | 17355 | 17360 | 17365 | 17370 | 17375 | 17380 | 17385 | 17390 | 17395 | 17400 | 17405 | 17410 | 17415 | 17420 | 17425 | 17430 | 17435 | 17440 | 17445 | 17450 | 17455 | 17460 | 17465 | 17470 | 17475 | 17480 | 17485 | 17490 | 17495 | 17500 | 17505 | 17510 | 17515 | 17520 | 17525 | 17530 | 17535 | 17540 | 17545 | 17550 | 17555 | 17560 | 17565 | 17570 | 17575 | 17580 | 17585 | 17590 | 17595 | 17600 | 17605 | 17610 | 17615 | 17620 | 17625 | 17630 | 17635 | 17640 | 17645 | 17650 | 17655 | 17660 | 17665 | 17670 | 17675 | 17680 | 17685 | 17690 | 17695 | 17700 | 17705 | 17710 | 17715 | 17720 | 17725 | 17730 | 17735 | 17740 | 17745 | 17750 | 17755 | 17760 | 17765 | 17770 | 17775 | 17780 | 17785 | 17790 | 17795 | 17800 | 17805 | 17810 | 17815 | 17820 | 17825 | 17830 | 17835 | 17840 | 17845 | 17850 | 17855 | 17860 | 17865 | 17870 | 17875 | 17880 | 17885 | 17890 | 17895 | 17900 | 17905 | 17910 | 17915 | 17920 | 17925 | 17930 | 17935 | 17940 | 17945 | 17950 | 17955 | 17960 | 17965 | 17970 | 17975 | 17980 | 17985 | 17990 | 17995 | 18000 | 18005 | 18010 | 18015 | 18020 | 18025 | 18030 | 18035 | 18040 | 18045 | 18050 | 18055 | 18060 | 18065 | 18070 | 18075 | 18080 | 18085 | 18090 | 18095 | 18100 | 18105 | 18110 | 18115 | 18120 | 18125 | 18130 | 18135 | 18140 | 18145 | 18150 | 18155 | 18160 | 18165 | 18170 | 18175 | 18180 | 18185 | 18190 | 18195 | 18200 | 18205 | 18210 | 18215 | 18220 | 18225 | 18230 | 18235 | 18240 | 18245 | 18250 | 18255 | 18260 | 18265 | 18270 | 18275 | 18280 | 18285 | 18290 | 18295 | 18300 | 18305 | 18310 | 18315 | 18320 | 18325 | 18330 | 18335 | 18340 | 18345 | 18350 | 18355 | 18360 | 18365 | 18370 | 18375 | 18380 | 18385 | 18390 | 18395 | 18400 | 18405 | 18410 | 18415 | 18420 | 18425 | 18430 | 18435 | 18440 | 18445 | 18450 | 18455 | 18460 | 18465 | 18470 | 18475 | 18480 | 18485 | 18490 | 18495 | 18500 | 18505 | 18510 | 18515 | 18520 | 18525 | 18530 | 18535 | 18540 | 18545 | 18550 | 18555 | 18560 | 18565 | 18570 | 18575 | 18580 | 18585 | 18590 | 18595 | 18600 | 18605 | 18610 | 18615 | 18620 | 18625 | 18630 | 18635 | 18640 | 18645 | 18650 | 18655 | 18660 | 18665 | 18670 | 18675 | 18680 | 18685 | 18690 | 18695 | 18700 | 18705 | 18710 | 18715 | 18720 | 18725 | 18730 | 18735 | 18740 | 18745 | 18750 | 18755 | 18760 | 18765 | 18770 | 18775 | 18780 | 18785 | 18790 | 18795 | 18800 | 18805 | 18810 | 18815 | 18820 | 18825 | 18830 | 18835 | 18840 | 18845 | 18850 | 18855 | 18860 | 18865 | 18870 | 18875 | 18880 | 18885 | 18890 | 18895 | 18900 | 18905 | 18910 | 18915 | 18920 | 18925 | 18930 | 18935 | 18940 | 18945 | 18950 | 18955 | 18960 | 18965 | 18970 | 18975 | 18980 | 18985 | 18990 | 18995 | 19000 | 19005 | 19010 | 19015 | 19020 | 19025 | 19030 | 19035 | 19040 | 19045 | 19050 | 19055 | 19060 | 19065 | 19070 | 19075 | 19080 | 19085 | 19090 | 19095 | 19100 | 19105 | 19110 | 19115 | 19120 | 19125 | 19130 | 19135 | 19140 | 19145 | 19150 | 19155 | 19160 | 19165 | 19170 | 19175 | 19180 | 19185 | 19190 | 19195 | 19200 | 19205 | 19210 | 19215 | 19220 | 19225 | 19230 | 19235 | 19240 | 19245 | 19250 | 19255 | 19260 | 19265 | 19270 | 19275 | 19280 | 19285 | 19290 | 19295 | 19300 | 19305 | 19310 | 19315 | 19320 | 19325 | 19330 | 19335 | 19340 | 19345 | 19350 | 19355 | 19360 | 19365 | 19370 | 19375 | 19380 | 19385 | 19390 | 19395 | 19400 | 19405 | 19410 | 19415 | 19420 | 19425 | 19430 | 19435 | 19440 | 19445 | 19450 | 19455 | 19460 | 19465 | 19470 | 19475 | 19480 | 19485 | 19490 | 19495 | 19500 | 19505 | 19510 | 19515 | 19520 | 19525 | 19530 | 19535 | 19540 | 19545 | 19550 | 19555 | 19560 | 19565 | 19570 | 19575 | 19580 | 19585 | 19590 | 19595 | 19600 | 19605 | 19610 | 19615 | 19620 | 19625 | 19630 | 19635 | 19640 | 19645 | 19650 | 19655 | 19660 | 19665 | 19670 | 19675 | 19680 | 19685 | 19690 | 19695 | 19700 | 19705 | 19710 | 19715 | 19720 | 19725 | 19730 | 19735 | 19740 | 19745 | 19750 | 19755 | 19760 | 19765 | 19770 | 19775 | 19780 | 19785 | 19790 | 19795 | 19800 | 19805 | 19810 | 19815 | 19820 | 19825 | 19830 | 19835 | 19840 | 19845 | 19850 | 19855 | 19860 | 19865 | 19870 | 19875 | 19880 | 19885 | 19890 | 19895 | 19900 | 19905 | 19910 | 19915 | 19920 | 19925 | 19930 | 19935 | 19940 | 19945 | 19950 | 19955 | 19960 | 19965 | 19970 | 19975 | 19980 | 19985 | 19990 | 19995 | 20000 | 20005 | 20010 | 20015 | 20020 | 20025 | 20030 | 20035 | 20040 | 20045 | 20050 | 20055 | 20060 | 20065 | 20070 | 20075 | 20080 | 20085 | 20090 | 20095 | 20100 | 20105 | 20110 | 20115 | 20120 | 20125 | 20130 | 20135 | 20140 | 20145 | 20150 | 20155 | 20160 | 20165 | 20170 | 20175 | 20180 | 20185 | 20190 | 20195 | 20200 | 20205 | 20210 | 20215 | 20220 | 20225 | 20230 | 20235 | 20240 | 20245 | 20250 | 20255 | 20260 | 20265 | 20270 | 20275 | 20280 | 20285 | 20290 | 20295 | 20300 | 20305 | 20310 | 20315 | 20320 | 20325 | 20330 | 20335 | 20340 | 20345 | 20350 | 20355 | 20360 | 20365 | 20370 | 20375 | 20380 | 20385 | 20390 | 20395 | 20400 | 20405 | 20410 | 20415 | 20420 | 20425 | 20430 | 20435 | 20440 | 20445 | 20450 | 20455 | 20460 | 20465 | 20470 | 20475 | 20480 | 20485 | 20490 | 20495 | 20500 | 20505 | 20510 | 20515 | 20520 | 20525 | 20530 | 20535 | 20540 | 20545 | 20550 | 20555 | 20560 | 20565 | 20570 | 20575 | 20580 | 20585 | 20590 | 20595 | 20600 | 20605 | 20610 | 20615 | 20620 | 20625 | 20630 | 20635 | 20640 | 20645 | 20650 | 20655 | 20660 | 20665 | 20670 | 20675 | 20680 | 20685 | 20690 | 20695 | 20700 | 20705 | 20710 | 20715 | 20720 | 20725 | 20730 | 20735 | 20740 | 20745 | 20750 | 20755 | 20760 | 20765 | 20770 | 20775 | 20780 | 20785 | 20790 | 20795 | 20800 | 20805 | 20810 | 20815 | 20820 | 20825 | 20830 | 20835 | 20840 | 20845 | 20850 | 20855 | 20860 | 20865 | 20870 | 20875 | 20880 | 20885 | 20890 | 20895 | 20900 | 20905 | 20910 | 20915 | 20920 | 20925 | 20930 | 20935 | 20940 | 20945 | 20950 | 20955 | 20960 | 20965 | 20970 | 20975 | 20980 | 20985 | 20990 | 20995 | 21000 | 21005 | 21010 | 21015 | 21020 | 21025 | 21030 | 21035 | 21040 | 21045 | 21050 | 21055 | 21060 | 21065 | 21070 | 21075 | 21080 | 21085 | 21090 | 21095 | 21100 | 21105 | 21110 | 21115 | 21120 | 21125 | 21130 | 21135 | 21140 | 21145 | 21150 | 21155 | 21160 | 21165 | 21170 | 21175 | 21180 | 21185 | 21190 | 21195 | 21200 | 21205 | 21210 | 21215 | 21220 | 21225 | 21230 | 21235 | 21240 | 21245 | 21250 | 21255 | 21260 | 21265 | 21270 | 21275 | 21280 | 21285 | 21290 | 21295 | 21300 | 21305 | 21310 | 21315 | 21320 | 21325 | 21330 | 21335 | 21340 | 21345 | 21350 | 21355 | 21360 | 21365 | 21370 | 21375 | 21380 | 21385 | 21390 | 21395 | 21400 | 21405 | 21410 | 21415 | 21420 | 21425 | 21430 | 21435 | 21440 | 21445 | 21450 | 21455 | 21460 | 21465 | 21470 | 21475 | 21480 | 21485 | 21490 | 21495 | 21500 | 21505 | 21510 | 21515 | 21520 | 21525 | 21530 | 21535 | 21540 | 21545 | 21550 | 21555 | 21560 | 21565 | 21570 | 21575 | 21580 | 21585 | 21590 | 21595 | 21600 | 21605 | 21610 | 21615 | 21620 | 21625 | 21630 | 21635 | 21640 | 21645 | 21650 | 21655 | 21660 | 21665 | 21670 | 21675 | 21680 | 21685 | 21690 | 21695 | 21700 | 21705 | 21710 | 21715 | 21720 | 21725 | 21730 | 21735 | 21740 | 21745 | 21750 | 21755 | 21760 | 21765 | 21770 | 21775 | 21780 | 21785 | 21790 | 21795 | 21800 | 21805 | 21810 | 21815 | 21820 | 21825 | 21830 | 21835 | 21840 | 21845 | 21850 | 21855 | 21860 | 21865 | 21870 | 21875 | 21880 | 21885 | 21890 | 21895 | 21900 | 21905 | 21910 | 21915 | 21920 | 21925 | 21930 | 21935 | 21940 | 21945 | 21950 | 21955 | 21960 | 21965 | 21970 | 21975 | 21980 | 21985 | 21990 | 21995 | 22000 | 22005 | 22010 | 22015 | 22020 | 22025 | 22030 | 22035 | 22040 | 22045 | 22050 | 22055 | 22060 | 22065 | 22070 | 22075 | 22080 | 22085 | 22090 | 22095 | 22100 | 22105 | 22110 | 22115 | 22120 | 22125 | 22130 | 22135 | 22140 | 22145 | 22150 | 22155 | 22160 | 22165 | 22170 | 22175 | 22180 | 22185 | 22190 | 22195 | 22200 | 22205 | 22210 | 22215 | 22220 | 22225 | 22230 | 22235 | 22240 | 22245 | 22250 | 22255 | 22260 | 22265 | 22270 | 22275 | 22280 | 22285 | 22290 | 22295 | 22300 | 22305 | 22310 | 22315 | 22320 | 22325 | 22330 | 22335 | 22340 | 22345 | 22350 | 22355 | 22360 | 22365 | 22370 | 22375 | 22380 | 22385 | 22390 | 22395 | 22400 | 22405 | 22410 | 22415 | 22420 | 22425 | 22430 | 22435 | 22440 | 22445 | 22450 | 22455 | 22460 | 22465 | 22470 | 22475 | 22480 | 22485 | 22490 | 22495 | 22500 | 22505 | 22510 | 22515 | 22520 | 22525 | 22530 | 22535 | 22540 | 22545 | 22550 | 22555 | 22560 | 22565 | 22570 | 22575 | 22580 | 22585 | 22590 | 22595 | 22600 | 22605 | 22610 | 22615 | 22620 | 22625 | 22630 | 22635 | 22640 | 22645 | 22650 | 22655 | 22660 | 22665 | 22670 | 22675 | 22680 | 22685 | 22690 | 22695 | 22700 | 22705 | 22710 | 22715 | 22720 | 22725 | 22730 | 22735 | 22740 | 22745 | 22750 | 22755 | 22760 | 22765 | 22770 | 22775 | 22780 | 22785 | 22790 | 22795 | 22800 | 22805 | 22810 | 22815 | 22820 | 22825 | 22830 | 22835 | 22840 | 22845 | 22850 | 22855 | 22860 | 22865 | 22870 | 22875 | 22880 | 22885 | 22890 | 22895 | 22900 | 22905 | 22910 | 22915 | 22920 | 22925 | 22930 | 22935 | 22940 | 22945 | 22950 | 22955 | 22960 | 22965 | 22970 | 22975 | 22980 | 22985 | 22990 | 22995 | 23000 | 23005 | 23010 | 23015 | 23020 | 23025 | 23030 | 23035 | 23040 | 23045 | 23050 | 23055 | 23060 | 23065 | 23070 | 23075 | 23080 | 23085 | 23090 | 23095 | 23100 | 23105 | 23110 | 23115 | 23120 | 23125 | 23130 | 23135 | 23140 | 23145 | 23150 | 23155 | 23160 | 23165 | 23170 | 23175 | 23180 | 23185 | 23190 | 23195 | 23200 | 23205 | 23210 | 23215 | 23220 | 23225 | 23230 | 23235 | 23240 | 23245 | 23250 | 23255 | 23260 | 23265 | 23270 | 23275 | 23280 | 23285 | 23290 | 23295 | 23300 | 23305 | 23310 | 23315 | 23320 | 23325 | 23330 | 23335 | 23340 | 23345 | 23350 | 23355 | 23360 | 23365 | 23370 | 23375 | 23380 | 23385 | 23390 | 23395 | 23400 | 23405 | 23410 | 23415 | 23420 | 23425 | 23430 | 23435 | 23440 | 23445 | 23450 | 23455 | 23460 | 23465 | 23470 | 23475 | 23480 | 23485 | 23490 | 23495 | 23500 | 23505 | 23510 | 23515 | 23520 | 23525 | 23530 | 23535 | 23540 | 23545 | 23550 | 23555 | 23560 | 23565 | 23570 | 23575 | 23580 | 23585 | 23590 | 23595 | 23600 | 23605 | 23610 | 23615 | 23620 | 23625 | 23630 | 23635 | 23640 | 23645 | 23650 | 23655 | 23660 | 23665 | 23670 | 23675 | 23680 | 23685 | 23690 | 23695 | 23700 | 23705 | 23710 | 23715 | 23720 | 23725 | 23730 | 23735 | 23740 | 23745 | 23750 | 23755 | 23760 | 23765 | 23770 | 23775 | 23780 | 23785 | 23790 | 23795 | 23800 | 23805 | 23810 | 23815 | 23820 | 23825 | 23830 | 23835 | 23840 | 23845 | 23850 | 23855 | 23860 | 23865 | 23870 | 23875 | 23880 | 23885 | 23890 | 23895 | 23900 | 23905 | 23910 | 23915 | 23920 | 23925 | 23930 | 23935 | 23940 | 23945 | 23950 | 23955 | 23960 | 23965 | 23970 | 23975 | 23980 | 23985 | 23990 | 23995 | 24000 | 24005 | 24010 | 24015 | 24020 | 24025 | 24030 | 24035 | 24040 | 24045 | 24050 | 24055 | 24060 | 24065 | 24070 | 24075 | 24080 | 24085 | 24090 | 24095 | 24100 | 24105 | 24110 | 24115 | 24120 | 24125 | 24130 | 24135 | 24140 | 24145 | 24150 | 24155 | 24160 | 24165 | 24170 | 24175 | 24180 | 24185 | 24190 | 24195 | 24200 | 24205 | 24210 | 24215 | 24220 | 24225 | 24230 | 24235 | 24240 | 24245 | 24250 | 24255 | 24260 | 24265 | 24270 | 24275 | 24280 | 24285 | 24290 | 24295 | 24300 | 24305 | 24310 | 24315 | 24320 | 24325 | 24330 | 24335 | 24340 | 24345 | 24350 | 24355 | 24360 | 24365 | 24370 | 24375 | 24380 | 24385 | 24390 | 24395 | 24400 | 24405 | 24410 | 24415 | 24420 | 24425 | 24430 | 24435 | 24440 | 24445 | 24450 | 24455 | 24460 | 24465 | 24470 | 24475 | 24480 | 24485 | 24490 | 24495 | 24500 | 24505 | 24510 | 24515 | 24520 | 24525 | 24530 | 24535 | 24540 | 24545 | 24550 | 24555 | 24560 | 24565 | 24570 | 24575 | 24580 | 24585 | 24590 | 24595 | 24600 | 24605 | 24610 | 24615 | 24620 | 24625 | 24630 | 24635 | 24640 | 24645 | 24650 | 24655 | 24660 | 24665 | 24670 | 24675 | 24680 | 24685 | 24690 | 24695 | 24700 | 24705 | 24710 | 24715 | 24720 | 24725 | 24730 | 24735 | 24740 | 24745 | 24750 | 24755 | 24760 | 24765 | 24770 | 24775 | 24780 | 24785 | 24790 | 24795 | 24800 | 24805 | 24810 | 24815 | 24820 | 24825 | 24830 | 24835 | 24840 | 24845 | 24850 | 24855 | 24860 | 24865 | 24870 | 24875 | 24880 | 24885 | 24890 | 24895 | 24900 | 24905 | 24910 | 24915 | 24920 | 24925 | 24930 | 24935 | 24940 | 24945 | 24950 | 24955 | 24960 | 24965 | 24970 | 24975 | 24980 | 24985 | 24990 | 24995 | 25000 | 25005 | 25010 | 25015 | 25020 | 25025 | 25030 | 25035 | 25040 | 25045 | 25050 | 25055 | 25060 | 25065 | 25070 | 25075 | 25080 | 25085 | 25090 | 25095 | 25100 | 25105 | 25110 | 25115 | 25120 | 25125 | 25130 | 25135 | 25140 | 25145 | 25150 | 25155 | 25160 | 25165 | 25170 | 25175 | 25180 | 25185 | 25190 | 25195 | 25200 | 25205 | 25210 | 25215 | 25220 | 25225 | 25230 | 25235 | 25240 | 25245 | 25250 | 25255 | 25260 | 25265 | 25270 | 25275 | 25280 | 25285 | 25290 | 25295 | 25300 | 25305 | 25310 | 25315 | 25320 | 25325 | 25330 | 25335 | 25340 | 25345 | 25350 | 25355 | 25360 | 25365 | 25370 | 25375 | 25380 | 25385 | 25390 | 25395 | 25400 | 25405 | 25410 | 25415 | 25420 | 25425 | 25430 | 25435 | 25440 | 25445 | 25450 | 25455 | 25460 | 25465 | 25470 | 25475 | 25480 | 25485 | 25490 | 25495 | 25500 | 25505 | 25510 | 25515 | 25520 | 25525 | 25530 | 25535 | 25540 | 25545 | 25550 | 25555 | 25560 | 25565 | 25570 | 25575 | 25580 | 25585 | 25590 | 25595 | 25600 | 25605 | 25610 | 25615 | 25620 | 25625 | 25630 | 25635 | 25640 | 25645 | 25650 | 25655 | 25660 | 25665 | 25670 | 25675 | 25680 | 25685 | 25690 | 25695 | 25700 | 25705 | 25710 | 25715 | 25720 | 25725 | 25730 | 25735 | 25740 | 25745 | 25750 | 25755 | 25760 | 25765 | 25770 | 25775 | 25780 | 25785 | 25790 | 25795 | 25800 | 25805 | 25810 | 25815 | 25820 | 25825 | 25830 | 25835 | 25840 | 25845 | 25850 | 25855 | 25860 | 25865 | 25870 | 25875 | 25880 | 25885 | 25890 | 25895 | 25900 | 25905 | 25910 | 25915 | 25920 | 25925 | 25930 | 25935 | 25940 | 25945 | 25950 | 25955 | 25960 | 25965 | 25970 | 25975 | 25980 | 25985 | 25990 | 25995 | 26000 | 26005 | 26010 | 26015 | 26020 | 26025 | 26030 | 26035 | 26040 | 26045 | 26050 | 26055 | 26060 | 26065 | 26070 | 26075 | 26080 | 26085 | 26090 | 26095 | 26100 | 26105 | 26110 | 26115 | 26120 | 26125 | 26130 | 26135 | 26140 | 26145 | 26150 | 26155 | 26160 | 26165 | 26170 | 26175 | 26180 | 26185 | 26190 | 26195 | 26200 | 26205 | 26210 | 26215 | 26220 | 26225 | 26230 | 26235 | 26240 | 26245 | 26250 | 26255 | 26260 | 26265 | 26270 | 26275 | 26280 | 26285 | 26290 | 26295 | 26300 | 26305 | 26310 | 26315 | 26320 | 26325 | 26330 | 26335 | 26340 | 26345 | 26350 | 26355 | 26360 | 26365 | 26370 | 26375 | 26380 | 26385 | 26390 | 26395 | 26400 | 26405 | 26410 | 26415 | 26420 | 26425 | 26430 | 26435 | 26440 | 26445 | 26450 | 26455 | 26460 | 26465 | 26470 | 26475 | 26480 | 26485 | 26490 | 26495 | 26500 | 26505 | 26510 | 26515 | 26520 | 26525 | 26530 | 26535 | 26540 | 26545 | 26550 | 26555 | 26560 | 26565 | 26570 | 26575 | 26580 | 26585 | 26590 | 26595 | 26600 | 26605 | 26610 | 26615 | 26620 | 26625 | 26630 | 26635 | 26640 | 26645 | 26650 | 26655 | 26660 | 26665 | 26670 | 26675 | 26680 | 26685 | 26690 | 26695 | 26700 | 26705 | 26710 | 26715 | 26720 | 26725 | 26730 | 26735 | 26740 | 26745 | 26750 | 26755 | 26760 | 26765 | 26770 | 26775 | 26780 | 26785 | 26790 | 26795 | 26800 | 26805 | 26810 | 26815 | 26820 | 26825 | 26830 | 26835 | 26840 | 26845 | 26850 | 26855 | 26860 | 26865 | 26870 | 26875 | 26880 | 26885 | 26890 | 26895 | 26900 | 26905 | 26910 | 26915 | 26920 | 26925 | 26930 | 26935 | 26940 | 26945 | 26950 | 26955 | 26960 | 26965 | 26970 | 26975 | 26980 | 26985 | 26990 | 26995 | 27000 | 27005 | 27010 | 27015 | 27020 | 27025 | 27030 | 27035 | 27040 | 27045 | 27050 | 27055 | 27060 | 27065 | 27070 | 27075 | 27080 | 27085 | 27090 | 27095 | 27100 | 27105 | 27110 | 27115 | 27120 | 27125 | 27130 | 27135 | 27140 | 27145 | 27150 | 27155 | 27160 | 27165 | 27170 | 27175 | 27180 | 27185 | 27190 | 27195 | 27200 | 27205 | 27210 | 27215 | 27220 | 27225 | 27230 | 27235 | 27240 | 27245 | 27250 | 27255 | 27260 | 27265 | 27270 | 27275 | 27280 | 27285 | 27290 | 27295 | 27300 | 27305 | 27310 | 27315 | 27320 | 27325 | 27330 | 27335 | 27340 | 27345 | 27350 | 27355 | 27360 | 27365 | 27370 | 27375 | 27380 | 27385 | 27390 | 27395 | 27400 | 27405 | 27410 | 27415 | 27420 | 27425 | 27430 | 27435 | 27440 | 27445 | 27450 | 27455 | 27460 | 27465 | 27470 | 27475 | 27480 | 27485 | 27490 | 27495 | 27500 | 27505 | 27510 | 27515 | 27520 | 27525 | 27530 | 27535 | 27540 | 27545 | 27550 | 27555 | 27560 | 27565 | 27570 | 27575 | 27580 | 27585 | 27590 | 27595 | 27600 | 27605 | 27610 | 27615 | 27620 | 27625 | 27630 | 27635 | 27640 | 27645 | 27650 | 27655 | 27660 | 27665 | 27670 | 27675 | 27680 | 27685 | 27690 | 27695 | 27700 | 27705 | 27710 | 27715 | 27720 | 27725 | 27730 | 27735 | 27740 | 27745 | 27750 | 27755 | 27760 | 27765 | 27770 | 27775 | 27780 | 27785 | 27790 | 27795 | 27800 | 27805 | 27810 | 27815 | 27820 | 27825 | 27830 | 27835 | 27840 | 27845 | 27850 | 27855 | 27860 | 27865 | 27870 | 27875 | 27880 | 27885 | 27890 | 27895 | 27900 | 27905 | 27910 | 27915 | 27920 | 27925 | 27930 | 27935 | 27940 | 27945 | 27950 | 27955 | 27960 | 27965 | 27970 | 27975 | 27980 | 27985 | 27990 | 27995 | 28000 | 28005 | 28010 | 28015 | 28020 | 28025 | 28030 | 28035 | 28040 | 28045 | 28050 | 28055 | 28060 | 28065 | 28070 | 28075 | 28080 | 28085 | 28090 | 28095 | 28100 | 28105 | 28110 | 28115 | 28120 | 28125 | 28130 | 28135 | 28140 | 28145 | 28150 | 28155 | 28160 | 28165 | 28170 | 28175 | 28180 | 28185 | 28190 | 28195 | 28200 | 28205 | 28210 | 28215 | 28220 | 28225 | 28230 | 28235 | 28240 | 28245 | 28250 | 28255 | 28260 | 28265 | 28270 | 28275 | 28280 | 28285 | 28290 | 28295 | 28300 | 28305 | 28310 | 28315 | 28320 | 28325 | 28330 | 28335 | 28340 | 28345 | 28350 | 28355 | 28360 | 28365 | 28370 | 28375 | 28380 | 28385 | 28390 | 28395 | 28400 | 28405 | 28410 | 28415 | 28420 | 28425 | 28430 | 28435 | 28440 | 28445 | 28450 | 28455 | 28460 | 28465 | 28470 | 28475 | 28480 | 28485 | 28490 | 28495 | 28500 | 28505 | 28510 | 28515 | 28520 | 28525 | 28530 | 28535 | 28540 | 28545 | 28550 | 28555 | 28560 | 28565 | 28570 | 28575 | 28580 | 28585 | 28590 | 28595 | 28600 | 28605 | 28610 | 28615 | 28620 | 28625 | 28630 | 28635 | 28640 | 28645 | 28650 | 28655 | 28660 | 28665 | 28670 | 28675 | 28680 | 28685 | 28690 | 28695 | 28700 | 28705 | 28710 | 28715 | 28720 | 28725 | 28730 | 28735 | 28740 | 28745 | 28750 | 28755 | 28760 | 28765 | 28770 | 28775 | 28780 | 28785 | 28790 | 28795 | 28800 | 28805 | 28810 | 28815 | 28820 | 28825 | 28830 | 28835 | 28840 | 28845 | 28850 | 28855 | 28860 | 28865 | 28870 | 28875 | 28880 | 28885 | 28890 | 28895 | 28900 | 28905 | 28910 | 28915 | 28920 | 28925 | 28930 | 28935 | 28940 | 28945 | 28950 | 28955 | 28960 | 28965 | 28970 | 28975 | 28980 | 28985 | 28990 | 28995 | 29000 | 29005 | 29010 | 29015 | 29020 | 29025 | 29030 | 29035 | 29040 | 29045 | 29050 | 29055 | 29060 | 29065 | 29070 | 29075 | 29080 | 29085 | 29090 | 29095 | 29100 | 29105 | 29110 | 29115 | 29120 | 29125 | 29130 | 29135 | 29140 | 29145 | 29150 | 29155 | 29160 | 29165 | 29170 | 29175 | 29180 | 29185 | 29190 | 29195 | 29200 | 29205 | 29210 | 29215 | 29220 | 29225 | 29230 | 29235 | 29240 | 29245 | 29250 | 29255 | 29260 | 29265 | 29270 | 29275 | 29280 | 29285 | 29290 | 29295 | 29300 | 29305 | 29310 | 29315 | 29320 | 29325 | 29330 | 29335 | 29340 | 29345 | 29350 | 29355 | 29360 | 29365 | 29370 | 29375 | 29380 | 29385 | 29390 | 29395 | 29400 | 29405 | 29410 | 29415 | 29420 | 29425 | 29430 | 29435 | 29440 | 29445 | 29450 | 29455 | 29460 | 29465 | 29470 | 29475 | 29480 | 29485 | 29490 | 29495 | 29500 | 29505 | 29510 | 29515 | 29520 | 29525 | 29530 | 29535 | 29540 | 29545 | 29550 | 29555 | 29560 | 29565 | 29570 | 29575 | 29580 | 29585 | 29590 | 29595 | 29600 | 29605 | 29610 | 29615 | 29620 | 29625 | 29630 | 29635 | 29640 | 29645 | 29650 | 29655 | 29660 | 29665 | 29670 | 29675 | 29680 | 29685 | 29690 | 29695 | 29700 | 29705 | 29710 | 29715 | 29720 | 29725 | 29730 | 29735 | 29740 | 29745 | 29750 | 29755 | 29760 | 29765 | 29770 | 29775 | 29780 | 29785 | 29790 | 29795 | 29800 | 29805 | 29810 | 29815 | 29820 | 29825 | 29830 | 29835 | 29840 | 29845 | 29850 | 29855 | 29860 | 29865 | 29870 | 29875 | 29880 | 29885 | 29890 | 29895 | 29900 | 29905 | 29910 | 29915 | 29920 | 29925 | 29930 | 29935 | 29940 | 29945 | 29950 | 29955 | 29960 | 29965 | 29970 | 29975 | 29980 | 29985 | 29990 | 29995 | 30000 | 30005 | 30010 | 30015 | 30020 | 30025 | 30030 | 30035 | 30040 | 30045 | 30050 | 30055 | 30060 | 30065 | 30070 | 30075 | 30080 | 30085 | 30090 | 30095 | 30100 | 30105 | 30110 | 30115 | 30120 | 30125 | 30130 | 30135 | 30140 | 30145 | 30150 | 30155 | 30160 | 30165 | 30170 | 30175 | 30180 | 30185 | 30190 | 30195 | 30200 | 30205 | 30210 | 30215 | 30220 | 30225 | 30230 | 30235 | 30240 | 30245 | 30250 | 30255 | 30260 | 30265 | 30270 | 30275 | 30280 | 30285 | 30290 | 30295 | 30300 | 30305 | 30310 | 30315 | 30320 | 30325 | 30330 | 30335 | 30340 | 30345 | 30350 | 30355 | 30360 | 30365 | 30370 | 30375 | 30380 | 30385 | 30390 | 30395 | 30400 | 30405 | 30410 | 30415 | 30420 | 30425 | 30430 | 30435 | 30440 | 30445 | 30450 | 30455 | 30460 | 30465 | 30470 | 30475 | 30480 | 30485 | 30490 | 30495 | 30500 | 30505 | 30510 | 30515 | 30520 | 30525 | 30530 | 30535 | 30540 | 30545 | 30550 | 30555 | 30560 | 30565 | 30570 | 30575 | 30580 | 30585 | 30590 | 30595 | 30600 | 30605 | 30610 | 30615 | 30620 | 30625 | 30630 | 30635 | 30640 | 30645 | 30650 | 30655 | 30660 | 30665 | 30670 | 30675 | 30680 | 30685 | 30690 | 30695 | 30700 | 30705 | 30710 | 30715 | 30720 | 30725 | 30730 | 30735 | 30740 | 30745 | 30750 | 30755 | 30760 | 30765 | 30770 | 30775 | 30780 | 30785 | 30790 | 30795 | 30800 | 30805 | 30810 | 30815 | 30820 | 30825 | 30830 | 30835 | 30840 | 30845 | 30850 | 30855 | 30860 | 30865 | 30870 | 30875 | 30880 | 30885 | 30890 | 30895 | 30900 | 30905 | 30910 | 30915 | 30920 | 30925 | 30930 | 30935 | 30940 | 30945 | 30950 | 30955 | 30960 | 30965 | 30970 | 30975 | 30980 | 30985 | 30990 | 30995 | 31000 | 31005 | 31010 | 31015 | 31020 | 31025 | 31030 | 31035 | 31040 | 31045 | 31050 | 31055 | 31060 | 31065 | 31070 | 31075 | 31080 | 31085 | 31090 | 31095 | 31100 | 31105 | 31110 | 31115 | 31120 | 31125 | 31130 | 31135 | 31140 | 31145 | 31150 | 31155 | 31160 | 31165 | 31170 | 31175 | 31180 | 31185 | 31190 | 31195 | 31200 | 31205 | 31210 | 31215 | 31220 | 31225 | 31230 | 31235 | 31240 | 31245 | 31250 | 31255 | 31260 | 31265 | 31270 | 31275 | 31280 | 31285 | 31290 | 31295 | 31300 | 31305 | 31310 | 31315 | 31320 | 31325 | 31330 | 31335 | 31340 | 31345 | 31350 | 31355 | 31360 | 31365 | 31370 | 31375 | 31380 | 31385 | 31390 | 31395 | 31400 | 31405 | 31410 | 31415 | 31420 | 31425 | 31430 | 31435 | 31440 | 31445 | 31450 | 31455 | 31460 | 31465 | 31470 | 31475 | 31480 | 31485 | 31490 | 31495 | 31500 | 31505 | 31510 | 31515 | 31520 | 31525 | 31530 | 31535 | 31540 | 31545 | 31550 | 31555 | 31560 | 31565 | 31570 | 31575 | 31580 | 31585 | 31590 | 31595 | 31600 | 31605 | 31610 | 31615 | 31620 | 31625 | 31630 | 31635 | 31640 | 31645 | 31650 | 31655 | 31660 | 31665 | 31670 | 31675 | 31680 | 31685 | 31690 | 31695 | 31700 | 31705 | 31710 | 31715 | 31720 | 31725 | 31730 | 31735 | 31740 | 31745 | 31750 | 31755 | 31760 | 31765 | 31770 | 31775 | 31780 | 31785 | 31790 | 31795 | 31800 | 31805 | 31810 | 31815 | 31820 | 31825 | 31830 | 31835 | 31840 | 31845 | 31850 | 31855 | 31860 | 31865 | 31870 | 31875 | 31880 | 31885 | 31890 | 31895 | 31900 | 31905 | 31910 | 31915 | 31920 | 31925 | 31930 | 31935 | 31940 | 31945 | 31950 | 31955 | 31960 | 31965 | 31970 | 31975 | 31980 | 31985 | 31990 | 31995 | 32000 | 32005 | 32010 | 32015 | 32020 | 32025 | 32030 | 32035 | 32040 | 32045 | 32050 | 32055 | 32060 | 32065 | 32070 | 32075 | 32080 | 32085 | 32090 | 32095 | 32100 | 32105 | 32110 | 32115 | 32120 | 32125 | 32130 | 32135 | 32140 | 32145 | 32150 | 32155 | 32160 | 32165 | 32170 | 32175 | 32180 | 32185 | 32190 | 32195 | 32200 | 32205 | 32210 | 32215 | 32220 | 32225 | 32230 | 32235 | 32240 | 32245 | 32250 | 32255 | 32260 | 32265 | 32270 | 32275 | 32280 | 32285 | 32290 | 32295 | 32300 | 32305 | 32310 | 32315 | 32320 | 32325 | 32330 | 32335 | 32340 | 32345 | 32350 | 32355 | 32360 | 32365 | 32370 | 32375 | 32380 | 32385 | 32390 | 32395 | 32400 | 32405 | 32410 | 32415 | 32420 | 32425 | 32430 | 32435 | 32440 | 32445 | 32450 | 32455 | 32460 | 32465 | 32470 | 32475 | 32480 | 32485 | 32490 | 32495 | 32500 | 32505 | 32510 | 32515 | 32520 | 32525 | 32530 | 32535 | 32540 | 32545 | 32550 | 32555 | 32560 | 32565 | 32570 | 32575 | 32580 | 32585 | 32590 | 32595 | 32600 | 32605 | 32610 | 32615 | 32620 | 32625 | 32630 | 32635 | 32640 | 32645 | 32650 | 32655 | 32660 | 32665 | 32670 | 32675 | 32680 | 32685 | 32690 | 32695 | 32700 | 32705 | 32710 | 32715 | 32720 | 32725 | 32730 | 32735 | 32740 | 32745 | 32750 | 32755 | 32760 | 32765 | 32770 | 32775 | 32780 | 32785 | 32790 | 32795 | 32800 | 32805 | 32810 | 32815 | 32820 | 32825 | 32830 | 32835 | 32840 | 32845 | 32850 | 32855 | 32860 | 32865 | 32870 | 32875 | 32880 | 32885 | 32890 | 32895 | 32900 | 32905 | 32910 | 32915 | 32920 | 32925 | 32930 | 32935 | 32940 | 32945 | 32950 | 32955 | 32960 | 32965 | 32970 | 32975 | 32980 | 32985 | 32990 | 32995 | 33000 | 33005 | 33010 | 33015 | 33020 | 33025 | 33030 | 33035 | 33040 | 33045 | 33050 | 33055 | 33060 | 33065 | 33070 | 33075 | 33080 | 33085 | 33090 | 33095 | 33100 | 33105 | 33110 | 33115 | 33120 | 33125 | 33130 | 33135 | 33140 | 33145 | 33150 | 33155 | 33160 | 33165 | 33170 | 33175 | 33180 | 33185 | 33190 | 33195 | 33200 | 33205 | 33210 | 33215 | 33220 | 33225 | 33230 | 33235 | 33240 | 33245 | 33250 | 33255 | 33260 | 33265 | 33270 | 33275 | 33280 | 33285 | 33290 | 33295 | 33300 | 33305 | 33310 | 33315 | 33320 | 33325 | 33330 | 33335 | 33340 | 33345 | 33350 | 33355 | 33360 | 33365 | 33370 | 33375 | 33380 | 33385 | 33390 | 33395 | 33400 | 33405 | 33410 | 33415 | 33420 | 33425 | 33430 | 33435 | 33440 | 33445 | 33450 | 33455 | 33460 | 33465 | 33470 | 33475 | 33480 | 33485 | 33490 | 33495 | 33500 | 33505 | 33510 | 33515 | 33520 | 33525 | 33530 | 33535 | 33540 | 33545 | 33550 | 33555 | 33560 | 33565 | 33570 | 33575 | 33580 | 33585 | 33590 | 33595 | 33600 | 33605 | 33610 | 33615 | 33620 | 33625 | 33630 | 33635 | 33640 | 33645 | 33650 | 33655 | 33660 | 33665 | 33670 | 33675 | 33680 | 33685 | 33690 | 33695 | 33700 | 33705 | 33710 | 33715 | 33720 | 33725 | 33730 | 33735 | 33740 | 33745 | 33750 | 33755 | 33760 | 33765 | 33770 | 33775 | 33780 | 33785 | 33790 | 33795 | 33800 | 33805 | 33810 | 33815 | 33820 | 33825 | 33830 | 33835 | 33840 | 33845 | 33850 | 33855 | 33860 | 33865 | 33870 | 33875 | 33880 | 33885 | 33890 | 33895 | 33900 | 33905 | 33910 | 33915 | 33920 | 33925 | 33930 | 33935 | 33940 | 33945 | 33950 | 33955 | 33960 | 33965 | 33970 | 33975 | 33980 | 33985 | 33990 | 33995 | 34000 | 34005 | 34010 | 34015 | 34020 | 34025 | 34030 | 34035 | 34040 | 34045 | 34050 | 34055 | 34060 | 34065 | 34070 | 34075 | 34080 | 34085 | 34090 | 34095 | 34100 | 34105 | 34110 | 34115 | 34120 | 34125 | 34130 | 34135 | 34140 | 34145 | 34150 | 34155 | 34160 | 34165 | 34170 | 34175 | 34180 | 34185 | 34190 | 34195 | 34200 | 34205 | 34210 | 34215 | 34220 | 34225 | 34230 | 34235 | 34240 | 34245 | 34250 | 34255 | 34260 | 34265 | 34270 | 34275 | 34280 | 34285 | 34290 | 34295 | 34300 | 34305 | 34310 | 34315 | 34320 | 34325 | 34330 | 34335 | 34340 | 34345 | 34350 | 34355 | 34360 | 34365 | 34370 | 34375 | 34380 | 34385 | 34390 | 34395 | 34400 | 34405 | 34410 | 34415 | 34420 | 34425 | 34430 | 34435 | 34440 | 34445 | 34450 | 34455 | 34460 | 34465 | 34470 | 34475 | 34480 | 34485 | 34490 | 34495 | 34500 | 34505 | 34510 | 34515 | 34520 | 34525 | 34530 | 34535 | 34540 | 34545 | 34550 | 34555 | 34560 | 34565 | 34570 | 34575 | 34580 | 34585 | 34590 | 34595 | 34600 | 34605 | 34610 | 34615 | 34620 | 34625 | 34630 | 34635 | 34640 | 34645 | 34650 | 34655 | 34660 | 34665 | 34670 | 34675 | 34680 | 34685 | 34690 | 34695 | 34700 | 34705 | 34710 | 34715 | 34720 | 34725 | 34730 | 34735 | 34740 | 34745 | 34750 | 34755 | 34760 | 34765 | 34770 | 34775 | 34780 | 34785 | 34790 | 34795 | 34800 | 34805 | 34810 | 34815 | 34820 | 34825 | 34830 | 34835 | 34840 | 34845 | 34850 | 34855 | 34860 | 34865 | 34870 | 34875 | 34880 | 34885 | 34890 | 34895 | 34900 | 34905 | 34910 | 34915 | 34920 | 34925 | 34930 | 34935 | 34940 | 34945 | 34950 | 34955 | 34960 | 34965 | 34970 | 34975 | 34980 | 34985 | 34990 | 34995 | 35000 | 35005 | 35010 | 35015 | 35020 | 35025 | 35030 | 35035 | 35040 | 35045 | 35050 | 35055 | 35060 | 35065 | 35070 | 35075 | 35080 | 35085 | 35090 | 35095 | 35100 | 35105 | 35110 | 35115 | 35120 | 35125 | 35130 | 35135 | 35140 | 35145 | 35150 | 35155 | 35160 | 35165 | 35170 | 35175 | 35180 | 35185 | 35190 | 35195 | 35200 | 35205 | 35210 | 35215 | 35220 | 35225 | 35230 | 35235 | 35240 | 35245 | 35250 | 35255 | 35260 | 35265 | 35270 | 35275 | 35280 | 35285 | 35290 | 35295 | 35300 | 35305 | 35310 | 35315 | 35320 | 35325 | 35330 | 35335 | 35340 | 35345 | 35350 | 35355 | 35360 | 35365 | 35370 | 35375 | 35380 | 35385 | 35390 | 35395 | 35400 | 35405 | 35410 | 35415 | 35420 | 35425 | 35430 | 35435 | 35440 | 35445 | 35450 | 35455 | 35460 | 35465 | 35470 | 35475 | 35480 | 35485 | 35490 | 35495 | 35500 | 35505 | 35510 | 35515 | 35520 | 35525 | 35530 | 35535 | 35540 | 35545 | 35550 | 35555 | 35560 | 35565 | 35570 | 35575 | 35580 | 35585 | 35590 | 35595 | 35600 | 35605 | 35610 | 35615 | 35620 | 35625 | 35630 | 35635 | 35640 | 35645 | 35650 | 35655 | 35660 | 35665 | 35670 | 35675 | 35680 | 35685 | 35690 | 35695 | 35700 | 35705 | 35710 | 35715 | 35720 | 35725 | 35730 | 35735 | 35740 | 35745 | 35750 | 35755 | 35760 | 35765 | 35770 | 35775 | 35780 | 35785 | 35790 | 35795 | 35800 | 35805 | 35810 | 35815 | 35820 | 35825 | 35830 | 35835 | 35840 | 35845 | 35850 | 35855 | 35860 | 35865 | 35870 | 35875 | 35880 | 35885 | 35890 | 35895 | 35900 | 35905 | 35910 | 35915 | 35920 | 35925 | 35930 | 35935 | 35940 | 35945 | 35950 | 35955 | 35960 | 35965 | 35970 | 35975 | 35980 | 35985 | 35990 | 35995 | 36000 | 36005 | 36010 | 36015 | 36020 | 36025 | 36030 | 36035 | 36040 | 36045 | 36050 | 36055 | 36060 | 36065 | 36070 | 36075 | 36080 | 36085 | 36090 | 36095 | 36100 | 36105 | 36110 | 36115 | 36120 | 36125 | 36130 | 36135 | 36140 | 36145 | 36150 | 36155 | 36160 | 36165 | 36170 | 36175 | 36180 | 36185 | 36190 | 36195 | 36200 | 36205 | 36210 | 36215 | 36220 | 36225 | 36230 | 36235 | 36240 | 36245 | 36250 | 36255 | 36260 | 36265 | 36270 | 36275 | 36280 | 36285 | 36290 | 36295 | 36300 | 36305 | 36310 | 36315 | 36320 | 36325 | 36330 | 36335 | 36340 | 36345 | 36350 | 36355 | 36360 | 36365 | 36370 | 36375 | 36380 | 36385 | 36390 | 36395 | 36400 | 36405 | 36410 | 36415 | 36420 | 36425 | 36430 | 36435 | 36440 | 36445 | 36450 | 36455 | 36460 | 36465 | 36470 | 36475 | 36480 | 36485 | 36490 | 36495 | 36500 | 36505 | 36510 | 36515 | 36520 | 36525 | 36530 | 36535 | 36540 | 36545 | 36550 | 36555 | 36560 | 36565 | 36570 | 36575 | 36580 | 36585 | 36590 | 36595 | 36600 | 36605 | 36610 | 36615 | 36620 | 36625 | 36630 | 36635 | 36640 | 36645 | 36650 | 36655 | 36660 | 36665 | 36670 | 36675 | 36680 | 36685 | 36690 | 36695 | 36700 | 36705 | 36710 | 36715 | 36720 | 36725 | 36730 | 36735 | 36740 | 36745 | 36750 | 36755 | 36760 | 36765 | 36770 | 36775 | 36780 | 36785 | 36790 | 36795 | 36800 | 36805 | 36810 | 36815 | 36820 | 36825 | 36830 | 36835 | 36840 | 36845 | 36850 | 36855 | 36860 | 36865 | 36870 | 36875 | 36880 | 36885 | 36890 | 36895 | 36900 | 36905 | 36910 | 36915 | 36920 | 36925 | 36930 | 36935 | 36940 | 36945 | 36950 | 36955 | 36960 | 36965 | 36970 | 36975 | 36980 | 36985 | 36990 | 36995 | 37000 | 37005 | 37010 | 37015 | 37020 | 37025 | 37030 | 37035 | 37040 | 37045 | 37050 | 37055 | 37060 | 37065 | 37070 | 37075 | 37080 | 37085 | 37090 | 37095 | 37100 | 37105 | 37110 | 37115 | 37120 | 37125 | 37130 | 37135 | 37140 | 37145 | 37150 | 37155 | 37160 | 37165 | 37170 | 37175 | 37180 | 37185 | 37190 | 37195 | 37200 | 37205 | 37210 | 37215 | 37220 | 37225 | 37230 | 37235 | 37240 | 37245 | 37250 | 37255 | 37260 | 37265 | 37270 | 37275 | 37280 | 37285 | 37290 | 37295 | 37300 | 37305 | 37310 | 37315 | 37320 | 37325 | 37330 | 37335 | 37340 | 37345 | 37350 | 37355 | 37360 | 37365 | 37370 | 37375 | 37380 | 37385 | 37390 | 37395 | 37400 | 37405 | 37410 | 37415 | 37420 | 37425 | 37430 | 37435 | 37440 | 37445 | 37450 | 37455 | 37460 | 37465 | 37470 | 37475 | 37480 | 37485 | 37490 | 37495 | 37500 | 37505 | 37510 | 37515 | 37520 | 37525 | 37530 | 37535 | 37540 | 37545 | 37550 | 37555 | 37560 | 37565 | 37570 | 37575 | 37580 | 37585 | 37590 | 37595 | 37600 | 37605 | 37610 | 37615 | 37620 | 37625 | 37630 | 37635 | 37640 | 37645 | 37650 | 37655 | 37660 | 37665 | 37670 | 37675 | 37680 | 37685 | 37690 | 37695 | 37700 | 37705 | 37710 | 37715 | 37720 | 37725 | 37730 | 37735 | 37740 | 37745 | 37750 | 37755 | 37760 | 37765 | 37770 | 37775 | 37780 | 37785 | 37790 | 37795 | 37800 | 37805 | 37810 | 37815 | 37820 | 37825 | 37830 | 37835 | 37840 | 37845 | 37850 | 37855 | 37860 | 37865 | 37870 | 37875 | 37880 | 37885 | 37890 | 37895 | 37900 | 37905 | 37910 | 37915 | 37920 | 37925 | 37930 | 37935 | 37940 | 37945 | 37950 | 37955 | 37960 | 37965 | 37970 | 37975 | 37980 | 37985 | 37990 | 37995 | 38000 | 38005 | 38010 | 38015 | 38020 | 38025 | 38030 | 38035 | 38040 | 38045 | 38050 | 38055 | 38060 | 38065 | 38070 | 38075 | 38080 | 38085 | 38090 | 38095 | 38100 | 38105 | 38110 | 38115 | 38120 | 38125 | 38130 | 38135 | 38140 | 38145 | 38150 | 38155 | 38160 | 38165 | 38170 | 38175 | 38180 | 38185 | 38190 | 38195 | 38200 | 38205 | 38210 | 38215 | 38220 | 38225 | 38230 | 38235 | 38240 | 38245 | 38250 | 38255 | 38260 | 38265 | 38270 | 38275 | 38280 | 38285 | 38290 | 38295 | 38300 | 38305 | 38310 | 38315 | 38320 | 38325 | 38330 | 38335 | 38340 | 38345 | 38350 | 38355 | 38360 | 38365 | 38370 | 38375 | 38380 | 38385 | 38390 | 38395 | 38400 | 38405 | 38410 | 38415 | 38420 | 38425 | 38430 | 38435 | 38440 | 38445 | 38450 | 38455 | 38460 | 38465 | 38470 | 38475 | 38480 | 38485 | 38490 | 38495 | 38500 | 38505 | 38510 | 38515 | 38520 | 38525 | 38530 | 38535 | 38540 | 38545 | 38550 | 38555 | 38560 | 38565 | 38570 | 38575 | 38580 | 38585 | 38590 | 38595 | 38600 | 38605 | 38610 | 38615 | 38620 | 38625 | 38630 | 38635 | 38640 | 38645 | 38650 | 38655 | 38660 | 38665 | 38670 | 38675 | 38680 | 38685 | 38690 | 38695 | 38700 | 38705 | 38710 | 38715 | 38720 | 38725 | 38730 | 38735 | 38740 | 38745 | 38750 | 38755 | 38760 | 38765 | 38770 | 38775 | 38780 | 38785 | 38790 | 38795 | 38800 | 38805 | 38810 | 38815 | 38820 | 38825 | 38830 | 38835 | 38840 | 38845 | 38850 | 38855 | 38860 | 38865 | 38870 | 38875 | 38880 | 38885 | 38890 | 38895 | 38900 | 38905 | 38910 | 38915 | 38920 | 38925 | 38930 | 38935 | 38940 | 38945 | 38950 | 38955 | 38960 | 38965 | 38970 | 38975 | 38980 | 38985 | 38990 | 38995 | 39000 | 39005 | 39010 | 39015 | 39020 | 39025 | 39030 | 39035 | 39040 | 39045 | 39050 | 39055 | 39060 | 39065 | 39070 | 39075 | 39080 | 39085 | 39090 | 39095 | 39100 | 39105 | 39110 | 39115 | 39120 | 39125 | 39130 | 39135 | 39140 | 39145 | 39150 | 39155 | 39160 | 39165 | 39170 | 39175 | 39180 | 39185 | 39190 | 39195 | 39200 | 39205 | 39210 | 39215 | 39220 | 39225 | 39230 | 39235 | 39240 | 39245 | 39250 | 39255 | 39260 | 39265 | 39270 | 39275 | 39280 | 39285 | 39290 | 39295 | 39300 | 39305 | 39310 | 39315 | 39320 | 39325 | 39330 | 39335 | 39340 | 39345 | 39350 | 39355 | 39360 | 39365 | 39370 | 39375 | 39380 | 39385 | 39390 | 39395 | 39400 | 39405 | 39410 | 39415 | 39420 | 39425 | 39430 | 39435 | 39440 | 39445 | 39450 | 39455 | 39460 | 39465 | 39470 | 39475 | 39480 | 39485 | 39490 | 39495 | 39500 | 39505 | 39510 | 39515 | 39520 | 39525 | 39530 | 39535 | 39540 | 39545 | 39550 | 39555 | 39560 | 39565 | 39570 | 39575 | 39580 | 39585 | 39590 | 39595 | 39600 | 39605 | 39610 | 39615 | 39620 | 39625 | 39630 | 39635 | 39640 | 39645 | 39650 | 39655 | 39660 | 39665 | 39670 | 39675 | 39680 | 39685 | 39690 | 39695 | 39700 | 39705 | 39710 | 39715 | 39720 | 39725 | 39730 | 39735 | 39740 | 39745 | 39750 | 39755 | 39760 | 39765 | 39770 | 39775 | 39780 | 39785 | 39790 | 39795 | 39800 | 39805 | 39810 | 39815 | 39820 | 39825 | 39830 | 39835 | 39840 | 39845 | 39850 | 39855 | 39860 | 39865 | 39870 | 39875 | 39880 | 39885 | 39890 | 39895 | 39900 | 39905 | 39910 | 39915 | 39920 | 39925 | 39930 | 39935 | 39940 | 39945 | 39950 | 39955 | 39960 | 39965 | 39970 | 39975 | 39980 | 39985 | 39990 | 39995 | 40000 | 40005 | 40010 | 40015 | 40020 | 40025 | 40030 | 40035 | 40040 | 40045 | 40050 | 40055 | 40060 | 40065 | 40070 | 40075 | 40080 | 40085 | 40090 | 40095 | 40100 | 40105 | 40110 | 40115 | 40120 | 40125 | 40130 | 40135 | 40140 | 40145 | 40150 | 40155 | 40160 | 40165 | 40170 | 40175 | 40180 | 40185 | 40190 | 40195 | 40200 | 40205 | 40210 | 40215 | 40220 | 40225 | 40230 | 40235 | 40240 | 40245 | 40250 | 40255 | 40260 | 40265 | 40270 | 40275 | 40280 | 40285 | 40290 | 40295 | 40300 | 40305 | 40310 | 40315 | 40320 | 40325 | 40330 | 40335 | 40340 | 40345 | 40350 | 40355 | 40360 | 40365 | 40370 | 40375 | 40380 | 40385 | 40390 | 40395 | 40400 | 40405 | 40410 | 40415 | 40420 | 40425 | 40430 | 40435 | 40440 | 40445 | 40450 | 40455 | 40460 | 40465 | 40470 | 40475 | 40480 | 40485 | 40490 | 40495 | 40500 | 40505 | 40510 | 40515 | 40520 | 40525 | 40530 | 40535 | 40540 | 40545 | 40550 | 40555 | 40560 | 40565 | 40570 | 40575 | 40580 | 40585 | 40590 | 40595 | 40600 | 40605 | 40610 | 40615 | 40620 | 40625 | 40630 | 40635 | 40640 | 40645 | 40650 | 40655 | 40660 | 40665 | 40670 | 40675 | 40680 | 40685 | 40690 | 40695 | 40700 | 40705 | 40710 | 40715 | 40720 | 40725 | 40730 | 40735 | 40740 | 40745 | 40750 | 40755 | 40760 | 40765 | 40770 | 40775 | 40780 | 40785 | 40790 | 40795 | 40800 | 40805 | 40810 | 40815 | 40820 | 40825 | 40830 | 40835 | 40840 | 40845 | 40850 | 40855 | 40860 | 40865 | 40870 | 40875 | 40880 | 40885 | 40890 | 40895 | 40900 | 40905 | 40910 | 40915 | 40920 | 40925 | 40930 | 40935 | 40940 | 40945 | 40950 | 40955 | 40960 | 40965 | 40970 | 40975 | 40980 | 40985 | 40990 | 40995 | 41000 | 41005 | 41010 | 41015 | 41020 | 41025 | 41030 | 41035 | 41040 | 41045 | 41050 | 41055 | 41060 | 41065 | 41070 | 41075 | 41080 | 41085 | 41090 | 41095 | 41100 | 41105 | 41110 | 41115 | 41120 | 41125 | 41130 | 41135 | 41140 | 41145 | 41150 | 41155 | 41160 | 41165 | 41170 | 41175 | 41180 | 41185 | 41190 | 41195 | 41200 | 41205 | 41210 | 41215 | 41220 | 41225 | 41230 | 41235 | 41240 | 41245 | 41250 | 41255 | 41260 | 41265 | 41270 | 41275 | 41280 | 41285 | 41290 | 41295 | 41300 | 41305 | 41310 | 41315 | 41320 | 41325 | 41330 | 41335 | 41340 | 41345 | 41350 | 41355 | 41360 | 41365 | 41370 | 41375 | 41380 | 41385 | 41390 | 41395 | 41400 | 41405 | 41410 | 41415 | 41420 | 41425 | 41430 | 41435 | 41440 | 41445 | 41450 | 41455 | 41460 | 41465 | 41470 | 41475 | 41480 | 41485 | 41490 | 41495 | 41500 | 41505 | 41510 | 41515 | 41520 | 41525 | 41530 | 41535 | 41540 | 41545 | 41550 | 41555 | 41560 | 41565 | 41570 | 41575 | 41580 | 41585 | 41590 | 41595 | 41600 | 41605 | 41610 | 41615 | 41620 | 41625 | 41630 | 41635 | 41640 | 41645 | 41650 | 41655 | 41660 | 41665 | 41670 | 41675 | 41680 | 41685 | 41690 | 41695 | 41700 | 41705 | 41710 | 41715 | 41720 | 41725 | 41730 | 41735 | 41740 | 41745 | 41750 | 41755 | 41760 | 41765 | 41770 | 41775 | 41780 | 41785 | 41790 | 41795 | 41800 | 41805 | 41810 | 41815 | 41820 | 41825 | 41830 | 41835 | 41840 | 41845 | 41850 | 41855 | 41860 | 41865 | 41870 | 41875 | 41880 | 41885 | 41890 | 41895 | 41900 | 41905 | 41910 | 41915 | 41920 | 41925 | 41930 | 41935 | 41940 | 41945 | 41950 | 41955 | 41960 | 41965 | 41970 | 41975 | 41980 | 41985 | 41990 | 41995 | 42000 | 42005 | 42010 | 42015 | 42020 | 42025 | 42030 | 42035 | 42040 | 42045 | 42050 | 42055 | 42060 | 42065 | 42070 | 42075 | 42080 | 42085 | 42090 | 42095 | 42100 | 42105 | 42110 | 42115 | 42120 | 42125 | 42130 | 42135 | 42140 | 42145 | 42150 | 42155 | 42160 | 42165 | 42170 | 42175 | 42180 | 42185 | 42190 | 42195 | 42200 | 42205 | 42210 | 42215 | 42220 | 42225 | 42230 | 42235 | 42240 | 42245 | 42250 | 42255 | 42260 | 42265 | 42270 | 42275 | 42280 | 42285 | 42290 | 42295 | 42300 | 42305 | 42310 | 42315 | 42320 | 42325 | 42330 | 42335 | 42340 | 42345 | 42350 | 42355 | 42360 | 42365 | 42370 | 42375 | 42380 | 42385 | 42390 | 42395 | 42400 | 42405 | 42410 | 42415 | 42420 | 42425 | 42430 | 42435 | 42440 | 42445 | 42450 | 42455 | 42460 | 42465 | 42470 | 42475 | 42480 | 42485 | 42490 | 42495 | 42500 | 42505 | 42510 | 42515 | 42520 | 42525 | 42530 | 42535 | 42540 | 42545 | 42550 | 42555 | 42560 | 42565 | 42570 | 42575 | 42580 | 42585 | 42590 | 42595 | 42600 | 42605 | 42610 | 42615 | 42620 | 42625 | 42630 | 42635 | 42640 | 42645 | 42650 | 42655 | 42660 | 42665 | 42670 | 42675 | 42680 | 42685 | 42690 | 42695 | 42700 | 42705 | 42710 | 42715 | 42720 | 42725 | 42730 | 42735 | 42740 | 42745 | 42750 | 42755 | 42760 | 42765 | 42770 | 42775 | 42780 | 42785 | 42790 | 42795 | 42800 | 42805 | 42810 | 42815 | 42820 | 42825 | 42830 | 42835 | 42840 | 42845 | 42850 | 42855 | 42860 | 42865 | 42870 | 42875 | 42880 | 42885 | 42890 | 42895 | 42900 | 42905 | 42910 | 42915 | 42920 | 42925 | 42930 | 42935 | 42940 | 42945 | 42950 | 42955 | 42960 | 42965 | 42970 | 42975 | 42980 | 42985 | 42990 | 42995 | 43000 | 43005 | 43010 | 43015 | 43020 | 43025 | 43030 | 43035 | 43040 | 43045 | 43050 | 43055 | 43060 | 43065 | 43070 | 43075 | 43080 | 43085 | 43090 | 43095 | 43100 | 43105 | 43110 | 43115 | 43120 | 43125 | 43130 | 43135 | 43140 | 43145 | 43150 | 43155 | 43160 | 43165 | 43170 | 43175 | 43180 | 43185 | 43190 | 43195 | 43200 | 43205 | 43210 | 43215 | 43220 | 43225 | 43230 | 43235 | 43240 | 43245 | 43250 | 43255 | 43260 | 43265 | 43270 | 43275 | 43280 | 43285 | 43290 | 43295 | 43300 | 43305 | 43310 | 43315 | 43320 | 43325 | 43330 | 43335 | 43340 | 43345 | 43350 | 43355 | 43360 | 43365 | 43370 | 43375 | 43380 | 43385 | 43390 | 43395 | 43400 | 43405 | 43410 | 43415 | 43420 | 43425 | 43430 | 43435 | 43440 | 43445 | 43450 | 43455 | 43460 | 43465 | 43470 | 43475 | 43480 | 43485 | 43490 | 43495 | 43500 | 43505 | 43510 | 43515 | 43520 | 43525 | 43530 | 43535 | 43540 | 43545 | 43550 | 43555 | 43560 | 43565 | 43570 | 43575 | 43580 | 43585 | 43590 | 43595 | 43600 | 43605 | 43610 | 43615 | 43620 | 43625 | 43630 | 43635 | 43640 | 43645 | 43650 | 43655 | 43660 | 43665 | 43670 | 43675 | 43680 | 43685 | 43690 | 43695 | 43700 | 43705 | 43710 | 43715 | 43720 | 43725 | 43730 | 43735 | 43740 | 43745 | 43750 | 43755 | 43760 | 43765 | 43770 | 43775 | 43780 | 43785 | 43790 | 43795 | 43800 | 43805 | 43810 | 43815 | 43820 | 43825 | 43830 | 43835 | 43840 | 43845 | 43850 | 43855 | 43860 | 43865 | 43870 | 43875 | 43880 | 43885 | 43890 | 43895 | 43900 | 43905 | 43910 | 43915 | 43920 | 43925 | 43930 | 43935 | 43940 | 43945 | 43950 | 43955 | 43960 | 43965 | 43970 | 43975 | 43980 | 43985 | 43990 | 43995 | 44000 | 44005 | 44010 | 44015 | 44020 | 44025 | 44030 | 44035 | 44040 | 44045 | 44050 | 44055 | 44060 | 44065 | 44070 | 44075 | 44080 | 44085 | 44090 | 44095 | 44100 | 44105 | 44110 | 44115 | 44120 | 44125 | 44130 | 44135 | 44140 | 44145 | 44150 | 44155 | 44160 | 44165 | 44170 | 44175 | 44180 | 44185 | 44190 | 44195 | 44200 | 44205 | 44210 | 44215 | 44220 | 44225 | 44230 | 44235 | 44240 | 44245 | 44250 | 44255 | 44260 | 44265 | 44270 | 44275 | 44280 | 44285 | 44290 | 44295 | 44300 | 44305 | 44310 | 44315 | 44320 | 44325 | 44330 | 44335 | 44340 | 44345 | 44350 | 44355 | 44360 | 44365 | 44370 | 44375 | 44380 | 44385 | 44390 | 44395 | 44400 | 44405 | 44410 | 44415 | 44420 | 44425 | 44430 | 44435 | 44440 | 44445 | 44450 | 44455 | 44460 | 44465 | 44470 | 44475 | 44480 | 44485 | 44490 | 44495 | 44500 | 44505 | 44510 | 44515 | 44520 | 44525 | 44530 | 44535 | 44540 | 44545 | 44550 | 44555 | 44560 | 44565 | 44570 | 44575 | 44580 | 44585 | 44590 | 44595 | 44600 | 44605 | 44610 | 44615 | 44620 | 44625 | 44630 | 44635 | 44640 | 44645 | 44650 | 44655 | 44660 | 44665 | 44670 | 44675 | 44680 | 44685 | 44690 | 44695 | 44700 | 44705 | 44710 | 44715 | 44720 | 44725 | 44730 | 44735 | 44740 | 44745 | 44750 | 44755 | 44760 | 44765 | 44770 | 44775 | 44780 | 44785 | 44790 | 44795 | 44800 | 44805 | 44810 | 44815 | 44820 | 44825 | 44830 | 44835 | 44840 | 44845 | 44850 | 44855 | 44860 | 44865 | 44870 | 44875 | 44880 | 44885 | 44890 | 44895 | 44900 | 44905 | 44910 | 44915 | 44920 | 44925 | 44930 | 44935 | 44940 | 44945 | 44950 | 44955 | 44960 | 44965 | 44970 | 44975 | 44980 | 44985 | 44990 | 44995 | 45000 | 45005 | 45010 | 45015 | 45020 | 45025 | 45030 | 45035 | 45040 | 45045 | 45050 | 45055 | 45060 | 45065 | 45070 | 45075 | 45080 | 45085 | 45090 | 45095 | 45100 | 45105 | 45110 | 45115 | 45120 | 45125 | 45130 | 45135 | 45140 | 45145 | 45150 | 45155 | 45160 | 45165 | 45170 | 45175 | 45180 | 45185 | 45190 | 45195 | 45200 | 45205 | 45210 | 45215 | 45220 | 45225 | 45230 | 45235 | 45240 | 45245 | 45250 | 45255 | 45260 | 45265 | 45270 | 45275 | 45280 | 45285 | 45290 | 45295 | 45300 | 45305 | 45310 | 45315 | 45320 | 45325 | 45330 | 45335 | 45340 | 45345 | 45350 | 45355 | 45360 | 45365 | 45370 | 45375 | 45380 | 45385 | 45390 | 45395 | 45400 | 45405 | 45410 | 45415 | 45420 | 45425 | 45430 | 45435 | 45440 | 45445 | 45450 | 45455 | 45460 | 45465 | 45470 | 45475 | 45480 | 45485 | 45490 | 45495 | 45500 | 45505 | 45510 | 45515 | 45520 | 45525 | 45530 | 45535 | 45540 | 45545 | 45550 | 45555 | 45560 | 45565 | 45570 | 45575 | 45580 | 45585 | 45590 | 45595 | 45600 | 45605 | 45610 | 45615 | 45620 | 45625 | 45630 | 45635 | 45640 | 45645 | 45650 | 45655 | 45660 | 45665 | 45670 | 45675 | 45680 | 45685 | 45690 | 45695 | 45700 | 45705 | 45710 | 45715 | 45720 | 45725 | 45730 | 45735 | 45740 | 45745 | 45750 | 45755 | 45760 | 45765 | 45770 | 45775 | 45780 | 45785 | 45790 | 45795 | 45800 | 45805 | 45810 | 45815 | 45820 | 45825 | 45830 | 45835 | 45840 | 45845 | 45850 | 45855 | 45860 | 45865 | 45870 | 45875 | 45880 | 45885 | 45890 | 45895 | 45900 | 45905 | 45910 | 45915 | 45920 | 45925 | 45930 | 45935 | 45940 | 45945 | 45950 | 45955 | 45960 | 45965 | 45970 | 45975 | 45980 | 45985 | 45990 | 45995 | 46000 | 46005 | 46010 | 46015 | 46020 | 46025 | 46030 | 46035 | 46040 | 46045 | 46050 | 46055 | 46060 | 46065 | 46070 | 46075 | 46080 | 46085 | 46090 | 46095 | 46100 | 46105 | 46110 | 46115 | 46120 | 46125 | 46130 | 46135 | 46140 | 46145 | 46150 | 46155 | 46160 | 46165 | 46170 | 46175 | 46180 | 46185 | 46190 | 46195 | 46200 | 46205 | 46210 | 46215 | 46220 | 46225 | 46230 | 46235 | 46240 | 46245 | 46250 | 46255 | 46260 | 46265 | 46270 | 46275 | 46280 | 46285 | 46290 | 46295 | 46300 | 46305 | 46310 | 46315 | 46320 | 46325 | 46330 | 46335 | 46340 | 46345 | 46350 | 46355 | 46360 | 46365 | 46370 | 46375 | 46380 | 46385 | 46390 | 46395 | 46400 | 46405 | 46410 | 46415 | 46420 | 46425 | 46430 | 46435 | 46440 | 46445 | 46450 | 46455 | 46460 | 46465 | 46470 | 46475 | 46480 | 46485 | 46490 | 46495 | 46500 | 46505 | 46510 | 46515 | 46520 | 46525 | 46530 | 46535 | 46540 | 46545 | 46550 | 46555 | 46560 | 46565 | 46570 | 46575 | 46580 | 46585 | 46590 | 46595 | 46600 | 46605 | 46610 | 46615 | 46620 | 46625 | 46630 | 46635 | 46640 | 46645 | 46650 | 46655 | 46660 | 46665 | 46670 | 46675 | 46680 | 46685 | 46690 | 46695 | 46700 | 46705 | 46710 | 46715 | 46720 | 46725 | 46730 | 46735 | 46740 | 46745 | 46750 | 46755 | 46760 | 46765 | 46770 | 46775 | 46780 | 46785 | 46790 | 46795 | 46800 | 46805 | 46810 | 46815 | 46820 | 46825 | 46830 | 46835 | 46840 | 46845 | 46850 | 46855 | 46860 | 46865 | 46870 | 46875 | 46880 | 46885 | 46890 | 46895 | 46900 | 46905 | 46910 | 46915 | 46920 | 46925 | 46930 | 46935 | 46940 | 46945 | 46950 | 46955 | 46960 | 46965 | 46970 | 46975 | 46980 | 46985 | 46990 | 46995 | 47000 | 47005 | 47010 | 47015 | 47020 | 47025 | 47030 | 47035 | 47040 | 47045 | 47050 | 47055 | 47060 | 47065 | 47070 | 47075 | 47080 | 47085 | 47090 | 47095 | 47100 | 47105 | 47110 | 47115 | 47120 | 47125 | 47130 | 47135 | 47140 | 47145 | 47150 | 47155 | 47160 | 47165 | 47170 | 47175 | 47180 | 47185 | 47190 | 47195 | 47200 | 47205 | 47210 | 47215 | 47220 | 47225 | 47230 | 47235 | 47240 | 47245 | 47250 | 47255 | 47260 | 47265 | 47270 | 47275 | 47280 | 47285 | 47290 | 47295 | 47300 | 47305 | 47310 | 47315 | 47320 | 47325 | 47330 | 47335 | 47340 | 47345 | 47350 | 47355 | 47360 | 47365 | 47370 | 47375 | 47380 | 47385 | 47390 | 47395 | 47400 | 47405 | 47410 | 47415 | 47420 | 47425 | 47430 | 47435 | 47440 | 47445 | 47450 | 47455 | 47460 | 47465 | 47470 | 47475 | 47480 | 47485 | 47490 | 47495 | 47500 | 47505 | 47510 | 47515 | 47520 | 47525 | 47530 | 47535 | 47540 | 47545 | 47550 | 47555 | 47560 | 47565 | 47570 | 47575 | 47580 | 47585 | 47590 | 47595 | 47600 | 47605 | 47610 | 47615 | 47620 | 47625 | 47630 | 47635 | 47640 | 47645 | 47650 | 47655 | 47660 | 47665 | 47670 | 47675 | 47680 | 47685 | 47690 | 47695 | 47700 | 47705 | 47710 | 47715 | 47720 | 47725 | 47730 | 47735 | 47740 | 47745 | 47750 | 47755 | 47760 | 47765 | 47770 | 47775 | 47780 | 47785 | 47790 | 47795 | 47800 | 47805 | 47810 | 47815 | 47820 | 47825 | 47830 | 47835 | 47840 | 47845 | 47850 | 47855 | 47860 | 47865 | 47870 | 47875 | 47880 | 47885 | 47890 | 47895 | 47900 | 47905 | 47910 | 47915 | 47920 | 47925 | 47930 | 47935 | 47940 | 47945 | 47950 | 47955 | 47960 | 47965 | 47970 | 47975 | 47980 | 47985 | 47990 | 47995 | 48000 | 48005 | 48010 | 48015 | 48020 | 48025 | 48030 | 48035 | 48040 | 48045 | 48050 | 48055 | 48060 | 48065 | 48070 | 48075 | 48080 | 48085 | 48090 | 48095 | 48100 | 48105 | 48110 | 48115 | 48120 | 48125 | 48130 | 48135 | 48140 | 48145 | 48150 | 48155 | 48160 | 48165 | 48170 | 48175 | 48180 | 48185 | 48190 | 48195 | 48200 | 48205 | 48210 | 48215 | 48220 | 48225 | 48230 | 48235 | 48240 | 48245 | 48250 | 48255 | 48260 | 48265 | 48270 | 48275 | 48280 | 48285 | 48290 | 48295 | 48300 | 48305 | 48310 | 48315 | 48320 | 48325 | 48330 | 48335 | 48340 | 48345 | 48350 | 48355 | 48360 | 48365 | 48370 | 48375 | 48380 | 48385 | 48390 | 48395 | 48400 | 48405 | 48410 | 48415 | 48420 | 48425 | 48430 | 48435 | 48440 | 48445 | 48450 | 48455 | 48460 | 48465 | 48470 | 48475 | 48480 | 48485 | 48490 | 48495 | 48500 | 48505 | 48510 | 48515 | 48520 | 48525 | 48530 | 48535 | 48540 | 48545 | 48550 | 48555 | 48560 | 48565 | 48570 | 48575 | 48580 | 48585 | 48590 | 48595 | 48600 | 48605 | 48610 | 48615 | 48620 | 48625 | 48630 | 48635 | 48640 | 48645 | 48650 | 48655 | 48660 | 48665 | 48670 | 48675 | 48680 | 48685 | 48690 | 48695 | 48700 | 48705 | 48710 | 48715 | 48720 | 48725 | 48730 | 48735 | 48740 | 48745 | 48750 | 48755 | 48760 | 48765 | 48770 | 48775 | 48780 | 48785 | 48790 | 48795 | 48800 | 48805 | 48810 | 48815 | 48820 | 48825 | 48830 | 48835 | 48840 | 48845 | 48850 | 48855 | 48860 | 48865 | 48870 | 48875 | 48880 | 48885 | 48890 | 48895 | 48900 | 48905 | 48910 | 48915 | 48920 | 48925 | 48930 | 48935 | 48940 | 48945 | 48950 | 48955 | 48960 | 48965 | 48970 | 48975 | 48980 | 48985 | 48990 | 48995 | 49000 | 49005 | 49010 | 49015 | 49020 | 49025 | 49030 | 49035 | 49040 | 49045 | 49050 | 49055 | 49060 | 49065 | 49070 | 49075 | 49080 | 49085 | 49090 | 49095 | 49100 | 49105 | 49110 | 49115 | 49120 | 49125 | 49130 | 49135 | 49140 | 49145 | 49150 | 49155 | 49160 | 49165 | 49170 | 49175 | 49180 | 49185 | 49190 | 49195 | 49200 | 49205 | 49210 | 49215 | 49220 | 49225 | 49230 | 49235 | 49240 | 49245 | 49250 | 49255 | 49260 | 49265 | 49270 | 49275 | 49280 | 49285 | 49290 | 49295 | 49300 | 49305 | 49310 | 49315 | 49320 | 49325 | 49330 | 49335 | 49340 | 49345 | 49350 | 49355 | 49360 | 49365 | 49370 | 49375 | 49380 | 49385 | 49390 | 49395 | 49400 | 49405 | 49410 | 49415 | 49420 | 49425 | 49430 | 49435 | 49440 | 49445 | 49450 | 49455 | 49460 | 49465 | 49470 | 49475 | 49480 | 49485 | 49490 | 49495 | 49500 | 49505 | 49510 | 49515 | 49520 | 49525 | 49530 | 49535 | 49540 | 49545 | 49550 | 49555 | 49560 | 49565 | 49570 | 49575 | 49580 | 49585 | 49590 | 49595 | 49600 | 49605 | 49610 | 49615 | 49620 | 49625 | 49630 | 49635 | 49640 | 49645 | 49650 | 49655 | 49660 | 49665 | 49670 | 49675 | 49680 | 49685 | 49690 | 49695 | 49700 | 49705 | 49710 | 49715 | 49720 | 49725 | 49730 | 49735 | 49740 | 49745 | 49750 | 49755 | 49760 | 49765 | 49770 | 49775 | 49780 | 49785 | 49790 | 49795 | 49800 | 49805 | 49810 | 49815 | 49820 | 49825 | 49830 | 49835 | 49840 | 49845 | 49850 | 49855 | 49860 | 49865 | 49870 | 49875 | 49880 | 49885 | 49890 | 49895 | 49900 | 49905 | 49910 | 49915 | 49920 | 49925 | 49930 | 49935 | 49940 | 49945 | 49950 | 49955 | 49960 | 49965 | 49970 | 49975 | 49980 | 49985 | 49990 | 49995 | 50000 | 50005 | 50010 | 50015 | 50020 | 50025 | 50030 | 50035 | 50040 | 50045 | 50050 | 50055 | 50060 | 50065 | 50070 | 50075 | 50080 | 50085 | 50090 | 50095 | 50100 | 50105 | 50110 | 50115 | 50120 | 50125 | 50130 | 50135 | 50140 | 50145 | 50150 | 50155 | 50160 | 50165 | 50170 | 50175 | 50180 | 50185 | 50190 | 50195 | 50200 | 50205 | 50210 | 50215 | 50220 | 50225 | 50230 | 50235 | 50240 | 50245 | 50250 | 50255 | 50260 | 50265 | 50270 | 50275 | 50280 | 50285 | 50290 | 50295 | 50300 | 50305 | 50310 | 50315 | 50320 | 50325 | 50330 | 50335 | 50340 | 50345 | 50350 | 50355 | 50360 | 50365 | 50370 | 50375 | 50380 | 50385 | 50390 | 50395 | 50400 | 50405 | 50410 | 50415 | 50420 | 50425 | 50430 | 50435 | 50440 | 50445 | 50450 | 50455 | 50460 | 50465 | 50470 | 50475 | 50480 | 50485 | 50490 | 50495 | 50500 | 50505 | 50510 | 50515 | 50520 | 50525 | 50530 | 50535 | 50540 | 50545 | 50550 | 50555 | 50560 | 50565 | 50570 | 50575 | 50580 | 50585 | 50590 | 50595 | 50600 | 50605 | 50610 | 50615 | 50620 | 50625 | 50630 | 50635 | 50640 | 50645 | 50650 | 50655 | 50660 | 50665 | 50670 | 50675 | 50680 | 50685 | 50690 | 50695 | 50700 | 50705 | 50710 | 50715 | 50720 | 50725 | 50730 | 50735 | 50740 | 50745 | 50750 | 50755 | 50760 | 50765 | 50770 | 50775 | 50780 | 50785 | 50790 | 50795 | 50800 | 50805 | 50810 | 50815 | 50820 | 50825 | 50830 | 50835 | 50840 | 50845 | 50850 | 50855 | 50860 | 50865 | 50870 | 50875 | 50880 | 50885 | 50890 | 50895 | 50900 | 50905 | 50910 | 50915 | 50920 | 50925 | 50930 | 50935 | 50940 | 50945 | 50950 | 50955 | 50960 | 50965 | 50970 | 50975 | 50980 | 50985 | 50990 | 50995 | 51000 | 51005 | 51010 | 51015 | 51020 | 51025 | 51030 | 51035 | 51040 | 51045 | 51050 | 51055 | 51060 | 51065 | 51070 | 51075 | 51080 | 51085 | 51090 | 51095 | 51100 | 51105 | 51110 | 51115 | 51120 | 51125 | 51130 | 51135 | 51140 | 51145 | 51150 | 51155 | 51160 | 51165 | 51170 | 51175 | 51180 | 51185 | 51190 | 51195 | 51200 | 51205 | 51210 | 51215 | 51220 | 51225 | 51230 | 51235 | 51240 | 51245 | 51250 | 51255 | 51260 | 51265 | 51270 | 51275 | 51280 | 51285 | 51290 | 51295 | 51300 | 51305 | 51310 | 51315 | 51320 | 51325 | 51330 | 51335 | 51340 | 51345 | 51350 | 51355 | 51360 | 51365 | 51370 | 51375 | 51380 | 51385 | 51390 | 51395 | 51400 | 51405 | 51410 | 51415 | 51420 | 51425 | 51430 | 51435 | 51440 | 51445 | 51450 | 51455 | 51460 | 51465 | 51470 | 51475 | 51480 | 51485 | 51490 | 51495 | 51500 | 51505 | 51510 | 51515 | 51520 | 51525 | 51530 | 51535 | 51540 | 51545 | 51550 | 51555 | 51560 | 51565 | 51570 | 51575 | 51580 | 51585 | 51590 | 51595 | 51600 | 51605 | 51610 | 51615 | 51620 | 51625 | 51630 | 51635 | 51640 | 51645 | 51650 | 51655 | 51660 | 51665 | 51670 | 51675 | 51680 | 51685 | 51690 | 51695 | 51700 | 51705 | 51710 | 51715 | 51720 | 51725 | 51730 | 51735 | 51740 | 51745 | 51750 | 51755 | 51760 | 51765 | 51770 | 51775 | 51780 | 51785 | 51790 | 51795 | 51800 | 51805 | 51810 | 51815 | 51820 | 51825 | 51830 | 51835 | 51840 | 51845 | 51850 | 51855 | 51860 | 51865 | 51870 | 51875 | 51880 | 51885 | 51890 | 51895 | 51900 | 51905 | 51910 | 51915 | 51920 | 51925 | 51930 | 51935 | 51940 | 51945 | 51950 | 51955 | 51960 | 51965 | 51970 | 51975 | 51980 | 51985 | 51990 | 51995 | 52000 | 52005 | 52010 | 52015 | 52020 | 52025 | 52030 | 52035 | 52040 | 52045 | 52050 | 52055 | 52060 | 52065 | 52070 | 52075 | 52080 | 52085 | 52090 | 52095 | 52100 | 52105 | 52110 | 52115 | 52120 | 52125 | 52130 | 52135 | 52140 | 52145 | 52150 | 52155 | 52160 | 52165 | 52170 | 52175 | 52180 | 52185 | 52190 | 52195 | 52200 | 52205 | 52210 | 52215 | 52220 | 52225 | 52230 | 52235 | 52240 | 52245 | 52250 | 52255 | 52260 | 52265 | 52270 | 52275 | 52280 | 52285 | 52290 | 52295 | 52300 | 52305 | 52310 | 52315 | 52320 | 52325 | 52330 | 52335 | 52340 | 52345 | 52350 | 52355 | 52360 | 52365 | 52370 | 52375 | 52380 | 52385 | 52390 | 52395 | 52400 | 52405 | 52410 | 52415 | 52420 | 52425 | 52430 | 52435 | 52440 | 52445 | 52450 | 52455 | 52460 | 52465 | 52470 | 52475 | 52480 | 52485 | 52490 | 52495 | 52500 | 52505 | 52510 | 52515 | 52520 | 52525 | 52530 | 52535 | 52540 | 52545 | 52550 | 52555 | 52560 | 52565 | 52570 | 52575 | 52580 | 52585 | 52590 | 52595 | 52600 | 52605 | 52610 | 52615 | 52620 | 52625 | 52630 | 52635 | 52640 | 52645 | 52650 | 52655 | 52660 | 52665 | 52670 | 52675 | 52680 | 52685 | 52690 | 52695 | 52700 | 52705 | 52710 | 52715 | 52720 | 52725 | 52730 | 52735 | 52740 | 52745 | 52750 | 52755 | 52760 | 52765 | 52770 | 52775 | 52780 | 52785 | 52790 | 52795 | 52800 | 52805 | 52810 | 52815 | 52820 | 52825 | 52830 | 52835 | 52840 | 52845 | 52850 | 52855 | 52860 | 52865 | 52870 | 52875 | 52880 | 52885 | 52890 | 52895 | 52900 | 52905 | 52910 | 52915 | 52920 | 52925 | 52930 | 52935 | 52940 | 52945 | 52950 | 52955 | 52960 | 52965 | 52970 | 52975 | 52980 | 52985 | 52990 | 52995 | 53000 | 53005 | 53010 | 53015 | 53020 | 53025 | 53030 | 53035 | 53040 | 53045 | 53050 | 53055 | 53060 | 53065 | 53070 | 53075 | 53080 | 53085 | 53090 | 53095 | 53100 | 53105 | 53110 | 53115 | 53120 | 53125 | 53130 | 53135 | 53140 | 53145 | 53150 | 53155 | 53160 | 53165 | 53170 | 53175 | 53180 | 53185 | 53190 | 53195 | 53200 | 53205 | 53210 | 53215 | 53220 | 53225 | 53230 | 53235 | 53240 | 53245 | 53250 | 53255 | 53260 | 53265 | 53270 | 53275 | 53280 | 53285 | 53290 | 53295 | 53300 | 53305 | 53310 | 53315 | 53320 | 53325 | 53330 | 53335 | 53340 | 53345 | 53350 | 53355 | 53360 | 53365 | 53370 | 53375 | 53380 | 53385 | 53390 | 53395 | 53400 | 53405 | 53410 | 53415 | 53420 | 53425 | 53430 | 53435 | 53440 | 53445 | 53450 | 53455 | 53460 | 53465 | 53470 | 53475 | 53480 | 53485 | 53490 | 53495 | 53500 | 53505 | 53510 | 53515 | 53520 | 53525 | 53530 | 53535 | 53540 | 53545 | 53550 | 53555 | 53560 | 53565 | 53570 | 53575 | 53580 | 53585 | 53590 | 53595 | 53600 | 53605 | 53610 | 53615 | 53620 | 53625 | 53630 | 53635 | 53640 | 53645 | 53650 | 53655 | 53660 | 53665 | 53670 | 53675 | 53680 | 53685 | 53690 | 53695 | 53700 | 53705 | 53710 | 53715 | 53720 | 53725 | 53730 | 53735 | 53740 | 53745 | 53750 | 53755 | 53760 | 53765 | 53770 | 53775 | 53780 | 53785 | 53790 | 53795 | 53800 | 53805 | 53810 | 53815 | 53820 | 53825 | 53830 | 53835 | 53840 | 53845 | 53850 | 53855 | 53860 | 53865 | 53870 | 53875 | 53880 | 53885 | 53890 | 53895 | 53900 | 53905 | 53910 | 53915 | 53920 | 53925 | 53930 | 53935 | 53940 | 53945 | 53950 | 53955 | 53960 | 53965 | 53970 | 53975 | 53980 | 53985 | 53990 | 53995 | 54000 | 54005 | 54010 | 54015 | 54020 | 54025 | 54030 | 54035 | 54040 | 54045 | 54050 | 54055 | 54060 | 54065 | 54070 | 54075 | 54080 | 54085 | 54090 | 54095 | 54100 | 54105 | 54110 | 54115 | 54120 | 54125 | 54130 | 54135 | 54140 | 54145 | 54150 | 54155 | 54160 | 54165 | 54170 | 54175 | 54180 | 54185 | 54190 | 54195 | 54200 | 54205 | 54210 | 54215 | 54220 | 54225 | 54230 | 54235 | 54240 | 54245 | 54250 | 54255 | 54260 | 54265 | 54270 | 54275 | 54280 | 54285 | 54290 | 54295 | 54300 | 54305 | 54310 | 54315 | 54320 | 54325 | 54330 | 54335 | 54340 | 54345 | 54350 | 54355 | 54360 | 54365 | 54370 | 54375 | 54380 | 54385 | 54390 | 54395 | 54400 | 54405 | 54410 | 54415 | 54420 | 54425 | 54430 | 54435 | 54440 | 54445 | 54450 | 54455 | 54460 | 54465 | 54470 | 54475 | 54480 | 54485 | 54490 | 54495 | 54500 | 54505 | 54510 | 54515 | 54520 | 54525 | 54530 | 54535 | 54540 | 54545 | 54550 | 54555 | 54560 | 54565 | 54570 | 54575 | 54580 | 54585 | 54590 | 54595 | 54600 | 54605 | 54610 | 54615 | 54620 | 54625 | 54630 | 54635 | 54640 | 54645 | 54650 | 54655 | 54660 | 54665 | 54670 | 54675 | 54680 | 54685 | 54690 | 54695 | 54700 | 54705 | 54710 | 54715 | 54720 | 54725 | 54730 | 54735 | 54740 | 54745 | 54750 | 54755 | 54760 | 54765 | 54770 | 54775 | 54780 | 54785 | 54790 | 54795 | 54800 | 54805 | 54810 | 54815 | 54820 | 54825 | 54830 | 54835 | 54840 | 54845 | 54850 | 54855 | 54860 | 54865 | 54870 | 54875 | 54880 | 54885 | 54890 | 54895 | 54900 | 54905 | 54910 | 54915 | 54920 | 54925 | 54930 | 54935 | 54940 | 54945 | 54950 | 54955 | 54960 | 54965 | 54970 | 54975 | 54980 | 54985 | 54990 | 54995 | 55000 | 55005 | 55010 | 55015 | 55020 | 55025 | 55030 | 55035 | 55040 | 55045 | 55050 | 55055 | 55060 | 55065 | 55070 | 55075 | 55080 | 55085 | 55090 | 55095 | 55100 | 55105 | 55110 | 55115 | 55120 | 55125 | 55130 | 55135 | 55140 | 55145 | 55150 | 55155 | 55160 | 55165 | 55170 | 55175 | 55180 | 55185 | 55190 | 55195 | 55200 | 55205 | 55210 | 55215 | 55220 | 55225 | 55230 | 55235 | 55240 | 55245 | 55250 | 55255 | 55260 | 55265 | 55270 | 55275 | 55280 | 55285 | 55290 | 55295 | 55300 | 55305 | 55310 | 55315 | 55320 | 55325 | 55330 | 55335 | 55340 | 55345 | 55350 | 55355 | 55360 | 55365 | 55370 | 55375 | 55380 | 55385 | 55390 | 55395 | 55400 | 55405 | 55410 | 55415 | 55420 | 55425 | 55430 | 55435 | 55440 | 55445 | 55450 | 55455 | 55460 | 55465 | 55470 | 55475 | 55480 | 55485 | 55490 | 55495 | 55500 | 55505 | 55510 | 55515 | 55520 | 55525 | 55530 | 55535 | 55540 | 55545 | 55550 | 55555 | 55560 | 55565 | 55570 | 55575 | 55580 | 55585 | 55590 | 55595 | 55600 | 55605 | 55610 | 55615 | 55620 | 55625 | 55630 | 55635 | 55640 | 55645 | 55650 | 55655 | 55660 | 55665 | 55670 | 55675 | 55680 | 55685 | 55690 | 55695 | 55700 | 55705 | 55710 | 55715 | 55720 | 55725 | 55730 | 55735 | 55740 | 55745 | 55750 | 55755 | 55760 | 55765 | 55770 | 55775 | 55780 | 55785 | 55790 | 55795 | 55800 | 55805 | 55810 | 55815 | 55820 | 55825 | 55830 | 55835 | 55840 | 55845 | 55850 | 55855 | 55860 | 55865 | 55870 | 55875 | 55880 | 55885 | 55890 | 55895 | 55900 | 55905 | 55910 | 55915 | 55920 | 55925 | 55930 | 55935 | 55940 | 55945 | 55950 | 55955 | 55960 | 55965 | 55970 | 55975 | 55980 | 55985 | 55990 | 55995 | 56000 | 56005 | 56010 | 56015 | 56020 | 56025 | 56030 | 56035 | 56040 | 56045 | 56050 | 56055 | 56060 | 56065 | 56070 | 56075 | 56080 | 56085 | 56090 | 56095 | 56100 | 56105 | 56110 | 56115 | 56120 | 56125 | 56130 | 56135 | 56140 | 56145 | 56150 | 56155 | 56160 | 56165 | 56170 | 56175 | 56180 | 56185 | 56190 | 56195 | 56200 | 56205 | 56210 | 56215 | 56220 | 56225 | 56230 | 56235 | 56240 | 56245 | 56250 | 56255 | 56260 | 56265 | 56270 | 56275 | 56280 | 56285 | 56290 | 56295 | 56300 | 56305 | 56310 | 56315 | 56320 | 56325 | 56330 | 56335 | 56340 | 56345 | 56350 | 56355 | 56360 | 56365 | 56370 | 56375 | 56380 | 56385 | 56390 | 56395 | 56400 | 56405 | 56410 | 56415 | 56420 | 56425 | 56430 | 56435 | 56440 | 56445 | 56450 | 56455 | 56460 | 56465 | 56470 | 56475 | 56480 | 56485 | 56490 | 56495 | 56500 | 56505 | 56510 | 56515 | 56520 | 56525 | 56530 | 56535 | 56540 | 56545 | 56550 | 56555 | 56560 | 56565 | 56570 | 56575 | 56580 | 56585 | 56590 | 56595 | 56600 | 56605 | 56610 | 56615 | 56620 | 56625 | 56630 | 56635 | 56640 | 56645 | 56650 | 56655 | 56660 | 56665 | 56670 | 56675 | 56680 | 56685 | 56690 | 56695 | 56700 | 56705 | 56710 | 56715 | 56720 | 56725 | 56730 | 56735 | 56740 | 56745 | 56750 | 56755 | 56760 | 56765 | 56770 | 56775 | 56780 | 56785 | 56790 | 56795 | 56800 | 56805 | 56810 | 56815 | 56820 | 56825 | 56830 | 56835 | 56840 | 56845 | 56850 | 56855 | 56860 | 56865 | 56870 | 56875 | 56880 | 56885 | 56890 | 56895 | 56900 | 56905 | 56910 | 56915 | 56920 | 56925 | 56930 | 56935 | 56940 | 56945 | 56950 | 56955 | 56960 | 56965 | 56970 | 56975 | 56980 | 56985 | 56990 | 56995 | 57000 | 57005 | 57010 | 57015 | 57020 | 57025 | 57030 | 57035 | 57040 | 57045 | 57050 | 57055 | 57060 | 57065 | 57070 | 57075 | 57080 | 57085 | 57090 | 57095 | 57100 | 57105 | 57110 | 57115 | 57120 | 57125 | 57130 | 57135 | 57140 | 57145 | 57150 | 57155 | 57160 | 57165 | 57170 | 57175 | 57180 | 57185 | 57190 | 57195 | 57200 | 57205 | 57210 | 57215 | 57220 | 57225 | 57230 | 57235 | 57240 | 57245 | 57250 | 57255 | 57260 | 57265 | 57270 | 57275 | 57280 | 57285 | 57290 | 57295 | 57300 | 57305 | 57310 | 57315 | 57320 | 57325 | 57330 | 57335 | 57340 | 57345 | 57350 | 57355 | 57360 | 57365 | 57370 | 57375 | 57380 | 57385 | 57390 | 57395 | 57400 | 57405 | 57410 | 57415 | 57420 | 57425 | 57430 | 57435 | 57440 | 57445 | 57450 | 57455 | 57460 | 57465 | 57470 | 57475 | 57480 | 57485 | 57490 | 57495 | 57500 | 57505 | 57510 | 57515 | 57520 | 57525 | 57530 | 57535 | 57540 | 57545 | 57550 | 57555 | 57560 | 57565 | 57570 | 57575 | 57580 | 57585 | 57590 | 57595 | 57600 | 57605 | 57610 | 57615 | 57620 | 57625 | 57630 | 57635 | 57640 | 57645 | 57650 | 57655 | 57660 | 57665 | 57670 | 57675 | 57680 | 57685 | 57690 | 57695 | 57700 | 57705 | 57710 | 57715 | 57720 | 57725 | 57730 | 57735 | 57740 | 57745 | 57750 | 57755 | 57760 | 57765 | 57770 | 57775 | 57780 | 57785 | 57790 | 57795 | 57800 | 57805 | 57810 | 57815 | 57820 | 57825 | 57830 | 57835 | 57840 | 57845 | 57850 | 57855 | 57860 | 57865 | 57870 | 57875 | 57880 | 57885 | 57890 | 57895 | 57900 | 57905 | 57910 | 57915 | 57920 | 57925 | 57930 | 57935 | 57940 | 57945 | 57950 | 57955 | 57960 | 57965 | 57970 | 57975 | 57980 | 57985 | 57990 | 57995 | 58000 | 58005 | 58010 | 58015 | 58020 | 58025 | 58030 | 58035 | 58040 | 58045 | 58050 | 58055 | 58060 | 58065 | 58070 | 58075 | 58080 | 58085 | 58090 | 58095 | 58100 | 58105 | 58110 | 58115 | 58120 | 58125 | 58130 | 58135 | 58140 | 58145 | 58150 | 58155 | 58160 | 58165 | 58170 | 58175 | 58180 | 58185 | 58190 | 58195 | 58200 | 58205 | 58210 | 58215 | 58220 | 58225 | 58230 | 58235 | 58240 | 58245 | 58250 | 58255 | 58260 | 58265 | 58270 | 58275 | 58280 | 58285 | 58290 | 58295 | 58300 | 58305 | 58310 | 58315 | 58320 | 58325 | 58330 | 58335 | 58340 | 58345 | 58350 | 58355 | 58360 | 58365 | 58370 | 58375 | 58380 | 58385 | 58390 | 58395 | 58400 | 58405 | 58410 | 58415 | 58420 | 58425 | 58430 | 58435 | 58440 | 58445 | 58450 | 58455 | 58460 | 58465 | 58470 | 58475 | 58480 | 58485 | 58490 | 58495 | 58500 | 58505 | 58510 | 58515 | 58520 | 58525 | 58530 | 58535 | 58540 | 58545 | 58550 | 58555 | 58560 | 58565 | 58570 | 58575 | 58580 | 58585 | 58590 | 58595 | 58600 | 58605 | 58610 | 58615 | 58620 | 58625 | 58630 | 58635 | 58640 | 58645 | 58650 | 58655 | 58660 | 58665 | 58670 | 58675 | 58680 | 58685 | 58690 | 58695 | 58700 | 58705 | 58710 | 58715 | 58720 | 58725 | 58730 | 58735 | 58740 | 58745 | 58750 | 58755 | 58760 | 58765 | 58770 | 58775 | 58780 | 58785 | 58790 | 58795 | 58800 | 58805 | 58810 | 58815 | 58820 | 58825 | 58830 | 58835 | 58840 | 58845 | 58850 | 58855 | 58860 | 58865 | 58870 | 58875 | 58880 | 58885 | 58890 | 58895 | 58900 | 58905 | 58910 | 58915 | 58920 | 58925 | 58930 | 58935 | 58940 | 58945 | 58950 | 58955 | 58960 | 58965 | 58970 | 58975 | 58980 | 58985 | 58990 | 58995 | 59000 | 59005 | 59010 | 59015 | 59020 | 59025 | 59030 | 59035 | 59040 | 59045 | 59050 | 59055 | 59060 | 59065 | 59070 | 59075 | 59080 | 59085 | 59090 | 59095 | 59100 | 59105 | 59110 | 59115 | 59120 | 59125 | 59130 | 59135 | 59140 | 59145 | 59150 | 59155 | 59160 | 59165 | 59170 | 59175 | 59180 | 59185 | 59190 | 59195 | 59200 | 59205 | 59210 | 59215 | 59220 | 59225 | 59230 | 59235 | 59240 | 59245 | 59250 | 59255 | 59260 | 59265 | 59270 | 59275 | 59280 | 59285 | 59290 | 59295 | 59300 | 59305 | 59310 | 59315 | 59320 | 59325 | 59330 | 59335 | 59340 | 59345 | 59350 | 59355 | 59360 | 59365 | 59370 | 59375 | 59380 | 59385 | 59390 | 59395 | 59400 | 59405 | 59410 | 59415 | 59420 | 59425 | 59430 | 59435 | 59440 | 59445 | 59450 | 59455 | 59460 | 59465 | 59470 | 59475 | 59480 | 59485 | 59490 | 59495 | 59500 | 59505 | 59510 | 59515 | 59520 | 59525 | 59530 | 59535 | 59540 | 59545 | 59550 | 59555 | 59560 | 59565 | 59570 | 59575 | 59580 | 59585 | 59590 | 59595 | 59600 | 59605 | 59610 | 59615 | 59620 | 59625 | 59630 | 59635 | 59640 | 59645 | 59650 | 59655 | 59660 | 59665 | 59670 | 59675 | 59680 | 59685 | 59690 | 59695 | 59700 | 59705 | 59710 | 59715 | 59720 | 59725 | 59730 | 59735 | 59740 | 59745 | 59750 | 59755 | 59760 | 59765 | 59770 | 59775 | 59780 | 59785 | 59790 | 59795 | 59800 | 59805 | 59810 | 59815 | 59820 | 59825 | 59830 | 59835 | 59840 | 59845 | 59850 | 59855 | 59860 | 59865 | 59870 | 59875 | 59880 | 59885 | 59890 | 59895 | 59900 | 59905 | 59910 | 59915 | 59920 | 59925 | 59930 | 59935 | 59940 | 59945 | 59950 | 59955 | 59960 | 59965 | 59970 | 59975 | 59980 | 59985 | 59990 | 59995 | 60000 | 60005 | 60010 | 60015 | 60020 | 60025 | 60030 | 60035 | 60040 | 60045 | 60050 | 60055 | 60060 | 60065 | 60070 | 60075 | 60080 | 60085 | 60090 | 60095 | 60100 | 60105 | 60110 | 60115 | 60120 | 60125 | 60130 | 60135 | 60140 | 60145 | 60150 | 60155 | 60160 | 60165 | 60170 | 60175 | 60180 | 60185 | 60190 | 60195 | 60200 | 60205 | 60210 | 60215 | 60220 | 60225 | 60230 | 60235 | 60240 | 60245 | 60250 | 60255 | 60260 | 60265 | 60270 | 60275 | 60280 | 60285 | 60290 | 60295 | 60300 | 60305 | 60310 | 60315 | 60320 | 60325 | 60330 | 60335 | 60340 | 60345 | 60350 | 60355 | 60360 | 60365 | 60370 | 60375 | 60380 | 60385 | 60390 | 60395 | 60400 | 60405 | 60410 | 60415 | 60420 | 60425 | 60430 | 60435 | 60440 | 60445 | 60450 | 60455 | 60460 | 60465 | 60470 | 60475 | 60480 | 60485 | 60490 | 60495 | 60500 | 60505 | 60510 | 60515 | 60520 | 60525 | 60530 | 60535 | 60540 | 60545 | 60550 | 60555 | 60560 | 60565 | 60570 | 60575 | 60580 | 60585 | 60590 | 60595 | 60600 | 60605 | 60610 | 60615 | 60620 | 60625 | 60630 | 60635 | 60640 | 60645 | 60650 | 60655 | 60660 | 60665 | 60670 | 60675 | 60680 | 60685 | 60690 | 60695 | 60700 | 60705 | 60710 | 60715 | 60720 | 60725 | 60730 | 60735 | 60740 | 60745 | 60750 | 60755 | 60760 | 60765 | 60770 | 60775 | 60780 | 60785 | 60790 | 60795 | 60800 | 60805 | 60810 | 60815 | 60820 | 60825 | 60830 | 60835 | 60840 | 60845 | 60850 | 60855 | 60860 | 60865 | 60870 | 60875 | 60880 | 60885 | 60890 | 60895 | 60900 | 60905 | 60910 | 60915 | 60920 | 60925 | 60930 | 60935 | 60940 | 60945 | 60950 | 60955 | 60960 | 60965 | 60970 | 60975 | 60980 | 60985 | 60990 | 60995 | 61000 | 61005 | 61010 | 61015 | 61020 | 61025 | 61030 | 61035 | 61040 | 61045 | 61050 | 61055 | 61060 | 61065 | 61070 | 61075 | 61080 | 61085 | 61090 | 61095 | 61100 | 61105 | 61110 | 61115 | 61120 | 61125 | 61130 | 61135 | 61140 | 61145 | 61150 | 61155 | 61160 | 61165 | 61170 | 61175 | 61180 | 61185 | 61190 | 61195 | 61200 | 61205 | 61210 | 61215 | 61220 | 61225 | 61230 | 61235 | 61240 | 61245 | 61250 | 61255 | 61260 | 61265 | 61270 | 61275 | 61280 | 61285 | 61290 | 61295 | 61300 | 61305 | 61310 | 61315 | 61320 | 61325 | 61330 | 61335 | 61340 | 61345 | 61350 | 61355 | 61360 | 61365 | 61370 | 61375 | 61380 | 61385 | 61390 | 61395 | 61400 | 61405 | 61410 | 61415 | 61420 | 61425 | 61430 | 61435 | 61440 | 61445 | 61450 | 61455 | 61460 | 61465 | 61470 | 61475 | 61480 | 61485 | 61490 | 61495 | 61500 | 61505 | 61510 | 61515 | 61520 | 61525 | 61530 | 61535 | 61540 | 61545 | 61550 | 61555 | 61560 | 61565 | 61570 | 61575 | 61580 | 61585 | 61590 | 61595 | 61600 | 61605 | 61610 | 61615 | 61620 | 61625 | 61630 | 61635 | 61640 | 61645 | 61650 | 61655 | 61660 | 61665 | 61670 | 61675 | 61680 | 61685 | 61690 | 61695 | 61700 | 61705 | 61710 | 61715 | 61720 | 61725 | 61730 | 61735 | 61740 | 61745 | 61750 | 61755 | 61760 | 61765 | 61770 | 61775 | 61780 | 61785 | 61790 | 61795 | 61800 | 61805 | 61810 | 61815 | 61820 | 61825 | 61830 | 61835 | 61840 | 61845 | 61850 | 61855 | 61860 | 61865 | 61870 | 61875 | 61880 | 61885 | 61890 | 61895 | 61900 | 61905 | 61910 | 61915 | 61920 | 61925 | 61930 | 61935 | 61940 | 61945 | 61950 | 61955 | 61960 | 61965 | 61970 | 61975 | 61980 | 61985 | 61990 | 61995 | 62000 | 62005 | 62010 | 62015 | 62020 | 62025 | 62030 | 62035 | 62040 | 62045 | 62050 | 62055 | 62060 | 62065 | 62070 | 62075 | 62080 | 62085 | 62090 | 62095 | 62100 | 62105 | 62110 | 62115 | 62120 | 62125 | 62130 | 62135 | 62140 | 62145 | 62150 | 62155 | 62160 | 62165 | 62170 | 62175 | 62180 | 62185 | 62190 | 62195 | 62200 | 62205 | 62210 | 62215 | 62220 | 62225 | 62230 | 62235 | 62240 | 62245 | 62250 | 62255 | 62260 | 62265 | 62270 | 62275 | 62280 | 62285 | 62290 | 62295 | 62300 | 62305 | 62310 | 62315 | 62320 | 62325 | 62330 | 62335 | 62340 | 62345 | 62350 | 62355 | 62360 | 62365 | 62370 | 62375 | 62380 | 62385 | 62390 | 62395 | 62400 | 62405 | 62410 | 62415 | 62420 | 62425 | 62430 | 62435 | 62440 | 62445 | 62450 | 62455 | 62460 | 62465 | 62470 | 62475 | 62480 | 62485 | 62490 | 62495 | 62500 | 62505 | 62510 | 62515 | 62520 | 62525 | 62530 | 62535 | 62540 | 62545 | 62550 | 62555 | 62560 | 62565 | 62570 | 62575 | 62580 | 62585 | 62590 | 62595 | 62600 | 62605 | 62610 | 62615 | 62620 | 62625 | 62630 | 62635 | 62640 | 62645 | 62650 | 62655 | 62660 | 62665 | 62670 | 62675 | 62680 | 62685 | 62690 | 62695 | 62700 | 62705 | 62710 | 62715 | 62720 | 62725 | 62730 | 62735 | 62740 | 62745 | 62750 | 62755 | 62760 | 62765 | 62770 | 62775 | 62780 | 62785 | 62790 | 62795 | 62800 | 62805 | 62810 | 62815 | 62820 | 62825 | 62830 | 62835 | 62840 | 62845 | 62850 | 62855 | 62860 | 62865 | 62870 | 62875 | 62880 | 62885 | 62890 | 62895 | 62900 | 62905 | 62910 | 62915 | 62920 | 62925 | 62930 | 62935 | 62940 | 62945 | 62950 | 62955 | 62960 | 62965 | 62970 | 62975 | 62980 | 62985 | 62990 | 62995 | 63000 | 63005 | 63010 | 63015 | 63020 | 63025 | 63030 | 63035 | 63040 | 63045 | 63050 | 63055 | 63060 | 63065 | 63070 | 63075 | 63080 | 63085 | 63090 | 63095 | 63100 | 63105 | 63110 | 63115 | 63120 | 63125 | 63130 | 63135 | 63140 | 63145 | 63150 | 63155 | 63160 | 63165 | 63170 | 63175 | 63180 | 63185 | 63190 | 63195 | 63200 | 63205 | 63210 | 63215 | 63220 | 63225 | 63230 | 63235 | 63240 | 63245 | 63250 | 63255 | 63260 | 63265 | 63270 | 63275 | 63280 | 63285 | 63290 | 63295 | 63300 | 63305 | 63310 | 63315 | 63320 | 63325 | 63330 | 63335 | 63340 | 63345 | 63350 | 63355 | 63360 | 63365 | 63370 | 63375 | 63380 | 63385 | 63390 | 63395 | 63400 | 63405 | 63410 | 63415 | 63420 | 63425 | 63430 | 63435 | 63440 | 63445 | 63450 | 63455 | 63460 | 63465 | 63470 | 63475 | 63480 | 63485 | 63490 | 63495 | 63500 | 63505 | 63510 | 63515 | 63520 | 63525 | 63530 | 63535 | 63540 | 63545 | 63550 | 63555 | 63560 | 63565 | 63570 | 63575 | 63580 | 63585 | 63590 | 63595 | 63600 | 63605 | 63610 | 63615 | 63620 | 63625 | 63630 | 63635 | 63640 | 63645 | 63650 | 63655 | 63660 | 63665 | 63670 | 63675 | 63680 | 63685 | 63690 | 63695 | 63700 | 63705 | 63710 | 63715 | 63720 | 63725 | 63730 | 63735 | 63740 | 63745 | 63750 | 63755 | 63760 | 63765 | 63770 | 63775 | 63780 | 63785 | 63790 | 63795 | 63800 | 63805 | 63810 | 63815 | 63820 | 63825 | 63830 | 63835 | 63840 | 63845 | 63850 | 63855 | 63860 | 63865 | 63870 | 63875 | 63880 | 63885 | 63890 | 63895 | 63900 | 63905 | 63910 | 63915 | 63920 | 63925 | 63930 | 63935 | 63940 | 63945 | 63950 | 63955 | 63960 | 63965 | 63970 | 63975 | 63980 | 63985 | 63990 | 63995 | 64000 | 64005 | 64010 | 64015 | 64020 | 64025 | 64030 | 64035 | 64040 | 64045 | 64050 | 64055 | 64060 | 64065 | 64070 | 64075 | 64080 | 64085 | 64090 | 64095 | 64100 | 64105 | 64110 | 64115 | 64120 | 64125 | 64130 | 64135 | 64140 | 64145 | 64150 | 64155 | 64160 | 64165 | 64170 | 64175 | 64180 | 64185 | 64190 | 64195 | 64200 | 64205 | 64210 | 64215 | 64220 | 64225 | 64230 | 64235 | 64240 | 64245 | 64250 | 64255 | 64260 | 64265 | 64270 | 64275 | 64280 | 64285 | 64290 | 64295 | 64300 | 64305 | 64310 | 64315 | 64320 | 64325 | 64330 | 64335 | 64340 | 64345 | 64350 | 64355 | 64360 | 64365 | 64370 | 64375 | 64380 | 64385 | 64390 | 64395 | 64400 | 64405 | 64410 | 64415 | 64420 | 64425 | 64430 | 64435 | 64440 | 64445 | 64450 | 64455 | 64460 | 64465 | 64470 | 64475 | 64480 | 64485 | 64490 | 64495 | 64500 | 64505 | 64510 | 64515 | 64520 | 64525 | 64530 | 64535 | 64540 | 64545 | 64550 | 64555 | 64560 | 64565 | 64570 | 64575 | 64580 | 64585 | 64590 | 64595 | 64600 | 64605 | 64610 | 64615 | 64620 | 64625 | 64630 | 64635 | 64640 | 64645 | 64650 | 64655 | 64660 | 64665 | 64670 | 64675 | 64680 | 64685 | 64690 | 64695 | 64700 | 64705 | 64710 | 64715 | 64720 | 64725 | 64730 | 64735 | 64740 | 64745 | 64750 | 64755 | 64760 | 64765 | 64770 | 64775 | 64780 | 64785 | 64790 | 64795 | 64800 | 64805 | 64810 | 64815 | 64820 | 64825 | 64830 | 64835 | 64840 | 64845 | 64850 | 64855 | 64860 | 64865 | 64870 | 64875 | 64880 | 64885 | 64890 | 64895 | 64900 | 64905 | 64910 | 64915 | 64920 | 64925 | 64930 | 64935 | 64940 | 64945 | 64950 | 64955 | 64960 | 64965 | 64970 | 64975 | 64980 | 64985 | 64990 | 64995 | 65000 | 65005 | 65010 | 65015 | 65020 | 65025 | 65030 | 65035 | 65040 | 65045 | 65050 | 65055 | 65060 | 65065 | 65070 | 65075
pC*
pC*

## Slide 11: Head loss
Traditional filters demonstrate exponentially increasing head loss when clogged due to accumulation of flocs on surface
SRSF is not affected by accumulation of flocs on surface because of subsurface injection
Theoretically head loss should increase linearly and level off
Initial tests suggest this trend occurs

## Slide 12: Head loss II
Chart: Trend in Head Loss for PACl Concentration of 0.2 mg/L

## Slide 13: Head loss III
Notes: The time that the head loss levels off and the pC curve begins decreasing occur at approximately the same time which adheres to our simplified model of the pores being filled.

## Slide 14: Head loss IV
Converted influent turbidity measurements to mg
Plotted the head loss versus accumulated mass
Initial tests suggest that the increase in head loss is proportional to the amount of accumulated mass

## Slide 15: Head loss V
Chart: Head loss (0.65 mg/L)

## Slide 16: Current Issues
Strange head loss readings
Even if we account for negative readings of our pressure sensor, some data still does not make sense
Chart: Head Loss 1.1 mg/L

## Slide 17: Future Work
Want to determine a model for filter performance at any given PACl dosage
Kozeny’s Equation
Can determine Vpore from known porosity, 0.4
μ = dynamic viscosity, ρ = density of sand
Determine value where head loss levels off at each PACl dosage
Solve equation for dpore
Relate dpore to amount of clay that can enter the filter before it clogs

## Slide 18: Questions/Comments?