## Slide 1: Arsenic Removal from Drinking Water
By: Tanapong Jiarathanakul, Imtiaz Karim, Michelle Wagner
Faculty Advisors: Professor Lion and Professor Weber-Shirk
Student Advisors: Casey Garland and Will Pennock

## Slide 2: What is Arsenic?
Metallic grey element
Make up 0.00015% of the Earth’s crust
Common species
  Arsenate - As(V):
  Arsenite - As(III)

## Slide 3: Why Study Arsenic?
Common global groundwater contaminant

## Slide 4: Why Study Arsenic?
High toxicity
  Lung and lymphatic cancer
  Nervous, circulatory, digestive and respiratory system damage
  Effects on skin, liver, kidneys and eyes

## Slide 5: Why Study Arsenic?
International Agency for Research on Cancer (IARC) recognizes arsenic and arsenic compounds as Group 1 Carcinogen
EPA and FDA set maximum arsenic concentration in drinking water at 10 ppb

## Slide 6: Our Goals
Determine the most efficient arsenic removal technique
Determine arsenic detection methods at low concentration
Explore the possibility of full-scale implementation
Factors:
  Coagulant type
  Coagulant concentration
  Turbidity
  pH
  Oxidation level
  Feasibility

## Slide 7: Arsenic Team
What have we done so far?
Sources: www.proprofs.com; sachabiochem0001.wordpress.com

## Slide 8: A lot of research
Removal of arsenic from contaminated water sources by sorption onto iron-oxide-coated polymeric materials
Ioannis A. Katsoyiannis, Anastasios I. Zouboulis*
Removal of arsenates from contaminated water by coagulation- direct filtration
Ioannis A. Katsoyiannis, Anastasios I. Zouboulis*
Comparisons of Polymeric and Conventional Coagulants in Arsenic (V) Removal”, written by Maohong Fan, et. al (2002)
…
Source: arda.org

## Slide 9: Safety Procedures

## Slide 10: Lab Safety Equipment
Sources: http://2013.igem.org/Team:INSA_Toulouse/contenu/safety/safety_in_the_lab; mysafetysign.com

## Slide 11: Obtaining materials and equipment
1. Centrifuge
2. Tumbler
3. Centrifuge tubes
4. Micropipettes
5. Coagulant (PACl, Alum, FeCl3)
6. Acid solution
7. Arsenic standard
8. Groundwater test solution
Source: thechroniclefast.com

## Slide 12: Tests of centrifuge tubes
+
=
Souce: made-in-china.com; www.spectrumchemical.com

## Slide 13: Calibration Curve

## Slide 15: Learning how to use the GFAAS

## Slide 16: Meet Our Friend: GFAAS

## Slide 21: Upcoming Work
Tests with water
Clay may be included to create an initial turbidity
Create an arsenic calibration curve for the GFAAS
Determine the best method in order to measure low concentrations of arsenic and to optimize treatment processes for an efficient arsenic removal from contaminated waters

## Slide 22: Thank you!
Team Arsenic : “Working Harder to Keep Arsenic out of Your Water”