## Slide 1: Arsenic Removal
Imtiaz Karim, Tsz Him Lo, Katie Linscott, Carrie Smith

## Slide 2: Introduction
Background
  WHO standard
  Health effects
    20-50% in Bangladesh
Motivation
  Get lab arsenic ready
Notes: Carrie

## Slide 3: Introduction
Tasks
  Safety
  Water type
  Detection and Data Collection methods
  Non-coagulant removal systems
  Coagulants
  Experimental design
    Mathcad file
  Conclusions and Future Work
Notes: Carrie

## Slide 4: Research: Lab Use
Obtaining arsenic
Dangers of arsenic
Minimizing the risks
Disposing arsenic waste
Notes: Imtiaz

## Slide 5: Research: Water Types and Interactions
Arsenic’s interaction with
  Clay and metal oxides
  Organic matter
http://www.chemistryland.com/CHM130W/18-Final/OralExam/ArsenateArsenite.jpg
http://1.bp.blogspot.com/_odr6vqxoV5s/SgZUqOfoKLI/AAAAAAAAAA8/etGbTg9PSS0/s400/LCG+meeting+011.jpg
(Lakshmanan, Clifford, and Samanta, 2010)
Notes: Himmy

## Slide 6: Research: Coagulants and Pretreatment
Flocculation/sedimentation
  Ferric Chloride
  Ferric Sulfate
  PACl
  Alum
Pretreatment
  Potassium Permanganate
  Sodium hypochlorite
Notes: Katie

## Slide 7: Research: Non-coagulant removal systems
Ion Exchange Resin
Activated alumina
Iron Oxide Coated Sand
Coagulation plus filtration
  Flocs may be small
Notes: Katie

## Slide 8: Research: Detection and Data Collection methods
http://www.crimescene.com/rose/arsenic/Image6.gif
http://www.crimescene.com/rose/arsenic/Image9.gif
http://www.wagtech.co.uk/system/uploads/attachments/0000/3764/wagtech-digital-arsenic-detection-kit-arsenator-in-use_product_page_lightbox.jpg
arsenic-
contaminated
water sample
acid
reductant
Colorimetric
  Color of test strips indicates As concentration
  Problems
    Color blindness
    Arsine gas
AsH2
H
AsH2–
H+
Br–
Hg
Br
Br
Br–
http://www.crimescene.com/rose/arsenic/Image7.gif
Hg+
AsH2
AsH2–
AsH2
I’ll be back...
Notes: Himmy

## Slide 9: Research: Detection and Data Collection methods
Electrochemical
  Stripping voltammetry
  Determines ion species
  Low detection limits
  Sensitive, minimal sample preparation, low cost
  Interference of other metals
Notes: Carrie

## Slide 10: Research: Detection and Data Collection methods
ICP-MS (on campus)
GFAAS (on campus)
  These are both expensive
Commercially available systems
  ArsenicGuard (TraceDetect)
  OVA5000
  PSA10.255
Process Controller
GFAAS
Notes: Imtiaz

## Slide 11: Research: Arsenic/Coagulant Interactions
(Lackovic, Nikolaidis, and Dobbs, 2000)
(Stumm, 1995)
(Goldberg and Johnston, 2001)
Notes: Himmy

## Slide 12: Research: Experimental design
Mathcad file
  Based on Flocculation/Sedimentation Optimization team
Changes to equations
  Energy Dissipation
  Floc Geometry
  Floc Volume Fraction
  Collision Potential
Notes: Katie

## Slide 13: Conclusions
Starting point for lab-based studies
Covered safety, ground water composition, interactions, flocculation
Due to flocs likely being small, may want to just do direct filtration
Notes: Carrie

## Slide 14: Future Work
Determine Appropriate testing location.
Create waste storage area.
Design the benchtop model.
Notes: Imtiaz

## Slide 15
Questions?
http://www.summagallicana.it/lessico/a/arsenico.htm
I’m back!!!