## Slide 1: Sedimentation Tank Design Details
Team Members: Kristie Guo and Paroma Chakravarty

## Slide 2: Task 1: Implement New Inlet Jet Design

## Slide 3: Why should we shift inlet jet over?
A vertically placed asymmetric jet is ideal for floc resuspension
  Eliminates the possibility of sludge buildup in the reverser

## Slide 4: Comparison Between Past Code And Our New Code

## Slide 5: Task 2: Add Feet to Support Manifold
Notes: feet will stabilize manifold

## Slide 6: Feet Placement
The feet should go on either end of each pipe

## Slide 7: Problems And Future Work
Calculation of the different pipe lengths
Origin points of the feet
The exact position of the feet
Hose clamps to hold the feet against the manifold

## Slide 8: Questions