## Slide 1: Water Treatment Technology Selection Guide (WTTSG)
Yao Lu, Larissa Sakiyama, and Sarah Sinclair

## Slide 2: Background
Water Treatment Technology Selection Guide
Plant Cost Calculator
Integrate into a single web application
Give most appropriate recommendations possible

## Slide 3: Technology Comparisons
FIME
Package plants
Direct Filtration
Kiosks
Filters
How to present data clearly and effectively?

## Slide 4: Technology Comparisons
Notes: What does the table do:
How to use this table:

## Slide 5: Options and Parameters
Relevant Changes Were Made:
Treatment option civil works eliminated (poorly ranked in almost all categories)
Direct filtration added
Category ‘quality of treated water’ was replaced by the parameter ‘water turbidity’
‘Contaminant removal’ category added

## Slide 6: Plant Cost Calculator Plant Cost Calculator
Estimating water treatment cost: User inputs
· Per capita demand
· Population growth
· Initial population
· Plant adequacy
· Dose Coagulant
· Cost Coagulant
· Dose Chlorine
· Cost Chlorine
· Monthly Wage
· No. Employees
· Purity of calcium
hypochlorite

## Slide 7: Plant Cost Calculator Plant Cost Calculator
Total monthly cost for operation and maintenance:
building energy
cost coagulant
cost chlorine
wages expense
maintenance material requirement
Total plant cost = Capital cost + monthly operating costs + monthly maintenance costs

## Slide 8: Plant Cost Calculator Plant Cost Calculator
Curve Fitting with Linear Regression:
C = 61077*f -.599

## Slide 9: Implementation
Notes: stop one on the journey: brainstorming the layout and design of the site

## Slide 10: Implementation
Notes: previous website uninspiring. now features like parallax scrolling, cool javascript to manage transition from one page to the next, etc

## Slide 11: Implementation
Notes: Dynamically resizes to best fit browser width

## Slide 12: Implementation
Notes: various inputs, login fields, favicon, and other touches being added to the implementation

## Slide 13: Implementation
Notes: various inputs, login fields, favicon, and other touches being added to the implementation

## Slide 14: Implementation
Data passing
Autofilled forms
Interacting with database
Notes: various inputs, login fields, favicon, and other touches being added to the implementation

## Slide 15: Future Work
Dynamic results page
MySQL functionality
Automatic regression
Language translation
Deploy site!

## Slide 16: Any Questions?
?