## Slide 1: Water Treatment Technology Selection Guide (WTTSG)
Yao Lu, Larissa Sakiyama, and Sarah Sinclair

## Slide 2: Background
Water Treatment Technology Selection Guide
Plant Cost Calculator
Integrate into a single web application
Give most appropriate recommendations possible

## Slide 3: Treatment Options
Multi-Stage Filtration Process (FIME)
Definition: Treats raw water without the use of pre-treatment chemicals or complex filter backwash process. Best for small systems ranging from 20 to 2,000 in population
Pros:
• Effective for a wide range of raw water quality
• Ease of operation, minimal construction
• No pre-treatment chemicals
• Lower operating/life cycle cost
• Effective for turbidity, cysts, bacteria, and color
Notes: NO wastewater
go over the three? ish treatment types we are researching--FIME, package plants, etc, and wh someone would consider those technologies (pro/con)
Put MINIMAL information on the slide. mostly say aloud
• Ease of operation
• No pre-treatment chemicals and no large chemical storage and feed areas
• Lower operating cost, lower life cycle cost
• Meets government guideline for filtration of surface waters
• Effective treatment for turbidity, cysts, bacteria, and colour
• Simple cleaning techniques produce very little waste
• Effective for a wide range of raw water quality
• Pre-fabricated unit minimizes concrete and reduces construction time

## Slide 4: Treatment Options

## Slide 5: Treatment Options
Package Plants
Definition: Pre-manufactured treatment facilities used to treat water in small communities or on individual properties.
Pros:
• Easy to install, operate
• Odor free
• Low sludge yield
Cons:
• Flexibility is limited to adapt to regulatory changes.
• More energy, more space
Notes: Best To Use: extended aeration plants, sequencing batch reactors, oxidation ditches, contact stabilization plants, rotating biological contactors, and physical/chemical processes

## Slide 6: Treatment Options

## Slide 7: Treatment Options
Membrane Filter Kiosks
Definition: a pressure- or vacuum-driven separation process
Best to use: reservoirs, lakes, rivers, surface water impoundments, aquifers under the influence of the surface water.

## Slide 8: Plant Cost Calculator Plant Cost Calculator
Total Cost:
Total = Wages Cost + Operating Cost + Design Cost
Design Cost: D = C * q * P(n) / 8640
C = cost per flow rate (USD/L/S); Very Rough Estimate at C = 10000 (USD/L/S)
q = per capita water demand (L/day/person)
P(n) = final population

## Slide 9: Plant Cost Calculator Plant Cost Calculator
Improving 10000 (USD/L/S) cost per flow rate estimation:
Simple linear regression between cost per flow rate of 6 plants in Honduras and their flow rates:
C = -95.893 * f + 10567

## Slide 10: Plant Cost Calculator
Curve Fitting with Linear Regression:
A scatterplot of the data below was created, and a regression was performed using the Excel Power curve of the scatterplot data
Name | Flow Rate (L/s) | Cost/Flow Rate (USD/(L/s))
Moroceli | 16 | 11777
San Nicolas | 32 | 7486
La Libertad El Faldon | 32 | 7722
La Libertad Los Laurales | 35 | 6867
Las Vegas Piedras Amarillas | 44 | 6645

## Slide 11: Plant Cost Calculator Plant Cost Calculator
Curve Fitting with Linear Regression:
C = 61077*f -.599

## Slide 12: Implementation
Notes: stop one on the journey: brainstorming the layout and design of the site

## Slide 13: Implementation
Notes: stop one on the journey: brainstorming the layout and design of the site

## Slide 14: Implementation
Notes: previous website uninspiring. now features like parallax scrolling, cool javascript to manage transition from one page to the next, etc

## Slide 15: Implementation
Notes: Dynamically resizes to best fit browser width

## Slide 16: Implementation
Notes: various inputs, login fields, favicon, and other touches being added to the implementation

## Slide 17: Future Work
Continued implementation
MySQL functionality
Automatic regression
Estimate total cost with cost curves
Deploy site!

## Slide 18: Any Questions?
?