## Slide 1: Sed Tank Controls And Floc Probe
Alexandra Green, Tiago Viegas, and Paul Vieselmeyer

## Slide 2: The Challenge
Inflow Channel
San Nicholas
Effluent Launder
Atima

## Slide 3: What we’ve done so far
Testing Apparatus

## Slide 4: What we’ve done so far
Lever
Slide Hammer
Pipe Stub

## Slide 5: Cost Analysis
Slide Hammer | Unit | Unit Cost | Cost of Use
1/2" Steel Rod | 6 ft | $ 13.89 | $ 8.49
1.5" Rectangular Steel Tube, 0.12" Thickness | 1 ft | $ 11.67 | $ 8.75
Shick Absorbing Foam Tape | 10 ft roll | $ 24.68 | $ 1.23
 |  | Total | $ 18.47
Lever | Unit | Unit Cost | Cost of Use
1/2" Steel Rod | 6 ft | $ 13.89 | $ 2.32
Open-Eye Routing Eyebolt | 10 pack | $ 8.65 | $ 1.73
Coupling Nut Grade 5 Steel | 1 | $ 0.28 | $ 0.28
Buna-N O-Rings | 1 package | $ 2.86 | $ 0.46
1" PVC | 5 ft | $ 5.27 | $ 2.11
 |  | Total | $ 6.89

## Slide 6: What we’ve done so far
Launder Cap
Lever Fork
Modified Cap
Cap Alternatives

## Slide 7: Economic Considerations

## Slide 8: Catwalks
Cost considerations
Need multiple sedimentation bays
Impacts on weir system for sed tank entrance
Notes: Julia’s notes, an image etc
They decided to keep all the walls and have one tank per bay

## Slide 9: Floc Probe Challenge
Notes: Sed tank diagrams
-what the problem
-what drew said
-what monroe thinks
-is there anything we can do?

## Slide 10: Floc Probe Challenge
Drew:
  Currently, using an LED light, but not clear when the light disappears
  Sludge falling over the floc weir
  Need better viewing positioning
Monroe:
  Not able to drain floc hopper properly
  Need to be able to see a small layer of sludge water to determine

## Slide 11: Turbidimeter Team
Developed Turbidimeters to test potential water sources for AguaClara Plants
Used an LED and HPDE block to diffuse light
Cost less than $5 and could test turbidities of above 15 NTU

## Slide 12: Experimental Set Up
Tried to mimic interface between floc blanket and clear water above
Ethanol layer above suspended clay solution
Vegetable oil above dark brown Pine Sol cleaner
Notes: Couldn’t use Casey’s set up – narrow and higher NTU than San Nicolas

## Slide 13: Sludge Judge
Small layer of sludge water between the light and the clear cap
Adjustable distance of LED light
Pipe length can be increased – long pipe is necessary
Notes: Future model could have a removable Viewing cap

## Slide 14: Future Plans
Figure out what’s going on in San Nicholas…
Improvement of Sludge Judge
  Removable viewing cap
  Thicker connecting bar
Notes: NOT ENOUGH INFO
Future model could have a removable Viewing cap.
Bar thicker so that I wont bend easily

## Slide 15: Questions?