## Slide 1: Ventilator Waveforms
Questions

## Slide 2: Questions
Is this scalar…
  Flow
  Volume
  Pressure
Label the following:
  Termination of inspiration
  Exhalation
  Beginning of expiration
  Beginning of inspiration
  Inspiration
  End expiration

## Slide 3: What does the red loop represent?
Notes: Red loop - Increased expiratory airway resistance

## Slide 4: Label the Following
Start of inhalation
Start of exhalation
Peak expiratory flow rate
Inspiration
Expiration
Volume
A
E
D
C
B
F
Notes: A: peak exp flow rate
B: start inhalation
C: Volume
D: start exhalation
E; Expiration
F: Inspiration

## Slide 5: Questions:
Is this scalar…
  Flow
  Volume
  Pressure
Label the following:
  Termination of inspiration
  Exhalation
  Beginning of expiration
  Beginning of inspiration
  Inspiration
  End expiration

## Slide 6: Compliance
What is compliance?
Which loop has the lowest compliance?
Which loop has the highest compliance?
Notes: Lowest compliance – red
Highest compliance – light blue

## Slide 7: Compliance Pressure-Volume
Which loop represents increased compliance?
Which loop represents decreased compliance?
Notes: Increased compliance – light blue
Decreased compliance – red
Decreased compliance – “right shift” in PV loop

## Slide 8: Ventilator modes
Volume or pressure?
Ventilator mode?
Notes: Top: Pressure
SIMV
Bottom: Volume
Assist control

## Slide 9: Questions
Is this scalar…
  Flow
  Volume
  Pressure
Label the following:
  Termination of inspiration
  Exhalation
  Beginning of expiration
  Beginning of inspiration
  Inspiration
  End expiration

## Slide 10: What does the red loop represent?
Notes: Increased inspiratory resistance

## Slide 11: What does the arrow indicate?
Notes: Active exhalation

## Slide 12: Matching
Sine wave
Square wave
Ramp wave
Spontaneous breathing
Represents constant parameter
Represents variable parameter
Notes: Square wave:
▫Represents a constant or set parameter.
▫For example, pressure setting in PC mode or flowrate setting in VC mode.
•Ramp wave:
▫Represents a variable parameter
▫Will vary with changes in lung characteristics
▫Can be accelerating or decelerating
•Sine wave:
▫Seen with spontaneous, unsupported breathing

## Slide 13: Matching
Sine wave
Square wave
Ramp wave
Spontaneous breathing
Represents constant parameter
Represents variable parameter

## Slide 14: What is the difference between these two breaths?

## Slide 15: Pressure-volume loop
What does the

## Slide 16: What does this represent?
Notes: Vent-patient asynchrony

## Slide 17: Ventilator modes
Volume or pressure?
Mode?
Notes: Top: Volume
Controlled ventilation
Bottom: Volume
SIMV

## Slide 18: Ventilator modes
What intervention has happened in these loops?
Notes: bronchodilator

## Slide 19: What does this represent?
Notes: Auto-peep

## Slide 20: What is depicted here?
Notes: leak

## Slide 21: What is depicted here?

## Slide 22: What is depicted here (A)
Notes: Beaking – increase in pressure with no increase in volume

## Slide 23: What is depicted here (B)
Notes: Reduced compliance

## Slide 24
What are potential causes for these scalars?
What intervention should be attempted?
Notes: 1. Partial obstruction or water in circuit
2. Check for condensation in tubes. Suction airway.

## Slide 25: What is occurring in the area indicated by the circle?
Notes: Air trapping

## Slide 26: What do the bottom scalars represent ?(top=normal)
Notes: Elevated expiratory resistance

## Slide 27: What is indicated here?
Notes: Air trapping

## Slide 28: What is depicted?
???
Notes: Inspiratory hold

## Slide 29
Notes: Mechanics of dynamic pulmonary hyperinflation in the setting of severe airflow obstruction.
A flow-time curve - inspiration begins before complete exhalation of the previous breath, leading to gas trapping (shaded area).
B) Gas trapping over the course of several breaths leads to an increased end-expiratory lung volume. The trapped volume (Vtrap) over functional residual capacity is indicated by the double-headed arrow.
C) Increase in expiratory time and decrease in respiratory rate allow for complete exhalation prior to the initiation of the next breath.
D) Increase in expiratory time and decrease in respiratory rate result in no air trapping and absence of dynamic hyperinflation

## Slide 30
? ? ? ?
? ? ? ?
Notes: Upper right – volutrauma
Lower left - atelectrauma

## Slide 31
Notes: Upper inflection point
Lower inflection point

## Slide 32
Notes: Peak pressure
Plateau pressure
Inspiration time
Expiration time