## Slide 1: AguaClara on the ground: Honduras

## Slide 2: Overview
Agua Para el Pueblo
How AguaClara reaches the communities
Community assessment
Structural design
My experience in Moroceli

## Slide 3: Agua Para El Pueblo
Honduran NG0 (Non-Government Organization)
Sustainable access to water and basic sanitation services
Promote safe use of water and hygiene
Working with AguaClara since 2005
Funding: Swiss, Spanish, Unicef, USAID, BID, Rotary International etc.

## Slide 4: How AguaClara reaches the communities

## Slide 5: AguaClara Plants in Honduras
Have a Design
Working/Underconstruction
Ojojona, FM
Marcala, La Paz
Támara, FM
Cuatro Comunidades, FM
Agalteca, FM
Alauca, El Paraíso
San Nicolás, SB
La Libertad,
Comayagua
Atima, SB
Morocelí, El Paraíso
Las Vegas, SB
Jesús de Otoro,
Intibucá

## Slide 6: Introducing AguaClara to the Community
AguaClara program
How the plant works
Comparison with other technologies
Share communities' experiences
*The numbers for the AguaClara Plant are from this year 2014
*The numbers for the package plant are from 2004 (Ten years ago!)

## Slide 7: Community assessment
Population
Water system
Water quality
Sustainability
Site for the plant

## Slide 8: Hydraulic design
Section Cuts:

## Slide 9: How to choose a site for the plant
Before the Storage Tank
Terrain that minimizes cut and fill

## Slide 10: Survey

## Slide 11: Drawings

## Slide 12
Stone and Concrete
Brick walls
Concrete Slab
Aluzinc Roof
Joist
Concrete Piers

## Slide 14: Final Document
Technical Report:
Set of Drawings:
Budget:
With this document it´s easier for the community to solicit funds

## Slide 15: Moroceli Plant
First visit to Moroceli: 2007
Water system upgrades needed
There was no water in the tank

## Slide 16: 2014 Project: Improvements in water and sanitation systems for the Municipality of Moroceli
Funds: Swiss Cooperation 80%
Municipality 20%
Water system upgrades
Water treatment plant AguaClara
Sewage system
Wastewater treatment plant
Sanitation solutions for schools
Actors involved:
Swiss Cooperation
Municipality
Swiss office in the Municipility (UEL)
Supervisor
Water board
Agua Para El Pueblo
Other constructor

## Slide 17: Construction
Trace of the plant
Excavation
Excavator
Jack Hammer

## Slide 18: Foundation

## Slide 19: Changes to the original design
Retaining wall designed to support the lateral pressure of the soil

## Slide 21: Operators Training
Theory:
Practice:

## Slide 22: My last week in Moroceli

## Slide 23: The plant was finished last week!

## Slide 24: AguaClara's Impact
AguaClara is reaching more than 8,000 households in Honduras
That is about 48,000 people
Spread the technology not only in Honduras but in all Central America
We want to reach smaller communities (Foam Filter)

## Slide 25: THANK YOU!