## Slide 1: Grit Removal Innovative Technologies
2015 May 15 Final Presentation
Annie Ding and Mary Millard

## Slide 2: Introduction
The problem: large sand particles clogging the flocculator!
The solution: addition of a grit-removing chamber that will reduce the plant’s plan view area

## Slide 3: Our Goals
Prevent grit build-up in flocculator
Reduce plant size
Cut cost
Make operation easier

## Slide 4: Critical Assumptions!
Relaxed maximum EDR
  VcGrit = 8 mm/s (can be up to 16 mm/s)
Relaxed minimum collision potential
  ψ = 70 m⅔
Minimum width = human width! (~50 cm)

## Slide 5: Design #1: GRF (Grit Removing Flocculator)
Grit removal (sedimentation) added to the first channel of the flocculator
Plate settlers in series
Main constraint:
minimum baffle spacing requirements

## Slide 6: GRF: Top View

## Slide 7: GRF: Side View

## Slide 8: Design #2: Entrance GRU
An elevated, small sedimentation unit added inside the minimized entrance tank
Main constraints:
  achieving capture velocity
  feasibility of construction
  flow distribution

## Slide 9: GRU in Entrance Tank: Top View

## Slide 10: GRU in Entrance Tank: Side View

## Slide 11: GRU in Entrance Tank: Side View

## Slide 12: GRU in Entrance Tank: Another View

## Slide 13: Design #3: Channel GRU
A small, grit-removing sedimentation unit added into the first flocculation channel
Plate settlers in parallel
Analogous to a tiny rough sedimentation tank
Main constraints:
  achieving desired capture velocity
  feasibility of construction
  overall height and plan view length

## Slide 14: GRU in Flocculator: Top View

## Slide 15: GRU in Flocculator: Side View

## Slide 16: Deliverables
4 L/s plant to be constructed in Honduras!

## Slide 17: Deliverables

## Slide 18: Future Work?
Keep tabs on 4 L/s plant being constructed! Ask for feedback about construction and utilization of the grit removal chamber.
Designing for very large flow rates
Develop cost estimates and comparisons

## Slide 19: Questions?
Text
Picture/graph/table