## Slide 1
Foam Filter Pore Size
Lotta Van Leeuwen
Tianchen Yu
Caroline Caglioni

## Slide 2: Pore Size
LARGE SCALE Problems to solve
  Work off challenges from El Carpintero
  Find most efficient stratification of foam

## Slide 3: Three Main Challenges
SMALL SCALE Problems to solve
Build Flocculator
New 1” Foam Filter set-up
Replicate El Carpintero Water

## Slide 4: Flocculator
Goal: Determine whether a flocculator increases the filtration efficiency
  Design of new flocculator in MathCad
    Diameter = 3/16th
    Length = 15.64 m
    Residence Time = 90 s
  Build new flocculator

## Slide 5: New Filter set-up
Goal: Build quickly new filter allowing specific pore size experiments
1” Diameter
Coarse and fine foam
Backwash capability

## Slide 6: El Carpintero Water
Goal: Create a more representative influent
  Include humic acid  organic matter alternative
  Collect data from Walker
  Run through 1” design
Case | Influent (NTU) | Effluent (NTU) | PACl (mg/L)
1 | 17 | 2-4 | 20-25
2 | 30 | 2-5 | 30

## Slide 7: Achievements
Build New 1” Filter
Build New Flocculator
Run test through the new apparatus

## Slide 8: New Flocculator

## Slide 9: Experimentation
Trial | PACl dose (mg/L) | Influent Clay Turbidity (NTU)* | Influent Clay dosage (RPM) | Effluent notes: settling, etc.
1 | 80 | A | 85 | After 5:30 minutes, the supernatant and precipitate have equal height
2 | 70 | A | 100 | After 5:20 minutes, the supernatant and precipitate reach same height
3 | 80 | A | 80 | After settling for more than 10 minutes the effluent didn’t change much couldn’t see clear layer inside
4 | 80 | A | 70 | The effluent was quickly settled, after 1:30 minutes, the supernatant and precipitate reach same height
… and then we ran water through it!

## Slide 10: Connect Flocculator with Filter

## Slide 11: New Foam Filter

## Slide 12: Lab Tool Encyclopedia

## Slide 13: Future Expectation
Expectations
Fix the Foam in the Foam Filter
Run more quantitative experiment with the new set up
Keep looking for the most optimum strategy

## Slide 14: Questions?

## Slide 15
Thank you
Muchas Gracias
谢谢
Merci
Dankjewel
Grazie
תודה