## Slide 1
To share the results and analyses from AguaClara EGSB Spring 2016 team. More research can be found on AguaClara wiki page.
Research | Final Presentation Spring 2016
Expanded
Granular Sludge Bed (EGSB)
Notes: [[Insert your abstract here.]]
[[Add a link to your full report here. ]]

## Slide 2
Motivation
Reactor Design
Challenges
  Headloss
  Clogging
  Acidification
Results
  COD tests
  Methane production
  Granule characterization
Future work
Q&A
Presentation Roadmap
EGSB | Research | Final Presentation Spring 2016
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 3
Activated Sludge Expensive
  Energy Costs
AD Produces Methane
  Potentially Energy Neutral
EGSB | Research | Final Presentation Spring 2016
Anaerobic Sewage Treatment is a huge potential step toward global sustainability!
-NYSERDA 1995 Wastewater Treatment and Sludge Management Study
Is Anaerobic Digestion (AD) the Future?
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 4
Expanded
Granular
EGSBs offer Small Volume and Fast Treatment
EGSB | Research | Final Presentation Spring 2016
-http://www.slideshare.net/sakiliubat/uasb-water-treatment-process
Potentially Cheap & Sustainable Water Treatment and Bioenergy
-Taken from Jewell 1987
Notes: Left Figure: Jewell, William. “Anaerobic Sewage Treatment.” Environmental Science Technology 21 No. 1, 1987, 16.
Right Figure: Taken from Sakil Ahmed, at URL: http://www.slideshare.net/sakiliubat/uasb-water-treatment-process: accessed 5/19/16
Upflow Anaerobic Sludge Blanket (Left Figure): typical anaerobic reactor configuration with a wide sludge bed in contact with influent water flowing up the reactor for an hydraulic residence time (HRT) of a few hours to a few days depending on influent flow rate. Produced methane and carbon dioxide escape out the top of the reactor.
Expanded Granular Sludge Bed (Right Figure): a modified upflow anaerobic sludge blanket that uses recycle to fluidize the granular bed without overloading the methanogens, which in turn can allow for a smaller reactor size and shorter HRT with the proper waste characteristics.
The advantages of an EGSB are that the granule
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 5
Upflow velocity pretests ->1.8 mm/s
Hydraulic Retention Time = 1 h
Design Flow Rate = 60 mL/min
1” PVC pipe
2.3 m (7.5 ft) tall
4 reactors in series
45 degree tilted tube settler
Gas collector to separate biogas (CH4 + CO2)
Influent pumped into 1st reactor
2nd to 4th reactor gravity driven
Free water surface in gas collectors and tube settler arms
Biogas diluted with certain speed airflow, then flow over methane sensors
Reactor Design
EGSB | Research | Final Presentation Spring 2016
Notes: Stock recipe and upflow velocity pre-tests data seen in Appendix.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 6
Reactor Design
EGSB | Research | Final Presentation Spring 2016
Methane
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 7
EGSB | Research | Final Presentation Spring 2016
Methane sensors
PorCoDA signal
5 V Power
1
2
3
4
Reactor Design
Air Pump
Gas Collectors on reactor settling arms
Notes: Sensor Fabrication Detail seen in Appendix.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 8
Expected headloss: 0.397 mm
Actual headloss: > 3.5 cm
Headloss impacted by:
  flow rate
  tubing size (¼’’ vs ⅜”)
  line clogging
  granule plugs
Headloss was larger than expected
EGSB | Research | Final Presentation Spring 2016
Notes: The image on the left shows headloss with the new effluent exit. The chart on the right shows comparisons of headloss between reactors at different flow rates and shows that higher flow rates lead to higher headloss.
Initial headloss calculations suggested that headloss between reactors would be negligible, at 0.397 mm. However, after inoculation and fluidization attempts, it was clear that actual headloss was much greater. Headloss was an issue because it lead to reactor overflows if the headloss was too high, and negatively impacted fluidization. The team observed that flow rate, tubing size, line clogging and granule plug presence all contributed to different levels of headloss. Greater flow rate, smaller tubing sizes, line clogs and granule plugs all increased headloss. These variables were experimented with in an attempt to find a reactor design that minimized headloss but still allowed for fluidization.

## Slide 9
Clogging was a major issue
EGSB | Research | Final Presentation Spring 2016
Granule and stock cloggings were major issues throughout the semester.
Notes: The image on the left shows what granule plugs looked like in the reactor. The image on the right shows our pump head set up, with water lines, stock lines, and waste evacuation lines. The stock line repeated clogged and required detachment and reattachment of parts to try to dislodge clogged areas.
Clogging in the form of granule plugs and stock delivery line clogs continued to be an issue throughout the entire semester. The granule plugs increased headloss, decreased fluidization, and led to washout from rising granules. Different methods were attempted to address the reactor clogging issue. The stock delivery line issue was addressed by changing the tubing from ¼” size to microbore tubing, in an attempt to push the stock through at higher velocities and limit clogging. However, clogging was still experienced in the stock container to microbore tubing connection, which required constant monitoring. The stock was later dyed red to make it easier to see when there was a stock failure event, but the extent to which the granules were not fed is not well known.

## Slide 10
Different solutions were attempted
EGSB | Research | Final Presentation Spring 2016
Agitation was needed to dislodged granule clogs and prevent failure events.

## Slide 11
Need more COD tests to better understand treatment efficacy.
EGSB | Research | Final Presentation Spring 2016
Tests showed COD removal
38% average COD removal on May 7th
Notes: Original COD tests data seen in Appendix.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.

## Slide 12
EGSB | Research | Final Presentation Spring 2016
Methane production was recorded
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 13
Acidification extent is unclear
EGSB | Research | Final Presentation Spring 2016
3 pH tests from reactor 1 showed different results.
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 14
Granule characterization showed changes in diameters
EGSB | Research | Final Presentation Spring 2016
Size decreased from pre-inoculation 2 mm diameter to post-inoculation between 1.3 mm and 2 mm.
pre-inoculation
post-inoculation
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 15
Methane Calibrations
  Controlled Dilution Pump
pH Monitoring
COD Removal Efficiency
Future Work: Data
EGSB | Research | Final Presentation Spring 2016
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 16
Better Settler
Barbed Rod Agitation
Reactor Maintenance Ports
Stock Concentration
Future Work:
Operation
EGSB | Research | Final Presentation Spring 2016
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.
If there are any appendix slides that are relevant to this slide, mention it in your notes.

## Slide 17
Questions
and
Recommendations
Stephen Galdi
B.S. Environmental Engineering
smg296@cornell.edu
Cho Shen
M.Eng in Environmental Water Resource Engineering
qs62@cornell.edu
Zoe Maisel
B.S. Environmental Engineering
zam7@cornell.edu
EGSB | Research | Final Presentation Spring 2016

## Slide 18
Appendix
Slides
EGSB | Research | Final Presentation Spring 2016
Notes: From this point on, add any slides with figures that will help support your thesis. You might pull these figures from your Final Report.

## Slide 19
EGSB | Research | Final Presentation Spring 2016
COD Tests Data
COD test 1
COD test 2
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.

## Slide 20
EGSB | Research | Final Presentation Spring 2016
Fabrication of Methane Sensors
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.

## Slide 21
EGSB | Research | Final Presentation Spring 2016
Upflow velocity pre-test data
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.

## Slide 22
EGSB | Research | Final Presentation Spring 2016
Expansion vs Upflow Velocity from Liu et al. 2006
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.

## Slide 23
EGSB | Research | Final Presentation Spring 2016
Stock Recipe
Cl
Size 18 to 13 tubing pumping speed ratio was 70.57 to 1. Size 13 tubing required 4.52x concentration of the original stock recipe.
Notes: Cite your sources here.
Caption your figure and explain its relevance to your presentation/thesis here. You can take the caption from your Final Report and modify it.
Write a summary of this slide here. A future team member or client should be able to read this note and understand this slide without having your team explain it to them.