AJVR and JAVMA; July though October 2016

Assessment of the effects of dalteparin on coagulation variables and determination of a treatment schedule for use in cats

Am J Vet Res. 2016;77(7):700-707

OBJECTIVE

To determine a treatment protocol for SC administration of dalteparin to cats on the basis of currently available detailed pharmacokinetic data and to assess the effect of SC administration of dalteparin to cats on coagulation variables such as activated partial thromboplastin time (aPTT), thrombin time, and results for thromboelastometry, compared with effects on anti–activated coagulation factor X (anti-Xa) activity.

METHODS

Cats received 14 injections of dalteparin (75 anti-Xa U/kg, SC) at 6-hour intervals. Blood samples were collected before and 2 hours after the first and second injections on days 1, 2, and 4. Anti-Xa activity was measured by use of a chromogenic substrate assay, aPTT and thrombin time were measured by use of an automated coagulometer, and viscoelastic measurements were obtained with thromboelastrometry.

RESULTS

2 hours after the second injection, the target peak anti-Xa activity range of 0.5 to 1.0 U/mL was achieved in all cats, whereas median trough values remained below this range. Peak anti-Xa activity had only minimal effects on coagulation variables; the maximum median ratio for aPTT (in relationship to the value before the first dalteparin injection) was 1.23

CONCLUSIONS

Results of this study indicated that this treatment protocol resulted in reproducible anti-Xa activity in cats that was mostly within the targeted peak range of anti-Xa activity recommended for humans. Treatment in accordance with this protocol may not require routine coagulation monitoring of cats, but this must be confirmed in feline patients.

Temporary percutaneous T-fastener gastropexy and continuous decompressive gastrostomy in dogs with experimentally induced gastric dilatation

Am J Vet Res 2016;77:771–778

OBJECTIVE

To evaluate a percutaneous, continuous gastric decompression technique for dogs involving a temporary T-fastener gastropexy and self-retaining decompression catheter.

METHODS

Dogs were anesthetized and positioned in dorsal recumbency with slight leftlateral obliquity. The gastric lumen was insufflated endoscopically until tympany was evident. Three T-fasteners were placed percutaneously into the gastric lumen via the right lateral aspect of the abdomen, caudal to the 13th rib and lateral to the rectus abdominis muscle. Through the center of the T-fasteners, a 5F locking pigtail catheter was inserted into the gastric lumen and attached to a device measuring gas outflow and intragastric pressure. The stomach was insufflated to 23 mm Hg, air was allowed to passively drain from the catheter until intraluminal pressure reached 5 mm Hg for 3 cycles, and the catheter was removed. Dogs were hospitalized and monitored for 72 hours.

RESULTS

Mean ± SD catheter placement time was 3.3 ± 0.5 minutes. Mean intervals from catheter placement to a ≥ 50% decrease in intragastric pressure and to ≤ 6 mm Hg were 2.1 ± 1.3 minutes and 8.4 ± 5.1 minutes, respectively. After catheter removal, no gas or fluid leakage at the catheter site was visible laparoscopically or endoscopically. All dogs were clinically normal 72 hours after surgery.

CONCLUSIONS

The described technique was performed rapidly and provided continuous gastric decompression with no evidence of postoperative leakage in healthy dogs. Investigation is warranted to evaluate its effectiveness in dogs with gastric dilatation-volvulus.

Effect of sensor location in dogs on performance of an interstitial glucose monitor

Am J Vet Res 2016;77:805–817

OBJECTIVE

To identify variations in glucose values concurrently obtained by use of a continuous glucose monitoring system (CGMS) at the same site, reliability of results for each site, lag time for each site, and influence of site thickness on CGMS accuracy.

METHODS

In experiment 1, 8 CGMS sensors were implanted bilaterally at 1 site (4 sensors/side) in 4 dogs. In experiment 2, 2 CGMS sensors were implanted bilaterally at each of 4 sites (1 sensor/side) in 8 dogs; 4 of those 8 dogs then were subjected to a glycemic clamp technique. The CGMS results were compared among sensors and with criterion-referenced results during periods of euglycemia for all 8 dogs and during hyperglycemia and hypoglycemia for 4 dogs during the glycemic clamp procedure.

RESULTS

Differences (median, –7 mg/dL; interquartile range [IQR], –18.75 to 3 mg/ dL) between CGMS and criterion-referenced glucose concentrations differed significantly among dogs and sites; during euglycemia, they were not different from the expected normal variation between multiple sensors concurrently implanted at the same site. Differences (median, –35 mg/dL; IQR, –74 to –15 mg/dL) between CGMS and criterion-referenced concentrations were greater during changes in glucose concentrations. Thoracic sensors were most accurate but had the shortest mean functional life.

CONCLUSIONS

Significant differences were detected between CGMS and criterion-referenced glucose concentrations. Overall clinical utility of CGMS was acceptable at all sites, with most of the values from all sensors, sites, and dogs meeting guidelines for point-of-care glucometers.

Computed tomographic findings of pulmonary atelectasis in healthy anesthetized Beagles

Am J Vet Res 2016;77:1082–1092

OBJECTIVE

To characterize the extent and location of atelectasis in healthy anesthetized dogs positioned in lateral recumbency and to determine whether repositioning dogs in sternal recumbency would resolve atelectasis.

METHODS

Each dog was anesthetized and underwent a CT examination twice with a 2-week interval between examinations. Once anesthetized, each dog was positioned in sternal recumbency, and a breath-hold helical transverse thoracic CT scan was acquired. The dog was then positioned in lateral recumbency for 30 minutes, and images were obtained at 5 preselected sites at 3, 8, 13, 20, and 30 minutes after repositioning (phase 1). Then, the dog was repositioned in sternal recumbency, and CT images were obtained at the 5 preselected sites at 5, 10, and 20 minutes after repositioning (phase 2). The protocol for the second examination was the same as the first except the dog was positioned in the opposite lateral recumbency during phase 1. The attenuation and cross-sectional area of the lung lobes at the preselected sites were measured and compared over time.

RESULTS

Lateral recumbency did not cause atelectasis in any of the dogs. Patchy areas of abnormally increased attenuation were infrequently detected in the left cranial lung lobe when dogs were positioned in left lateral recumbency, and those areas failed to resolve when dogs were positioned in sternal recumbency.

CONCLUSIONS
Results indicated that the extent of lung attenuation changes was minimal in healthy anesthetized Beagles positioned in lateral recumbency and should not preclude CT examination

Detection of heart rate and rhythm with a smartphone-based electrocardiograph versus a reference standard electrocardiograph in dogs and cats

J Am Vet Med Assoc 2016;249:189–194

OBJECTIVE

To evaluate the diagnostic utility of ECGs acquired with a smartphone-based device, compared with reference 6-lead ECGs, for identification of heart rate and rhythm in dogs and cats.

METHODS

Patients examined by a small animal referral cardiology service between April 2012 and January 2013 were enrolled consecutively. In each patient, a 30- second ECG was simultaneously acquired with a smartphone-based device (a bipolar, single-lead recorder coupled to a smartphone with an ECG application) and a standard 6-lead ECG machine. Recordings were evaluated by 3 board-certified cardiologists, and intra- and interobserver agreement were evaluated for both rhythm diagnosis and QRS polarity identification.

RESULTS

Values for instantaneous and mean heart rates for the smartphone-acquired and reference ECGs were within 1 beat of each other when mean heart rates were calculated. Intraobserver agreement for rhythm assessment was very high, with maximum disagreement for any observer for only 2 of 51 dogs and only 4 of 27 cats. There was minimal disagreement in the polarity of depolarization between the smartphone-acquired and reference ECGs in dogs but frequent disagreement in cats. Interobserver agreement for smartphone-acquired ECGs was similar to that for reference ECGs, with all 3 observers agreeing on the rhythm analysis and minimal disagreement on polarity.

CONCLUSIONS

Results suggested that ECGs acquired with the smartphone-based device accurately identified heart rate and rhythm in dogs and cats. Thus, the device may allow veterinarians to evaluate and manage cardiac arrhythmias relatively inexpensively at the cage side and could also allow clinicians to rapidly share information via email for further consultation, potentially enhancing patient care.

Treatment of intrathoracic grass awn migration with video-assisted thoracic surgery in two dogs

J Am Vet Med Assoc 2016;249:214–220

DISCUSSION

Both of the dogs described in the present report underwent preoperative bronchoscopic evaluations of all accessible divisions of the lungs. We believe that this is an important diagnostic step in these cases given the propensity for dogs to inhale multiple grass awns in a single incident. One dog of the present report (dog 2) had a grass awn in the tonsillar crypt, and the other dog (dog 1) had grass awns in the left caudal and accessory lung lobes. The dog with an accessory lung lobe grass awn had an apparently normal accessory lung lobe on preoperative CT and during our initial surgical examination, and this lobe would not have been removed by the surgeon had the preoperative bronchoscopic examination not revealed the presence of the grass awn, which could not be retrieved by means of bronchoscopy. We suggest that it is therefore likely that further migration, abscess formation, or both of the accessory lung lobe would have been a sequela to leaving this lung lobe in place. This would likely have resulted in further morbidity and required a second surgery. In a previous study 5 of the use of bronchoscopy for evaluation and treatment of bronchial foreign bodies, 21% (5/24 cases) of dogs had multiple grass awns, and in 4 of those cases, the grass awns were located in different lung lobes.  As such, we recommend that preoperative bronchoscopic examination be considered to evaluate patients for the presence of grass awns that may be undetected with CT. These 2 modalities provided complementary information in dogs of the present report given the propensity for CT to fail to detect grass awns that remain within the bronchial tree but which can be visualized bronchoscopically, and given the ability of CT to detect accompanying pleural space disease, lobar consolidation, and possible migration patterns of grass awns within the tissues of the thoracic wall.