DISASTER RESPONSE PLAN

Cornell University Library

Ithaca, NY 14853

Revised January 2018

Disaster Plan Overview

Water leaks

If you discover a leak of any kind, you should:

- Notify your supervisor.

| Name: | Work Phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Amy Emerson | 255-5441 | 315-364-8956 | 315-237-1258 | Aae25 |

- Notify Facilities staff for your unit.

| Name: | Work Phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Mike Pado | 255-3556 |  | 351-8355 | mjp20 |
| Karen Bailey | 255-8858 |  | 351-8356 | kmn6 |

If it is after hours, notify Customer Service: 255-5322.

- Consult page 4 of the Disaster Plan and call the appropriate people in the Unit Disaster Action Team (if it is a minor emergency) and the Central Disaster Team (if it is a major emergency).

The first step is to address the cause of the leak.  If the leak is severe, someone from Facilities will have to make sure it is safe to enter the area.

Mold

If you discover mold or other damage in the collection, this could be the sign of a past or present leak. The following steps apply.

- Look for a leak. If you find one, follow steps 1 and 2 from above.

- If there is no leak, contact your supervisor immediately, and Tre Berney, Director of Digitization and Conservation Services, 255-7933, dhb229, at the earliest opportunity and describe the extent of the problem.

Do not handle moldy materials without personal protective equipment: gloves, mask, eye protection, and apron.

TABLE OF CONTENTS

Disaster Plan Overview…………………………………………………………………………….	.2

I. 	Disaster Contact Team Contact Information	4

A. Unit Disaster Action Team	4

B. Central Disaster Team	5

II.	Guidelines for Major and Minor Emergencies	6

A. Minor Water Emergencies	7

B. Major Water Emergencies	8

C. Non-water Disasters 	9

III.	Library Salvage Priority List	10

IV.	Locations of Priority Materials	11

V.	Procedures for Air-Drying Damaged Materials	16

A. Staff Logistics and Organization	16

B. Designated areas for air-drying books	18

C. Designated areas for air-drying books (floor plans)	19

D. Instructions for Air-Drying	20

1. Air-Drying Books	20

2. Air-Drying Paper Documents or Pamphlets	21

3. Air-Drying Miscellaneous Materials	21

VI. 	Packing and Removal of Wet Books and Materials for Freezing and/or Air-Drying	22

A. Freezer Contact Information	22

B. Logistics, Planning and Organization	22

C. Guidelines for Packing Wet Library Materials	24

VII.       Contracting with a vendor for disaster recovery	28

VIII.	Appendixes

1. Unit Disaster Action Team Description of Duties	29

2. Library Salvage Priorities	32

3. Emergency Unit Supply Box	33

4. Cornell Library Annex Freezer	35

5. Freezing and Drying Terminology	37

6. Insurance	38

7. Recovery methods for materials requiring immediate attention	39

8. References	41

### DISASTER TEAM CONTACT INFORMATION

In the event that emergency conditions (fire, flood, etc.) cause damage to any library collection, notify the following people:

| Name: | Work phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Femi Cadmus | 255-7644 | 703-327-7616 | 571-201-7353 | femi.cadmus |
| Mike Pado | 255-3556 |  | 351-8355 | mjp20 |
| Karen Bailey | 255-8858 |  | 351-8356 | kmn6 |
| Tre Berney, Director, Digitization and Conservation Services | 255-7933 |  | 255-7933 | dhb229 |
| Ezra Delaney, AUL for Admin. Services | 254-5257 |  |  | ezra.delaney@cornell.edu |

The Unit Emergency Coordinator will contact other members of the Unit's Disaster Action Team as needed. The team consists of staff from the unit who has indicated a willingness to assist in recovery activities. At least one team member should be trained in handling and air-drying wet library materials. Please denote these person(s) with an asterisk.

For description of duties, see Appendix 1 (page 24).

- UNIT DISASTER ACTION TEAM (This is specific to your unit.)

| Name: | Work phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Jacob Sayward | 255-5859 |  | 717-448-4861 | Jes77 |
| Jackie Magagnosc | 255-5858 | 319-0864 | 484-995-6753 | jkm95 |
| Chris O’Hara | 255-5856 | 277-0465 | 351-8528 | cmo10 |
| Amy Emerson | 255-5441 |  | 315-237-1258 | aae25 |
| Ariel Scotese* | 255-0980 |  | 847-840-4289 | aae42 |
| Carol Clune | 255-5912 |  | 914-316-4197 | cec233 |

B.  CENTRAL DISASTER TEAM

Call a member of the Central Disaster Team in any disaster. She/he will give you advice on how to proceed. In the event of a major emergency, one or more of the following Central Disaster Team members will join the Unit Disaster Action Team.

| Name | Work phone | Home phone | Cell phone | email |
| --- | --- | --- | --- | --- |
| Tre Berney, Director, Digitization and Conservation Services | 255-7933 |  | 255-7933 | dhb229 |
| Michele Brown, Book Conservator | 255-2484 | 607-539-6354 | 607-351-7803 | mb72 |
| Michele Hamill, Paper and Photograph Conservator | 255-5766 | 607-257-1694 | 607-351-7269 | mh92 |
| Pat Fox, Assistant Book Conservator | 255-5766 | 607-277-4512 |  | paf3 |
| Jon Frankel, Collection Maintenance | 255-9565 | 607-272-4162 |  | jef1 |

II. GUIDELINES FOR MAJOR AND MINOR EMERGENCIES

Most library "disasters" are relatively minor, involving fewer than 100 volumes, and can usually be handled by the unit's disaster action team with some advice and assistance from Facilities and Conservation Department staff.

In the event of a major disaster (generally more than 100 volumes), it may become necessary to coordinate a large number of people and activities and commit significant amounts of money. Success of the recovery effort depends on action that is quick but organized and deliberate. Clear definitions of duties and chain of command are necessary to avoid confusion and to insure the safety of the people working at the recovery site.

The following guidelines are designed to expedite the process of organizing the Unit Disaster Action Team and provide a summary of technical information the team may need to plan and carry out the initial recovery operation. Since the most common library disasters involve water, special emphasis is given to the salvage of wet material.

EMERGENCIES: In the event of fire, security, or other hazardous conditions, calls 911 from a campus phone or 255-1111 from a cell phone or off-campus phone.

In case of fire:

a.	Pull the fire alarm. (Public Safety and Life Safety Services will automatically be alerted.)

b.	Follow the emergency evacuation plan for your unit or library.

c.	Notify: PUBLIC SAFETY (255-1111) and individuals on Disaster Contact List (pg. 4), because a water disaster is likely to occur.

For more information about emergency response, consult the Cornell University Emergency Response Guide: http://www.epr.cornell.edu/central_plan/resp_guide.cfm

A. MINOR WATER EMERGENCIES

IMMEDIATE STEPS:

The following steps should be taken in the event of an emergency that does not pose a threat to physical safety, and when library materials will be air dried. This usually involves fewer than 100 volumes.

***DO NOT ENTER AN AREA THAT IS FLOODED UNTIL MAINTENANCE AND SERVICE ELECTRICIANS HAVE DISCONNECTED THE ELECTRICITY. THERE IS EXTREME DANGER OF SHOCK.

1. Notify Building/Facilities Coordinator and contact individuals on Unit Disaster Action Team (pg. 4)

| Building/Facilities coordinator: | Work Phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Mike Pado | 255-3556 |  | 351-8355 | mjp20 |
| Karen Bailey | 255-8858 |  | 351-8356 | kmn6 |

After business hours: Call 255-5322 after 4 p.m. weekdays and anytime on weekends. This number connects you to Customer Service (formerly Chilled Water). They will dispatch the proper people including building care staff.

Give Customer Services the following information:

- Your name

- Location

- Description of the problem

Meet the Facilities/Customer Services representative at the door and stay with them to find out what action will be taken.

2. Locate the unit’s emergency supply kit.

3. Once it is safe to enter the area, cordon it off to prohibit the public from entering.

4. Cover library materials with plastic, regardless of the source of water.

5. Refer to Salvage Priorities List (pg. 10) for materials that require immediate attention.

6. Protect library materials as appropriate.

For water coming from above:

- Cover stacks with plastic sheeting located in your unit's emergency supply box.

THEN

- Move dry, at-risk books off shelves, including adjacent library materials or property that might be damaged to a clean, dry area.

- Begin removing wet books. Keep them separate from dry or undamaged materials.

For water coming from below:

- Move books off shelves to another location.

OR

- Move books higher on shelves.

B. MAJOR WATER EMERGENCIES

IMMEDIATE STEPS:

First and foremost, take appropriate action to protect the safety of staff and patrons.

The following is concerned with the salvage and recovery of library and archives collections.

- Do not start removing material until you make a general plan of action.

- Alert Central Disaster Team and Unit Emergency Coordinator (see phone numbers on pgs. 4, 5); name a meeting point.

- Contact Ezra Delaney (254-5257). If he is unavailable, contact the office of University Office of Risk Management (254-1575). Public Safety can contact representatives from this office after hours, if necessary.

- Coordinate with emergency services (Public Safety, Fire Department) to determine when and where it is safe to enter the building.

- Take action to protect the materials (see Minor Water Emergencies, pg. 7). Coordinate with Facilities to stop the flow of water.

- Reduce relative humidity and ensure good air circulation to control mold growth. Do not turn off heat, which is necessary to keep pipes from freezing. Keep air conditioning on, if possible. Use fans, open windows, etc. to keep air circulating.  Large commercial dehumidifiers may be brought into the facility if needed. These are available from Customer Service (255-5322) for a fee.

- Monitor temperature and relative humidity throughout the recovery process.

ADDITIONAL STEPS:

- Assess nature and extent of damage; take detailed notes and photographs for record purposes.

- Identify a disaster command post, with necessary telephones, desks, and supplies for directing the recovery effort.

- Make plans to remove materials to the library freezer. Decisions must be made and action taken quickly; mold can start growing on wet material within 48 hours.

C. NON-WATER DISASTERS

Smoke, charring

Book and paper materials with fire damage only (no water) are quite stable, provided they are not handled. Handling can smear charred areas and cause brittle paper to break.

- Do not open the books.

- Do not move material unless fire damage to the building puts the collection at a further risk.

- Contact the Conservation Department for advice.

Earthquake, structural collapse of shelves

- Do not start removing material until you make a general plan of action.

- Alert Central Disaster Team and Unit Emergency Coordinator (see phone numbers on pgs. 4, 5); name a meeting point.

- Contact Ezra Delaney (254-5257). If he is unavailable, contact the office of University Office of Risk Management (254-1575). Public Safety can contact representatives from this office after hours, if necessary.

- Coordinate with emergency services (Public Safety, Fire Department) to determine when and where it is safe to enter the building.

## III. LIBRARY SALVAGE PRIORITY LIST

| Library/Dept. | Law Library | Date:10/30/2012 |
| --- | --- | --- |

LIBRARY UNIT HEAD/DIRECTOR: Femi Cadmus

List in order of priority those library materials and collections which should be salvaged first. See APPENDIX 2 (pg. 28) for list of questions to consider. When you complete this form, consider what you would salvage if you had only half a day or less. This includes catalogs, shelf lists, and circulation files, as well as individual items. Briefly describe the collection; give the location by indicating the room, level or building; describe the type of material (e.g. books, film); and state how much material is in the collection. The contact person should be the staff member able to answer questions about the collection.

COLLECTION/ITEM			LOCATION			TYPE OF MATERIAL		QUANTITY		CONTACT

Rare Books			Room G-25	 			Rare books and realia						Jacob Sayward

Medium Rare Collection	Room G-25				Books								Jacob Sayward

Bennett Collection		Ground floor cage		Books										Jacob Sayward

Cornelliana			Ground floor cage		Books										Jacob Sayward

Trials				Ground floor cage		Books										Jacob Sayward

Marshall			Ground floor cage		Books										Jacob Sayward

Safe				Ground floor cage		Books										Jacob Sayward

Closed Reserve 			West end Reading Room	Books								Amy Emerson

Hold shelf			West end Reading Room 	Items from non-Cornell libraries					Amy Emerson

Old Shelf list			Room 340			Drawers of cards –preference to Rare/special drawers			Jean Pajerek

Monographs in Special	Room 376				Books										Jacob Sayward

Reserve

Stacks collection		Basement – 4th floors			Books and journals							Jacob Sayward

IV. LOCATIONS OF PRIORITY MATERIALS

Old shelf list

Old shelf list

Special Reserve Monographs

Special Reserve Monographs

Reserves/Hold Shelf

Reserves/Hold Shelf

Rare & medium rare materials

Rare & medium rare materials

Safe, Trials, Cornelliana, Marshall

Safe, Trials, Cornelliana, Marshall

V. PROCEDURES FOR AIR-DRYING DAMAGED MATERIALS

A.  STAFF LOGISTICS AND ORGANIZATION

This section includes preparatory steps to be taken before air drying materials on site. See pg. 15 for instructions.

1. 	Staff. Gather your Unit Disaster Action Team (see list on pg. 4). A general rule is that two staff members, working as a team, can handle and dry up to 100 volumes.

At least one staff member on the Unit Disaster Action Team should be trained in handling and air drying wet library materials. An asterisk indicates which members of the team have received training. For training, contact the Conservation Department (255-9440).

2.	Space. A clean, dry, secure area with good air circulation and low temperature and humidity is necessary for air drying books.

Note: Air drying can take anywhere from one day to a full week, so the area chosen should be available for that time.

In choosing areas for air drying, consider:

- Accessibility (e.g., for wheeled trucks)

- Clear path to a loading area in case moving the collection is required

- Proximity to collection

- Air circulation and potential for controlling the environment (windows, separate air conditioning units, electrical outlets for fans, etc.)

- Availability of open, flat surfaces (reading rooms may be good, but consider the impact on readers if they must be excluded for several days)

- Security

3.    Environment. Reduce the relative humidity of the affected area.

- Do NOT turn off heat in winter, or pipes may freeze.

- Do turn on air conditioner, or open windows to ventilate area. Do NOT raise the temperature in an attempt to dry the area.

- Bring fans or dehumidifiers to the scene to help lower the humidity and prevent mold growth. Be sure they are grounded.

4.    Equipment and Supplies.

- Assemble necessary supplies, equipment, and services.

,

Location of Emergency Supply Box:

Special Reserve

Unit staff authorized to commit funds for additional supplies

| Name: | Work Phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Jacob Sayward | 255-5859 |  | 717-448-4861 | Jes77 |
| Chris O’Hara | 255-5856 | 277-0465 | 351-8528 | cmo10 |

Building Care will supply necessary equipment for removing water. Contact Facilities/Customer Service (see pg. 7).

B. DESIGNATED AREAS FOR DRYING MATERIALS

| Location A | 340E Myron Taylor Hall |
| --- | --- |
| Location B | Third floor stacks |
| Location C | 363 Myron Taylor Hall |
| Location D | Reading Room |

For access to the above areas, please contact:

| Name: | Work phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Jackie Magagnosc | 255-5858 | 319-0864 | 484-995-6753 | jkm95 |
| Carol Clune | 255-5912 |  | 914-316-4197 | cec233 |

C. INSERT FLOOR PLANS FOR DESIGNATED DRYING AREAS HERE

363

363

Third floor stacks

Third floor stacks

340 E

340 E

D.  INSTRUCTIONS FOR AIR DRYING

Note: The Annex freezer is available for storage of wet materials if air drying is delayed or more time is needed to make critical decisions.

1. AIR DRYING BOOKS

The main objective in the air drying of wet books is to remove water as quickly as possible and, at the same time, contain structure distortion. Structure distortion (i.e., excessive swelling of the fore-edge area, concavity of the backbone) can be avoided if staff properly judge when the book should be opened.

The following procedures assume that the covers are in good condition and still attached to the book. If the covers must be removed (because of delamination, color running out of the binding materials, board swelling and warping, etc.), the book should be stood on edge as described below, but supported by loose pieces of binder's board, blocks of wood, or bookends. See other cautions at the end of this section.

Note: Depending on the degree of saturation, a book can take from one day up to a week to dry.

a. 	Thoroughly wet books

Do not attempt to open.  Do not attempt to fan leaves.  Do not remove covers.

- Place book in a closed position (with boards slightly open) standing up on sheets of absorbent paper.

- To permit water to drain efficiently, place small pieces of binders' board at the fore-edge.

- Place absorbent sheets of paper between the text block and the binding.

- Change paper on the table as it becomes wet.

Providing that the books are placed in a moving current of air, they should soon dry to the point where they may be opened for the next step.

b. 	Partially wet books

- Books may be carefully opened slightly (at a fairly shallow angle) and interleaved with absorbent paper. Paper towels are ideal for this purpose because they will wick out the excess moisture.

- Lay the book on the table. Beginning at the back of the book, interleave every 20 or so leaves. Given good drying conditions, the book may be left flat until the interleaving material has absorbed some of the water, probably after one hour. Depending on the condition of the binding the book may stand as above.

- Change interleaf materials periodically until book is only slightly damp, then go to step c.

c. 	Damp books

- Books that are damp should be stood on edge, lightly fanned, and allowed to dry in a current of air. If the binding is more damp than the text, place paper between the boards and the book. When almost dry, go to step d.

d. 	Nearly dry books

- Lay the book flat and push the back and boards gently into position. Place the book under a light weight and leave in this position overnight. Open again and check for dampness. Allow to dry open for a few hours, and then close again. Repeat until thoroughly dry.

2. AIR DRYING PAPER DOCUMENTS OR PAMPHLETS

Do not attempt to air dry manuscripts, drawings, or material with water-soluble colors except under the advice of a conservation specialist. Do not attempt to separate leaves that are very wet or that are sticking together unless you have been trained to do so.

1. 	Wet pamphlets may be hung over suspended fishing lines to dry or laid flat on absorbent paper.

2. 	Single pages or small stacks of documents can be laid out on tables, floors, and other flat surfaces, protected if necessary by paper towels, blotting paper, or unprinted newspapers.

3. 	Clotheslines or fishing lines may be strung close together and documents laid across them for drying.

CAUTION: To avoid confusion later, make sure that the contents of folders and boxes are not separated from each other. Label new boxes or drying areas as necessary to expedite returning the collection to its proper order when drying is complete.

3. AIR DRYING MISCELLANEOUS MATERIAL

Note: The following materials require consultation with a trained specialist.

- Books with coated paper (the shiny paper used for periodicals and art books and occasional illustrations) require immediate attention. Once the paper starts to dry, it fuses together and can rarely be separated. It may be possible to salvage the item by interleaving every sheet with wax paper.  If time or staff members are not available for this, make arrangements to freeze the book and KEEP IT WET until it is placed in the freezer. If there is no help available or there are many wet books, you may wish to simply set the book aside. Paying too much attention to a single volume can jeopardize the drying of the entire affected collection.

- Water-soluble inks or media (manuscripts, drawings, water colors)

- Rare or unique books

- Non-paper material (film, disks, oil paintings)

- Manuscripts or books printed or bound in vellum or leather

- Photographic materials

## VI. PACKING AND REMOVAL OF WET BOOKS AND MATERIALS FOR FREEZING AND/OR AIR DRYING

A. Freezer Contact Information

If books will be frozen following a major disaster, please refer to the following. The freezer is located at the Library Annex. Please contact the following people for access to freezer and directions:

Work		   Home		Cell		Email

TRE BERNEY				607 255-7953       		 865 712-1352 		dhb229

MICHELE E. BROWN	607-255-2484         607-539-6354                                    mb72

Book Conservator

CAMMIE WYCKOFF	607-253-3514                                                                     cjh8

Library Annex Supervisor

TOM HUNT	254-5287				  tah16

Stacks Management Public Assistant

B. Logistics, Planning and Organization

1. Priorities

- Consult the library unit's priority list (pg. 10) to organize the order of removal.

- Discard easily replaceable materials unless damage is minimal.

- Assign a low priority to material with a low chance of recovery (e.g. books or periodicals on coated paper that has already dried). You may have to consult with the Conservation Department.

- Start from areas closest to the point of access and work back.

- Clear aisles and passageways first. Use a human chain to pass items out separately to a packing area. When aisles are clear, bring the packing crates to the shelves.

- Remove the wettest books first. If water has come from above, start working with the top shelves; if from below, start with the bottom shelves.

- If the packing and removal operation will take more than 10 hours, loosen tightly packed shelves or boxes so the books and paper do not jam as they swell. Otherwise, leave material packed together on shelves or in record boxes, where it will present less surface area for mold growth.

- Books that are actually submerged in water may be removed after books that are wet but no longer submerged. After the damage of the initial wetting, submerged books will remain more stable and be less vulnerable to mold attack than wet materials exposed to air.

2. Mud and Dirty Water

- Washing mud and dirt from library materials should be carried out only under the direction of a trained conservation specialist.

- Skip the washing step if time or staff members are short. The first priority is to remove the collection from further danger or from conditions that would promote mold growth.

- If time and staff permit, some mud or dirt can be removed from water-damaged materials as they are assembled for packing.

  - Set up an area with a source of clean, running water, drainage, and a line of non-rusting containers (e.g. plastic garbage cans) in which to rinse the material.

3.  Organization

If books will be frozen and not air-dried, please refer to the following. This section provides information for packing books for freezing.

Identify and secure before packing starts:

- Place (air drying location, freezer, storage) to which materials will be moved

- Packing area, with room to sort and pack materials

- Loading area with accessibility for vehicles bringing supplies and removing packed  boxes

- Route by which materials will be removed from building;

- Elevators may not be functioning and electricity may be a problem.  Consider: pulleys, conveyor belts, cranes.

- Rest area for workers; organize refreshments and, if necessary, portable toilets

4.  Workers

Salvage work is arduous, dirty, and exacting.  Plan breaks for rest and refreshments about every hour and a half, and offer workers relief shifts as necessary.

- Identify library unit staff members who have recovery training (pg. 4).

- Consider other staff members willing to assist with salvage.

5.  Equipment

- Plastic crates or cardboard boxes

- Waxed paper or freezer wrap

- Waterproof marking pens, clipboards, paper, and tags for labeling boxes and recording

- Protective clothing (hard hats, aprons, rubber boots, rubber gloves, respirators)

- Lighting, fans, dehumidifiers, and electric generators as necessary

- Book trucks and hand trucks to help move boxes

Limited supplies are stored at Annex Freezer (listed in Appendix 4, pg. 30). The Conservation Department has extra Emergency Unit Supply box supplies (Appendix 3, pg. 29).

6.  Sorting and Packing

The Emergency Coordinator organizes the workers into teams of 3 or 4 people and assigns tasks:

- Bring, prepare, and assemble packing materials (boxes, cut waxed paper).

- Remove and pack damaged material. During packing sort material (and label boxes) with advice from Library Specialist and Disaster Recovery Director:

    - For air drying

    - For freezing

    - For special processing

    - For direct return to shelves, when conditions permit

    - For discarding

- Record, in summary, what is being removed; label boxes. Identify packed boxes by call number or by range of call numbers; or make a chart of the shelves and code the boxes to that chart; or pack the boxes in shelf order and number the boxes sequentially.

- Move crates and boxes to loading point and load trucks.

C.  Guidelines for Packing Wet Library Materials. (Walsh, 1988)

Be extremely careful when handling wet materials.  All of them are very fragile, including their paper boxes.  If the boxes have disintegrated replace them with new containers.  Don't unpack structurally sound containers (although they may be reinforced by packing inside plastic crates).  Keep identification labels with objects.  (Don't mark wet paper, but picture frames and reels can be marked with a grease pencil).  To prevent further damage, do not stack materials in piles or on the floor.

1.  Books

- Don't open or close wet books. Do not remove wet book covers.

- If the water is dirty, wash the books before freezing.  Wash closed books in tubs of cold running water and dab away (do not rub) mud with a sponge.

- Do not wash open books and those with water soluble media.

- Leather, parchment and vellum bindings are an immediate priority because they distort and disintegrate in water.

- Books with coated papers should be kept wet by packing inside boxes lined with garbage bags, and then frozen.

- Cut pieces of freezer paper (waxed on one side) 1-2" larger than is needed to wrap around the spine and covers of the books. For cutting large quantities of paper, fold the paper accordion style then cut across the two edges.

- Wet books are heavy and care should be taken not to make the boxes too wet. Pack ten to twelve books per box. Pack the books spine down and fold a piece of freezer paper (shiny side in) around every other book, with edges toward the top of the box. Edges of the book should come to within no more than 1" of the top of the box. Do not pack tightly but avoid extra space which could cause slumping. If extra space remains in the box, support the books with crumpled paper or Styrofoam peanuts.

| Figure 1 (University of California, San Diego Preservation Department, 2006) |  |
| --- | --- |

2.  Paper

- Single sheets of paper

  - Do not try to separate. Interleave the folders every two inches with freezer paper and pack.

- Watercolors, maps, and manuscripts with water-soluble media

  - Do not blot the surface. Quickly freeze or dry.

- Coated papers

  - Keep wet by packing in boxes lined with garbage bags, then freeze.

- Framed prints and drawings

  - If time and space permit, un-frame and pack as single sheets.

- Maps, plans, oversize prints, and manuscripts

  - Sponge standing water out of map drawers. Remove the drawers from the cabinet, ship and freeze them stacked up with 1" x 2" strips of wood between each drawer. Pack loose, flat maps in bread trays, flat boxes, or plywood sheets covered in polyethylene. Bundle rolled maps very loosely to go in small numbers to the freezer, unless facilities are available for conservators to unroll them.

The following materials require careful consideration before deciding whether to freeze or air dry. Consult with the Conservation Department before proceeding.

3.  Paintings

- Drain off excess water and take to a work area for immediate drying.

- Transport horizontally if you can.  If not, carry the painting facing toward you, holding the side of the frame with the palms of your hands.  Larger paintings should be carried by two people.

- The order of removal and treatment is:

- most highly valued

- least damaged

- slightly damaged

- severely damaged.

4. Floppy Diskettes

If the diskettes are wet, pack them upright in containers of cold distilled water.  Make arrangements to air dry.

5. Sound and Video Recordings

- Vinyl Albums and CDs/DVDs

If storage boxes are badly damaged, transfer the discs, up to five at a time, to milk crates.  Pad the bottoms of the crates with ethafoam and interleave with ethafoam every 25 records to absorb shocks.  Always support the discs vertically and hold the discs by their edges.  Avoid shocks and jolts during transport.

- Sound and Video Tapes

Pack vertically into egg crates or cardboard cartons.  Do not put excessive weight on the sides of the reels or cassettes.

6.  Photographic Materials

It may be difficult to identify these materials. Consult with a conservator before deciding on the recovery method. Freezing may damage some materials.

7.  Motion pictures

Open the film can, fill it with water, and replace lid.  Pack into plastic pails or cardboard cartons lined with garbage bags.  Ship them to a film processor for rewashing and drying.

8.  Microforms

Microforms in rolls

- Do not remove the films from their boxes.  Hold cardboard boxes (and their labels) together with rubber bands.   Fill boxes with water, and then wrap 5 boxes of film into a block with plastic wrap.  Pack the blocks into a heavy duty cardboard box lined with 3 garbage bags.  Label as wet film and ship to a microfilm processor.

Aperture cards:

- Pack and freeze.

Microfilm strips in jackets:

- Pack and freeze.

Diazo microfiche:

- Pack, freeze, and make arrangements to air dry.

9.  Parchment and Vellum

Separate from other documents, pack in crates or flat boxes, and freeze.

VII. Contracting with a vendor for disaster recovery.

Once affected items have been frozen, they must be dried. Once frozen, the materials will be stable and drying can be undertaken in a careful manner. Rare materials should be dried using vacuum freeze-drying technology. Some documents can be dried using desiccant drying technology.

Note: Thermal drying is not recommended for any library materials.

- Before beginning work, the vendor will have to fill out a W-9 and a vendor form. Both of these documents are available at http://www.dfa.cornell.edu/supply/forsuppliers/questionnaire/index.cfm

- Vendors will also have to provide proof of insurance. This information is available at http://www.dfa.cornell.edu/supply/forsuppliers/insurance.cfm

Requests for vendors’ services should be sent to the library Business Service Center (254-4272) to enter a requisition.

| ## Cornell University Library preferred vendors: Books and Documents |  |  |  |  |
| --- | --- | --- | --- | --- |
| Document Reprocessors **DO NOT USE for RARE Materials. | 5611 Water Street, Middlesex, NY 14544 |  | (716) 554-4500 Fax:(716) 554-4114 (fax) Toll-free (888) 437-9464 |  |
| Polygon (Preferred) | 160 Raritan Ctr Pkwy, Suite 11 Edison, NJ, 08837 |  | Contact Kelly Cressy Mobile: 732-306-4065 Fax 732-225-1705 Toll Free: 800-422-6379 Kelly.cressy@polygongroup.com |  |
| Microfilm Salvage and Recovery |  |  |  |  |
| Colorlab, NYC http://www.colorlab.com/ |  | 27 W 20th St Suite 307 New York, NY 10011 |  | Tel: (212) 633-8172 Fax: (212) 633-8241 info@colorlab.com |
| Eastman Park Micrographics, Inc (formerly Kodak) http://www.epminc.com |  | Eastman Business Park 100 Latona Rd. Gate 340, Bldg. 318, Door A Rochester, NY 14652 |  | Howard Schwartz Howard.Schwartz@epminc.com (585) 500-4406 Office (585) 210-2372 Cell (585) 719-9424 fax (800) 352-8378 toll free |
| New England Document Systems http://nedocs.com |  | 750 E. Industrial Park Drive Manchester, NH 03109 |  | Nick Brattan nbrattan@nedocs.com 603-232-9532 Direct 603-759-2731 Cell 603-625-1171 Ext 532 |

APPENDIX 1

| Library unit: | Law Library | Date:1/30/2017 |
| --- | --- | --- |

UNIT DISASTER ACTION TEAM DESCRIPTION OF DUTIES

The following list summarizes the various administrative functions that may be needed to coordinate and carry out a recovery operation for library materials. For smaller incidents, one person may reasonably fill two or more roles. In general, however, the larger the disaster, the more important it is that multiple roles not be combined in one person.

Staff designated on this list should:

- Keep copies of the Disaster Plan, with updated staff lists, both at work and at home.

- Carefully consider the responsibilities of the positions and seek additional information/experience as necessary. (For example, the Emergency Coordinator should receive disaster simulation training, and the Library Specialist should identify special materials in the collection.)

1.  Disaster Response Administrator

The Administrator is typically a unit director or a curator, or delegate of that person. Salvage of library material may be expensive, so this person must be familiar with the collections, available funding sources, and the administrative channels in the Library and University.

The Disaster Response Administrator (and an alternate):

- Authorizes procurement of workers, supplies, equipment, and  services

- Seeks additional emergency funding if necessary from Library, University or other sources

- Makes all final decisions on how much money can be committed

- Makes all final decisions on what to salvage or where to concentrate salvage effort

- Holds responsibility for coordination of insurance matters, including contact with the University Office of Risk Management and Insurance; keeps all necessary records for preparing an insurance claim; documents all expenses, including expenses for temporary personnel overtime; documents losses; and organizes records and photography of damage (see Appendix 6, pg. 33 on Insurance)

- Serves as a public relations contact for news media

| Name: | Work phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Femi Cadmus | 255-7644 | 703-327-7616 | 571-201-7353 | Femi.cadmus@cornell.edu |
| Jacob Sayward | 255-5850 |  | 717-448-4861 | Jes77 |

| Library Unit: | Law Library | Date:1/30/17 |
| --- | --- | --- |

2.  Disaster Recovery Director

The Disaster Recovery Director for any incident throughout the Cornell Library system is normally the head of Conservation or his/her delegate. The director is familiar with the technical aspects of the recovery of library materials and with the resources available to the Library.

The director:

- Serves as the head of the  Central Disaster Action Team (pg. 27)

- Plans recovery strategy and methods

- Coordinates all recovery operations

- Organizes and directs procedures for handling and removal of materials

- Identifies and procures necessary workers, supplies, equipment, and services

Work		   Home		Cell		Email

| Name: | Work Phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Tre Berney | 255-7958 |  | 865-715-1352 | dhb229 |

3.  Unit Emergency Coordinator

The Unit's Emergency Coordinator is the on-site supervisor working under the direction of the Disaster Recovery Director. This person should be selected for his or her personal skills (calm, practical, able to work under stress, good organization, and supervisory skills) and general familiarity with the library unit, building, and staff. Some knowledge and training in disaster recovery techniques and environmental monitoring is highly desirable.

The coordinator (and an alternate):

- Assembles the Unit Disaster Action Team

- Supervises the work force including employees, temporary staff, and volunteers

- Coordinates activities with outside individuals or companies (e.g. pick-up and deliveries)

- Serves as a liaison with Disaster Recovery Director to identify needed supplies, equipment, or services

- Organizes monitoring of environmental controls

| Name: | Work phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Ariel Scotese | 255-0980 |  | 847-840-4289 | Aae42 |

| Library unit: | Law Library | Date: 1/30/2016 |
| --- | --- | --- |

4.  Library Specialist

The Library Specialist is a person with specialized knowledge of the collections involved, including their physical location and value. The Library Specialist is normally a bibliographer, selector, or curator. Large library units may wish to add a sheet identifying different specialists for different areas of their collection (e.g., for different stack levels).

The Library Specialist (and an alternate):

- Makes on-site decisions about collection priorities, weighing costs of recovery against the value of the items to the collection (Jacob Sayward)

- Ensures that necessary bibliographic records (such as card catalog and circulation records) are saved (Jackie Magagnosc)

- Plans and oversees necessary record-keeping and marking of boxes to aid the later sorting and rehabilitation of the collection (Jackie Magagnosc)

- Provides information on the value of damaged material for  insurance reports (Jacob Sayward)

| Name: | Work phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Jacob Sayward | 255-5859 |  | 717-448-4861 | Jes77 |
| Jackie Magagnosc | 255-5858 | 319-0864 | 484-995-6753 | Jkm95 |

(Use additional sheets as necessary)

5.	Building Representative

The Building Representative is typically someone from the Library Facilities or Maintenance staff who is familiar with the physical plant of the building, including floor plans and utilities.

The Building Representative:

- Advises and assists on methods to contain damage, control the environment, and gain access

| Name: | Work phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Mike Pado | 255-3556 |  | 351-8355 | Mjp20 |
| Karen Bailey | 255-8858 |  | 351-8356 | Kmn6 |

In addition, the Unit Disaster Action Team may wish to identify on-the-spot people to fill the following functions:

6.  Recorder

- Works with the Disaster Recovery Director and others to record all decisions and activities

- Documents nature and extent of damage, including organizing photography

- Records information that may be needed for insurance claims or reports

7.  Communications Director

- Coordinates all communications among the Unit Disaster Action Team

- Organizes and directs a team of runners if regular communications are disabled

- Organizes the setting up of temporary phones or radios if  necessary

- Organizes the re-establishment of ordinary communication lines

8.  Central Disaster Action Team

The following staff members of the Conservation Department have experience in disaster and recovery and should be contacted:

| Name: | Work phone: | Home phone: | Cell phone: | Email: |
| --- | --- | --- | --- | --- |
| Tre Berney, Director, Digitization and Conservation Services | 255-7933 |  | 865 712-1352 | dhb229 |
| Michele Brown, Book Conservator | 255-2484 | 607-539-6354 | 607 351-7803 | mb72 |
| Pat Fox, Assistant Book Conservator | 255-5766 | 607-277-4512 |  | paf3 |
| Michele Hamill, Paper and Photograph Conservator | 255-5766 | 607-257-1694 | 607-351-7269 | mh92 |
| Jon Frankel, Collection Maintenance | 255-9565 | 607-272-4162 |  | jef1 |

APPENDIX 2

LIBRARY SALVAGE PRIORITIES

Each department, unit, or library should identify the parts of library collections that must be protected or salvaged first after an emergency.

List, in order of priority, which library materials, records, and collections should be salvaged first. Establishing priorities within collections (e.g. call numbers of specific items) is equally important.

Along with this priority list, attach a floor plan (see pg. 11) indicating locations of fire extinguishers, alarms, etc.

Consider the following points when establishing priorities:

1.	What is the monetary and intrinsic value of the collection as a whole or its individual items?

2.  	How fragile is the material (e.g. brittle, unbound issues of serial, etc.) ?

3.  	How vulnerable is the material to damage from a disaster (e.g. location, under pipes, near water fountains, etc.)?

4.  	Is the material replaceable?

- Can the majority of items be replaced in the same or a different format, such as microfilm?

- What are the economics of replacing items? Which materials can be replaced more economically than they can be salvaged? The estimated average replacement of a monograph is currently $75.

- What are the costs (direct and hidden) of deaccessioning materials?

- What materials can be discarded instead of salvaged?

- What are the legal requirements, if any, for retention of materials?

5.  	Why is preservation of this material critical? What is the relative importance of collections to university programs?

6.  	In addition to the collections, what other items are valuable (e.g. catalog, shelf list, computer terminals)?

Adapted from (Buchanan, 1988)

APPENDIX 3

EMERGENCY UNIT SUPPLY BOX

The following supplies are provided to each unit to meet their immediate needs after a water emergency. Boxed supplies should be stored in a secure but accessible place.

| 1. Polyethylene Sheeting to cover shelves and books, in 10' x 25' rolls, 4 mil. | 9. Flashlight |
| --- | --- |
| 2. Cutters to cut sheeting | 10. Hard Hat |
| 3. Duct Tape to secure sheeting. | 11. Safety Gloves |
| 4. Paper Towels | 12. Safety Goggles |
| 5. Heavy-duty Extension Cable in 100' length | 13. Protective Aprons |
| 6. Power-bar Multi Outlet | 14. Fishing Line and Pegs |
| 7. Wax or Freezer Paper cut in sheets for freezer packing | 15. Mylar Sheets |
| 8. Pens, Pads, and Pencils for marking boxes and documentation | 16. Cordon Tape |
|  | 17. Safety Mask & Filter |

Each unit should ensure the following items are available near them. Units should contact their own Facilities Department for these items.

A.  Electric Fans to create air circulation and prevent mold.

B.  Wet-Dry Vacuum to remove small amounts of standing water quickly.

C.  Mops, Buckets to keep areas clean and dry.

D.  Floor Squeegee to control flow of floor surface water.

E.  Garbage Containers to deposit and remove wet paper towels and other discarded materials.

APPENDIX 4

CORNELL LIBRARY ANNEX FREEZER

Minimum load limits: Small disasters involving fewer than 100 books are usually best dealt with by immediately organizing air-drying operations. Except under special circumstances, use of the Freezer for very small loads will be discouraged.

Capacity:  The Freezer can accommodate about 9,000 books, or 900 cubic feet of documents.  Actual capacity may vary widely depending on the material, types of crates or boxes, and packing methods. The load capacity of the freezer box is significantly less than the calculated cubic feet because of space occupied by the refrigeration equipment and the need to allow air circulation around the packed materials.

Inside measurements of Freezer:   	12'10" x 17'8" x 7'9" high

###### Floor area:	 	227 square feet

Total volume:		1757 cubic feet

Temperature: The freezer’s operating temperature is -20̊ F.

Contact: The following staff members can arrange access to the freezer.

Name			Office		Home		Cell				Email

TRE BERNEY                 607 255-7933	                          865 712-1352 		           dhb229

Director, Digitization & Conservation Services

MICHELE E. BROWN     607-255-2484         607-539-6354                                            mb72

Book Conservator

CAMMIE WYCKOFF     607-253-3514                                                                           cjh8

Library Annex Supervisor

TOM HUNT                    607 254-5287			       tah16

Stacks Management Public Assistant

The following supplies and equipment are stored in the freezer facility at the Annex.

| 1. Folding Plastic Crates, 225 (Inside 19 ½" L x 13" W x 10 ½" D) | 9. Portable Cord Reels, 3 |
| --- | --- |
| 2. Plastic Pallets (48" x 40") 10. | 10. Gravity Roller Conveyor, Aluminum, 2 (18" x 10') |
| 3. Pallet Truck, 1 (27" x 48") | 11. Polyester Film, 1 roll (.005", 40" x 250ft.) |
| 4. Plastic 5 gal. Buckets/Lids, 20. | 12. Polyethylene Sheeting (.004", 10' x 25') |
| 5. Hard Hats, Yellow | 13. Paper Towels |
| 6. Electric Utility Pump, 1 | 14. Safety Goggles |
| 7. Respirators | 15. Protective Aprons |
| 8. Portable Light Units, 3 |  |

APPENDIX 5

FREEZING AND DRYING TERMINOLOGY 
(U.S. National Library of Medicine, 2011)

Air-drying:

The process of drying books or other collection materials through contact with air.

Dehumidifier:

Machine used to remove moisture from the air. Strength and capacity of the machine should be suitable for the dimensions of the space to be dehumidified.

Desiccant Drying:

Moisture is removed from collection items using hydroscopic materials such as silica gel or molecular sieves.

Freeze-drying:

The process of removing liquid from books or other collection materials through dehydration. Often, the freeze drying process is contracted with a commercial vendor. Three methods are currently available:

1. Sublimation freeze-drying: Method in which frozen water is removed through sublimation; that is, by converting ice directly into water vapor, skipping the liquid phase. (This occurs when items are put into a home freezer.)

2. Vacuum freeze-drying: Method in which water is removed by placing the item in a partial vacuum. Air pressure is lowered around the item to gently speed drying.

3. Thermal vacuum freeze-drying: Method in which ice is removed by placing the collection item in a partial vacuum while also applying heat. Air pressure is lowered around the item and the remaining air is heated. CAUTION: This method of freeze-drying may be damaging to materials.

Freezing:

The process of stabilizing materials by storing them in a cold environment (below 0° C or 32° F) prior to drying. Freezing helps prevent mold growth (possible if wet/damp collection items remain wet at room temperature), helps keep adjacent wet materials from adhering to one another, and minimizes bleeding and loss of water-soluble media in wet collections.

APPENDIX 6

INSURANCE

A.  Building and contents

Contact: Department of Risk Management and Insurance

Director:  Craig R. McAllister

395 Pine Tree Rd, Suite 220

Ithaca, NY 14850

Work: 254-1575	        Cell: 607-227-2111

The University insures the Endowed libraries against damage to buildings and contents; other insurance arrangements appertain to statutory property.  The Department of Risk Management and Insurance can provide detailed information to all (Endowed and Statutory) units.

Reimbursement is for items, not for processing (e.g. it would pay for the cabinet and cards of a destroyed card catalog but not for the costs of regenerating the information).  In appropriate situations insurance payments may be claimed for salvage costs.

In event of a library disaster:

1.    Contact Ezra Delaney, Associate University Librarian for Administrative Services, (254-5257). He is the Library’s liaison with the University Department of Risk Management and Insurance.

2.	If Ezra Delaney is unavailable, Contact the Department of Risk Management and Insurance as soon as possible (254-1575)

After hours: Public Safety has standing instructions to contact immediately an appropriate staff member of the Department of Risk Management when a major incident occurs; the library unit's Disaster Response Administrator should check that this has been done.

3.	Document the incident and expenses as fully as possible:

- treatment expenses (e.g. freeze-drying)

- expediting expenses (e.g. truck or generator rental, supplies)

- books discarded (e.g. a shelf list for the range of books destroyed

- include photographs and notes of what occurred,  what the damage was, and action taken

B. Personnel (insurance for personnel participating in a disaster recovery effort)

Contact for information:

Endowed: Department of Human Resources

Employee Benefits 130 Day Hall 	Phone:  (255-3936)

1. 	Regular full-time Cornell staff is covered for health and accident insurance according to the normal terms of their Cornell Employee health insurance policies and for workers compensation insurance

2.	Temporary staff is covered for workers compensation insurance but may not be covered for health and accident insurance, depending on the hours and length of their employment.

3.	Volunteers are not covered for health and accident insurance or for workers compensation insurance.  In the event of an accident (both Endowed and Statutory):  fill out a "Supervisor's Report of Injury" form and send it to Human Resources, 130 Day Hall.

APPENDIX 7

RECOVERY METHODS FOR MATERIALS REQUIRING IMMEDIATE ATTENTION OR UNUSUAL TREATMENTS

Adapted, with additions, from (Walsh, 1988)

1.  Magnetic Media

- Consider all forms of magnetic media not salvageable except, possibly, floppy diskettes; routine backups give the best probability of saving data on magnetic media.  Never store the backups in the same location as the originals or they may be destroyed by the same disaster.  Backup software programs as well as the data discs.

- Diskettes should be removed from their jackets, and then washed, and dried.  Cut the edge of the jacket with non-magnetic scissors and remove the diskette with gloved hands.  Wash in several water baths (photo trays) of distilled water, and dry with lint free towels.  When the crisis is over, insert the diskettes into a new jacket (cannibalized from a new diskette; this can be reused) and copy with a disk drive.  The drive heads should be cleaned frequently.

2. Paintings

- Ideally, this treatment should be done by a conservator. Initially, set up tabletops padded with blotters and covered with plastic.

- Separate the merely wet paintings from those showing structural damage.  Signs of structural damage are tears in the canvas, flaking, lifting, and dissolving of paint and ground layers.  Let the structurally damaged paintings dry, face up in a horizontal position, on the tables.

- Structurally sound paintings on canvas are dried in the following way:  Set up several more layers of blotter on the table, followed by a layer of tissue paper.  Unframe the painting, but don't remove it from its stretcher.  Lay it face down on this surface, making sure the tissue is not wrinkled.  Cut blotters to the inside dimensions of the stretcher frame.  Cut a sheet of plywood or thick Masonite to the same dimensions, or smaller to fit inside the stretcher keys.  Cover the back of the canvas with a blotter (if the canvas is large and more than one blotter is necessary, butt the blotters end-to-end), then the board, and finally weights.  Change the blotter until the canvas is dry. If the tissue on the front has any tendency to stick to the paint layer, leave it in place.

3. CDs/DVDs

- Remove from case and wipe dry with a soft cloth.

4. Phonodiscs (vinyl records)

- Remove the discs from their sleeves and jackets.  If labels have separated, mark the center of disc with a grease pencil and keep track of the label.  Jackets, sleeves, and labels may be dried like other paper materials.  If dirt has been deposited on the discs, they may be washed in a 10% solution of Kodak Photo Flo in distilled water.  Air-dry the discs on supports that permit free circulation of air.

5. Reel to reel tapes

- If the exterior of the tape is dirty, wash the tape (still on its reel) with lukewarm water.  Support the tape vertically and air dry it, or air dry by laying it on sheets of newsprint spread over plastic covered tables.  The box can be air dried as well.  If the reels are still dirty, remove the tape and wash the reel with detergent and water.  An alternative is to replace the reel.  Return the tape to its original box, after the box has dried.  Replace the box if badly damaged.

6. Videocassettes

- Dismantle the cassette and dry as for reel to reel tapes.

7. Audio cassettes

- If there are no master copies, dismantle the cassette and air dry the tape as above.  Re-record the tape after drying.  It is difficult to determine the condition of sealed cassettes.  Copy them in any case.

8.  Photographic Materials

Since it is difficult to differentiate between different types of photographic materials, consult with a Photographic Conservator before attempting recovery. Freezing may damage some materials.

9.  Microforms

Aperture cards

- At present, the only treatment is a time-consuming one. Remove the film chips from their mounts.  Wash the chips and remount them.

Microfilm strips in jackets

- Cut the strips from the jackets with sleeve cutters.  Wash and dry the film and insert into new jackets.

Diazo microfiche and microfilm

- Check for readability.  If the photograph has blistered, discard and replace with a print from the security copy.  If it has not delaminated, wash in cool water and dry on blotters or a lint-free cloth.

Silver-Gelatin Type Microfilm

- Label as wet film and ship to a microfilm processor.

APPENDIX 8

REFERENCES

Buchanan, S. A. (1988). Resource Materials for Disaster Planning in New York Institutions. In N. Y. Materials, Disaster preparedness: Planning resource packet. Albany, NY.

U.S. National Library of Medicine. (2011, December 15). Emergency Preparedness and Response: Resources - Glossary. Retrieved July 5, 2012, from U.S. National Library of Medicine, National Institutes of Health: http://www.nlm.nih.gov/hmd/preservation/glossary.html

University of California, San Diego Preservation Department. (2006, September). Guidelines for Packing Books for Freezing. Retrieved April 30, 2012, from Disaster Preparedness & Response: http://libraries.ucsd.edu/preservation/dpackbook.html

Walsh, B. (1988, May). Salvage Operations for Water Damaged Collections. Western Association for Art Conservation Newsletter, 10(2), pp. 2-5.