## Slide 1: Chemical Dose Controller
Annie Cashon
Saugat Ghimire
Jeanette Liu

## Slide 2
Background
Purpose: To dose coagulant prior to flocculation and to dose chlorine prior to water leaving the plant
Location within an AguaClara Plant

## Slide 3: Completed Tasks
Single lever-arm fulcrum modification
Air removal system
Entrance tank float
Constant head tank float valve
CHT height adjustment system
Items catalog

## Slide 4: Completed Tasks
Demonstrations
  Simplicity of switching components for different flow rates
  Manifold assembly

## Slide 5: Single Lever-arm
Removed counterweight
Modified mounting system
4 times lighter
Less material

## Slide 6: Air Removal System
Modified the air outlet in the manifold
A two way outlet in the manifold, one for air, one for the coagulant and chlorine

## Slide 7: Entrance Tank Float

## Slide 8: Constant Head Tank Float Valve
v

## Slide 9: CHT Height Adjustment System
Adjustable hose clamps

## Slide 10: Items Catalog

## Slide 11: Demonstrations
Simplicity of switching components for different flow rates
Manifold assembly

## Slide 12: Future Work
Complete assembly manual for future CDC
Update assembly manual for plant operators
Run tests with single lever arm.

## Slide 13: Questions?